BPM Energy Spectrometry for ILC
Bino Maiheu
University College London
for LC-ABD WP 4.2
LC-ABD Meeting
IPPP Durham, 26 September 2006
LC-ABD Meeting, 26 Sep. 2006 – Bino Maiheu : BPM Energy Spectrometry

---
Luminosity spectrum, physics case
Top quark mass scan
Top quark mass scan
Luminosity spectrum
Uncertainty on beam energy measurement
contributes directly to the uncertainty on the
ILC physics output...
Need for :
energy measurement accuracy 10-4
stability and ease of operation
minimal impact on physics data taking

---
BPM based beam energy measurement
WP 4.2 mission statement :
Study & design magnetic chicane for beam energy measurement using BPMs
for a future linear collider
Royal Holloway University London: S. Boogert
Cambridge : M. Slater, M. Thomson and D. Ward
University College London: F. Gournaris, A. Lyapin, B. Maiheu, S. Malton, D. Miller and M. Wing
δE/E ~ 10-4
At least δx~ 500 nm needed
η ~ 5 mm at center
NanoBPM@ATF : test resolution, try different analysis methods, BPM stability tests, multi bunch operation, advanced electronics techniques, inclination of beam in BPMs.
-> spectrometer aspects of BPMs can be tested
ESA@SLAC : test stability and operational issues with a full implementation of 4 magnet chicane and 3 BPM stations
-> test of chicane prototype
BPM
BPM
BPM

---
NanoBPM at ATF
Collaboration with LLNL, LBNL, SLAC and KEK
KEK BPMs on
flexure piezo movers
(x,y)
BINP BPMs, each on
hexapod (x,y,x',y') in
SLAC/LLNL frame

---
BPM signal processing in a nutshell
RF
Filters,
Amplifiers
Filters,
Amplifiers
ADC
LO
LO
Monopole (TM010) : charge
Dipole (TM110) : charge + offset + tilt
Determine Amplitude & Phase
Fit waveform : V = V0 + A e-Г(t-t0) sin[ω(t-t0) + φ]
Digital Down Conversion (DDC) :
Multiply waveform with eiωt
Filter out 2ω component
Sample waveform at fixed t0Ref -> A, φ
Tilt axis
IQ phase
Disentangle charge, offset and tilt :
Normalise signal to Ref (Q) Cavity
Pos. axis
Tilt has π/2 phase difference to position

---
ATF Results : resolution + systematics
2 stage down mixing, digitizer 14 bit
Precise calibration using hexa-pod movers, cross calibration using corrector magnets
Commissioned nanoGrid system (nm level XY encoder system) to monitor mechanical stability
Best resolution so far :
16 nm
Short and long-term :
drifts < 100 nm
Clear systematic correlation seen
Frequency & temperature :
ΔT ~ 0.25 K -> Δω ~ 65kHz
assuming typical offsets of beam
50 nm systematic scale change

---
ATF Results : Beam inclination in BPM
Important for discussion 3 vs. 4 magnet chicane
data between -1000 and 1000 μrad
BPM
No significant change in resolution, however :
clear change in calibration constants !
Further investigation !
Position Scale
IQ Phase
Probably related to Temp
Clear variation with inclination
BPM

---
ATF Results : multibunch studies
Cavity BPMs must work with ILC bunch train...
can we measure energy of individual bunches ?
ATF multi bunch data: bunch train of 3 bunches (150 ns)
proved difficult to steer down -> saturation...
Simulation work bunch train:
fitting algorithm seems to be performing well
more study needed : phase advance, DDC ?

---
T474/T491 - ESA@SLAC
Collaboration with LBNL (Y. Kolomensky et al.), SLAC (M. Woods et al.) and Notre Dame (M. Hildreth et al.)
Dipole magnets
BPMs 9,10,11
BPMs 3,4,5
SPEAR girder
20 m
January test run 2006 (4 days) : Commissioning of BPMs 31,32 and 1,2 upstream
April run 2006 ( 2 weeks ) :
Commissioning of new ILC prototype linac triplet (BPM 3,4,5), where BPM4 on x,y mover system
Commissioning of old SLAC BPMs (9,10,11)
Digitisation/signal processing optimization
July run 2006 (2 weeks ) :
Commissioning of Zygo interferometer system (BPMs 3,4,5) + energy BPM24 upstream
Further optimisation of hardware (down mixing)
Stability data taking with 10 BPMs, frequent calibrations

---
BPM systems used in ESA
Rectangular cavities
x and y separated
2.856 GHz, high Q ~ 3000
20 mm aperture (0.8 “)
C. Adolphsen, Z. Li
ILC cold linac prototype
cavities
36 mm aperture, 2.859 GHz
low Q (~ 500)
good monopole suppression

---
ESA Resolution & stability
old cavities
200 nm
Resolution : BPM 3-5: ~ 700 nm in x, BPM 9-11: ~350 nm in x
20k pulses ~ 30 min
prototype

---
Automatic calibration
Important aspect of future
spectrometer operation !
Corrector scans / setpoint calibration... lot of manual work needed
Automatic setting of correctors with/without
feedback
Followed by mover scan on BPM4
Set voltage level for each step in ADC
Still need to implement automatic processing

---
Spectrometer BPM prototype
Existing BPM designs not optimal for an energy spectrometer
aperture ( machine protection, resolution )
resolution, stability
monopole rejection ( electric center stability )
coupling -> decay time ( multi bunch )
Al prototype
Designed new prototype (A. Lyapin)
30 mm aperture, 2.878 GHz, 1.3 MHz bandwidth
theoretical resolution ~ 11.2 nm
Al prototype by UCL workshop, Cu vacuum beam
prototype by Mullard Space Science Lab (MSSL)
Proposed electronics scheme

---
Aluminium prototype for new BPM
Waveguide structure
Alex
Front face
Cavity (upside down)
Al prototype is done & ready for measurements at UCL & RHUL
Fully assembled prototype
Feed through

---
Chicane simulation
Currently most simulation work just
generates “sampled waveforms”
Developing core library for full simulation :
Uses physical units ( easily portable between e.g. KEK & SLAC )
Portability between platforms, e.g. import into LabVIEW
Simulation of electronics : conversion loss, non linearity, digitization etc...
Contains analysis routines as well -> simulation & real data analysis based upon
idential set of routines
Real
BPM
reconstruction
analysis
Electronics
digitisation
Chicane
simulation
GEANT/BDSIM
Waveform
simulation
Electronics
digitization
simulation
first
implementation
cavity
parameter
simulation
Already contains a lot of functionality
cross check with ESA data
production underway
(GdfidL)
libespec

---
Future plans
Plans for ATF :
long term stability studies
multi bunch and additional tilt & spectrometer related tests
use nanoGrid system to monitor mechanical stability of spaceframe
new BPMs are planned to be installed to replace the KEK ones
Plans for ESA :
Install 4 old refurbished magnets in beam line to form chicane (Jan. '07)
Install & commission new spectrometer BPM prototype
complete with temperature readout and x,y mover system
Commission constant calibration tone system to monitor gain drifts
in electronics
Link BPM stations with interferometer system (M. Hildreth)
Plans for LC-ABD 2 :
Develop BPM triplet to be deployed at mid-chicane location
Long term tests of UK designed spectrometer specific BPMs