An Energy Spectrometer for the International Linear Collider
Reasons, challenges, test experiments and progress
Bino Maiheu
University College London
bino@hep.ucl.ac.uk
Bino Maiheu, HEP Seminar, University of Birmingham, 16.05.2007
BPM
BPM
BPM

---
Seminar Outline
Why build the linear collider, and what is it actually ?
How does such a linear collider look like ?
Importance of the beam energy measurement...
Development of a magnetic chicane spectrometer based upon
high resolution Beam Position Monitors (BPM)
Principles...
High resolution cavity beam position monitors...
Test experiments, End Station A at SLAC...
Outlook for our project...

---
What is the ILC and why build it ?
500 GeV – 1 TeV
e+
e-
~10 km
Proposed ~30 km long linear e+e- collider
CM energy up to 1 TeV
International... obviously
targeted completion around 2020
e+e- : colliding elementary particles : clean !
Precision measurements from discoveries made at hadron machines ( eg. LHC )
costs ~ PRF
ΔEturn ~ E4 / ρ

---
Physics case for the ILC
Standard model physics
Precision electroweak and QCD measurements
Top quark threshold, mass, width, yukawa coupling
Properties of (a) Higgs particle(s)
Giga Z, etc...
Physics beyond the standard model.
What is awaiting us at the Terascale ?
SUSY, GUT, extra dimensions, dark matter, etc...
The energy scale and the physics program
push present day technology to the limit...
Lot of R&D programs actively trying to make the ILC feasible both on the detector
and accelerator side

---
Proposed layout of the ILC... I hope :)
e- source
e+ source
damping rings
main linac
beam delivery system
interaction region
Particle sources
electrons : pulsed laser
positrons : 150 GeV electrons through undulator
Damping rings
reduce transverse beam size (emittance), establish bunch train structure, 2625/pulse
Main linac :
Accelerate beam from about 5 GeV to 500 GeV, super conducting RF cavities
Beam delivery system : beam diagnostics, focussing, collimation
Interaction region : final focussing and beams into collision.
Extraction line : safely dispose of heavily distorted beam + diagnostics
1 Experimental hall, 2 detectors in push-pull and 14 mrad crossing angle

---
Some of many challenges...
Average accelerating gradient ~ 31.5 MeV/m
Final focussing needed to get 2x1034/cm2/s
Lumi ~ frep / σxσy
frep = 40 kHz (LEP), = 5 Hz (ILC)
Need vertical beam size of 5 nm + measure it !!
( compare to 0.0003x1034/cm2/s and 500 nm
beam size for SLC )
Infrastructure :
31 km main tunnel + 6.7 km damping ring
230 MW power consumption
Beam dump.. dispose of 18MW of beam power
( compare to 0.04 MW for SLC )
Beam Delivery System ( e.g. energy measurement):
you only get 1 go, no averaging ( LEP )
The ILC physics program requires an
energy measurement uncertainty of dE/E = 10-4
Let's have a look at the top quark to understand why...

---
Physics case for good energy measurement
Case study : the top quark
Top quark : large decay width -> pQCD !!
ILC = top quark factory, QCD precision tests
Better precision on the top mass constrains Higgs & SUSY parameters better
Beam energy determination is largest contribution of systematics...

---
Influence of energy spread on top threshold...
Energy at collision is not delta function !!
Inherent energy spread
Beamstrahlung
Initial state radiation
Luminosity spectrum dL/dE
Top quark mass scan
Uncertainty on beam energy measurement
contributes directly to the uncertainty on the
ILC physics output...
Magnetic chicane with high resolution BPMs

---
BPM Spectrometry
E ~ ∫B.dl/Θ
Study & design magnetic chicane for beam energy measurement using
Beam Position Monitors (BPMs) :
so... reduce energy measurement to beam position measurement
Royal Holloway University London: S. Boogert
Cambridge : M. Slater, M. Thomson and D. Ward
University College London: F. Gournaris, A. Lyapin, B. Maiheu, S. Malton, D. Miller and M. Wing
(putting the I in ILC :)
Different aspects of the project...
δE/E ~ 10-4
At least δx~ 500 nm needed
Move beam by 5 mm at center
(dispersion)
NanoBPM@ATF (KEK) : test resolution, try different analysis methods, BPM stability tests, multi bunch operation, advanced electronics techniques, inclination of beam in BPMs.
-> spectrometer aspects of BPMs can be tested
ESA@SLAC : test stability and operational issues with a full implementation of 4 magnet chicane and 3 BPM stations
-> test of real chicane prototype
will talk about ESA later on...
BPM
BPM
BPM

---
What kind of BPMs to use ?
Beam position monitors essential diagnostic for accelerators
Beam orbit in accelerator : steering, alignment, energy
Specialist applications such as energy spectrometer
Many different varieties exist
Operate via electromagnetic interaction with structure placed around the beam
Button (1 mm – 10 um)
Stripline (100 um - 1 um)
Resonant cavity (1 um - 20 nm)
...

---
Introducing resonant cavity beam position monitors...
Solution of the EM wave equations taking into account
the boundary conditions of the conducting walls leads to
certain eigenmodes of cavity excitation by the beam...
Configuration of first dipole mode : TM110
For the interested :) :
Excitation voltage for TM110 mode :
Vex = E0 Ttr L r / a
Offset w.r.t. electrical center
Total electrical field ( bunch charge )

---
Of course in real life...
... it's a little bit more complicated... as usual :)
Accurate geometrical design of cavity and manufacturing of cavity is critical
Cavity size determines frequency
Positioning of antennae to couple out the RF power ( typically couple of GHz )
Dipole mode depends on :
bunch charge
beam offset
but also beam tilt
need reference cavity :
monopole mode TM010
sensitive to charge only
Prototype reference cavity,
designed by A. Lyapin (UCL)

---
Handling RF signals from a resonant cavity BPM...
RF
Filters,
Amplifiers
Filters,
Amplifiers
ADC
+
+
+
+
+
+
+
+
(10s of MHz)
LO
Typically GHz
think of mobile phones...
LO
Monopole (TM010) : charge
Dipole (TM110) : charge + offset + tilt
Determine Amplitude & Phase
Fit waveform : V = V0 + A e-Г(t-t0) sin[ω(t-t0) + φ]
Digital Down Conversion (DDC) :
Multiply waveform with eiωt
Filter out 2ω component
Sample waveform at fixed point for linearity -> A, φ
Complex plane
Tilt axis
IQ phase
Disentangle charge, offset and tilt :
1. Normalize signal to Ref (Q) Cavity
2. IQ rotation (π/2 tilt phase difference)
3. Calibrate
Pos. axis

---
Some examples of resonant RF cavities...
ILC cold linac prototypes, 2.9 GHz
KEK Cavities, 6.4 GHz
SLAC linac cavity BPMs, 2.9 GHz
Rectangular cavity,
separate X and Y
Coupling slot ( antenna )
Pillbox cavity, with X and Y in same physical cavity
optimised for short ILC bunch spacing ( 300 ns ) and cleaning for use in cold LINAC
Z. Li and C.Adolfson et al.

---
What precision can we reach with these BPMs ?
BINP BPMs in LLNL/SLAC
spaceframe on hexapods
NanoBPM Collaboration: LBNL, LLNL, SLAC, KEK, BINP
15.6 nm position resolution
2.1 urad tilt resolution

---
However, current BPM designs not optimal for ILC purposes...
So far a good ILC spectrometer BPM prototype in itself hasn't been built yet...
aperture ( machine protection, resolution )
resolution, stability
monopole rejection : distortion of decaying waveform
coupling -> decay time (multi bunch studies)
Our collaboration is developing a new prototype together with processing
electronics exactly for this purpose... beam test underway at ESA in SLAC.
Dipole cavity, 2878 MHz
Processor electronics
Reference cavity

---
Putting it all together : T474 at ESA (SLAC)
End Station A
2 mile LINAC

---
End Station A at SLAC as ILC testfacility
ESA is well suited for ILC test experiments, among others :
collimator wakefields (N. Watson, S. Molloy et al.)
bunch length diagnostics,
synchrotron light detector
magnetic chicane spectrometer ( T-474 )
Possibility to vary energy, bunch charge
bunch length etc.. systematic studies !

---
T474 at ESA (SLAC)
Collaboration with LBNL (Y. Kolomensky et al.), SLAC (M. Woods et al.), Notre Dame (M. Hildreth et al.), DESY Zeuthen, JINR Dubna, ...
Dipole magnets
SPEAR GIRDERS
SPEAR GIRDERS
feedback
BPM stations
April run 2006 ( 2 weeks ) :
Commissioning of new cold linac prototype triplet (BPM 3,4,5), where BPM4 on x,y mover system
Commissioning of old SLAC BPMs (9,10,11)
Digitisation/signal processing optimization
July run 2006 (2 weeks ) :
Commissioning of interferometer system (BPMs 3,4,5) + energy BPM24 upstream
Stability data taking with 10 BPMs, frequent calibrations
March 2007 ( 2 weeks ) :
Commissioning of calibration tone system and new UK BPM processor hardware
Commissioning of 4 chicane magnets and first full spectrometer data

---
BPM Calibration at ESA...
Calibrate the measured BPM position against a well known beam offset.
Important to minimize impact for this on physics data taking...
At ESA :
feedback setpoint calibrations : do we trust the setpoint calibration ?
corrector calibrations : feedback off, drifts !
mover calibrations : correct with interferometer, correction factor,
however be careful for fake interferometer drifts !
helmholtz coil calibrations : fast, averaging slopes ( march 2007 run )
Automation of the process is an important operational issue for the ILC

---
Stability issues : degradation of resolution over time
First of all... let's define resolution :)
Mainly temperature difts cause degradation
of the system
gain drifts
cavity shape changes : frequency changes
Constant calibration tone !!
~8 hours
ATF result
~60kHz

---
Drift of residual means...
Monitors the relative gain drifts between the stations
in terms of position measurement
Direct impact on the stability of the energy measurement
How stable is our position
measurement in 1 BPM station
To be correlated with temperature
How stable is our
measurement of the
entire orbit ?

---
Magnetic measurements...
4 Magnets were mapped during
summer 2006 in SLAC measurement lab
(SLAC, DESY, JINR)
Operating current of 150 A
Integrated Bdl of 1.1 kG.m
Long term stability analysis in progress
4.43851 mm
Small inhomogeneity in magnets
Important to understand for future ILC
operation : beam disruption after chicane

---
Chicane results, first beam energy measurements
Taking into account integral B.dl and deflection at center of chicane, can
compute correct beam energy
Have to subtract incoming orbit in each event
Total error in energy calculation 2.5e-4 ( ~7 MeV ) (preliminary!)
Further detailed analysis stability studies underway...
More and better data to come in July...

---
Future plans for ESA
Had 3 successful runs so far
Upcoming run in July 9th until the 22th 2007.
Install and commission the new spectrometer BPM prototype complete with
mover system
cavities are currently being measured on UCL and RHUL testbenches
mover system is being commissioned
vertical elevation stage and horizontal stages with stepper motors
and linear encoders ( 0.5 and 0.1 um resp )
Improve processor electronics in long run...
Continue taking data with chicane, need to
understand better systematics and stability
Couple of papers underway : commissioning,
Spectrometer BPM prototype and
full T-474 ESA paper

---
Simulation....
Of course.. one final issue... It's all fine to study stability and operational
issues at 28.5 GeV, but we really need it at 500 GeV : simulation !
Currently developing :
GEANT4 simulation of simple spectrometer chicane
beam distortion, track halo, synchrotron radiation
interface with core BPM processing library and simulation library to have a
full simulation of the entire system
Transport beam down to IP through rest of BDS
Make studies for optimal chicane design, update
baseline document eventually

---
Summary
Physics case for an a 1 TeV linear e+e- collider is clear !
Importance of the energy measurement, direct contribution to systematics on
threshold studies ( e.g. Top quark )
Proposed magnetic chicane for single pass energy measurement
Based upon high resolution resonant cavity beam position monitors
Operational principles of these devices
Full chicane prototype test experiment is commissioned at ESA in SLAC
First results, data analysis ongoing + next run planned for this summer...
Simulation studies...

---
Thanks for listening...
...and for the interested :
Some links at UCL
http://www.hep.ucl.ac.uk/lc/
http://www.hep.ucl.ac.uk/~bino/T474/
http://www.hep.ucl.ac.uk/~liapine/
http://www.hep.ucl.ac.uk/~sboogert/
SLAC ILC page
http://www-project.slac.stanford.edu/ilc/default.htm
SLAC ESA page
http://www-project.slac.stanford.edu/ilc/testfac/ESA/esa.html
Central ILC page
http://www.linearcollider.org