## Slide 1: Analysis of Effects of Spot Size on Range Reconstruction
PBT Meeting 27/02/20

## Slide 2: The Problem
Reconstructed range is independent on light output.
Saw last week that larger spot sizes increase light output of detector, up till where protons stop.
Spot size matters in two places:
  Calibration for non-linearity across scintillator sheets.
  Actual recorded light output.

## Slide 3: Effect of Calibration Spot Size
April 2019 HIT data features (front & back) shoot-throughs with three focus sizes: 8.1 mm, 11.1 mm and 20.0 mm.
Consider run of a given spot size and calibrate with different shoot-throughs.
Check effect of calibration spot size on PDLs and reconstructed ranges.

## Slide 4
Shoot Through PDLs, 5mm degrader, 221 MeV beam

## Slide 5
120.1 MeV beam, 13.4 mm focus size and no degrader

## Slide 6
120.1 MeV beam, 20.9 mm focus size and no degrader

## Slide 7: Effect of Calibration Spot Size
What is the effect on reconstructed range?
For run with 13.4 mm focus size:
  8 mm calibration: R0 = 105.170 ± 0.013 mm
  11 mm calibration: R0 = 105.168 ± 0.013 mm
  20 mm calibration: R0 = 105.160 ± 0.013 mm
For run with 20.9 mm focus size:
  8 mm calibration: R0 = 105.217 ± 0.013 mm
  11 mm calibration: R0 = 105.21 ± 0.013 mm
  20 mm calibration: R0 = 105.202 ± 0.003 mm
Reconstructed range decreases with increasing calibration spot size (on order of 10s of microns, within uncertainty).

## Slide 8: Effect of Spot Size on Measured Light Output
Calibration is same across runs

## Slide 9: Effect of Spot Size on Measured Light Output

## Slide 10: Effect of Spot Size on Measured Light Output
Again, see an effect on order of 10s of microns, so probably not significant given uncertainties.
Would we still see this with photodiodes? Repeat analysis!

## Slide 11: Approx. CMOS as Photodiode Array
etc.

## Slide 12: Effect of Calibration Spot Size
April 2019 HIT data features (front & back) shoot-throughs with three focus sizes: 8.1 mm, 11.1 mm and 20.0 mm.
Consider run of a given spot size and calibrate with different shoot-throughs.
Check effect of calibration spot size on PDLs and reconstructed ranges.

## Slide 13
Shoot Through PDLs, 5mm degrader, 221 MeV beam

## Slide 14
120.1 MeV beam, 13.4 mm focus size and no degrader

## Slide 15
120.1 MeV beam, 20.9 mm focus size and no degrader

## Slide 16: Effect of Calibration Spot Size
What is the effect on reconstructed range?
For run with 13.4 mm focus size:
  8 mm calibration: R0 = 105.202 ± 0.013 mm
  11 mm calibration: R0 = 105.197 ± 0.013 mm
  20 mm calibration: R0 = 105.186 ± 0.012 mm
For run with 20.9 mm focus size:
  8 mm calibration: R0 = 105.275 ± 0.013 mm
  11 mm calibration: R0 = 105.271 ± 0.013 mm
  20 mm calibration: R0 = 105.260 ± 0.013 mm
Reconstructed range decreases with increasing calibration spot size (on order of 10s of microns, within uncertainty).

## Slide 17: Effect of Spot Size on Measured Light Output
Calibration is same across runs

## Slide 18: Effect of Spot Size on Measured Light Output

## Slide 19: Conclusion
See the same effect with photodiode approximation – but only way to be sure is to actually test this with photodiodes.
Ultimately all focus size effects only manifest as range shifts on the order of 10 microns, which is within our uncertainty range.
Perhaps best policy is to stick to a single calibration spot size in analysis?
Could always calibrate to spot size intended for a given treatment?
At least we know now…