## Slide 1: UCLH Analysis
15th April 2021 Experiment

## Slide 2: FSR: 12.5pC vs. 350pC (Background Measurement)
Run 0: 350pC
Run 1: 12.5pC

## Slide 3: FSR: 12.5pC vs. 350pC (Background Measurement)
Run 1: 12.5pC
Run 0: 350pC

## Slide 4: UCLH vs. Lab vs. Home (Dark Measurement)
Home 350pC
UCLH 350pC
D27 350pC

## Slide 5: FSR: 12.5pC vs. 350pC (Home PD Unplugged)
12.5pC
350pC

## Slide 6: Pulsing
Run 0: 350pC
Run 3: 12.5pC

## Slide 7: Analysis (Run 7, 105MeV, 300nA, 12.5pC, 170us)
Raw Average
Background
Back ST
Front ST

## Slide 8: Analysis (Run 7, 105MeV, 300nA, 12.5pC, 170us)
Back ST
Normalised + Averaged ST
Front ST

## Slide 9: Analysis (Run 7, 105MeV, 300nA, 12.5pC, 170us)
Background Subtracted, Reversed
Raw Average
Background Subtracted, Reversed, Calibrated
(Ignore large error bars)

## Slide 10: Analysis (Run 7, 105MeV, 300nA, 12.5pC, 170us)
Reversed, Calibrated
Reversed, Background Subtracted, Calibrated
(Ignore large error bars)

## Slide 11: UCLH Reference Curves
When comparing to photodiode data, subtract WET of first sheet in stack, since this was not covered by photodiode (sheet 25).

## Slide 12: Analysis (105 MeV, 12.5pC, 170us)
Reversed, Calibrated, 300nA (Run 7)
Reversed, Calibrated, 150nA (Run 8)

## Slide 13: Calibrated PDL & Fit Comparisons
Photodiodes vs. CMOS Sensor (vs. UCLH Reference)
Note: Additional sheet in front of stack not covered by PDs – reference curve shifted back in x-direction by 2.63 mm

## Slide 14
Run 26, 600 nA
PD
CMOS
75 MeV Pencil Beam Fit

## Slide 15
PD
CMOS
80 MeV Pencil Beam Fit
Run 25, 500 nA, 1000 us

## Slide 16
Run 23, 500 nA
PD
CMOS
85 MeV Pencil Beam Fit

## Slide 17
Run 12, 400 nA
PD
CMOS
90 MeV Pencil Beam Fit

## Slide 18
Run 20, 400 nA
PD
CMOS
95 MeV Pencil Beam Fit

## Slide 19
Run 18, 200 nA
PD
CMOS
100 MeV Pencil Beam Fit

## Slide 20
Run 7, 300 nA
PD
CMOS
105 MeV Pencil Beam Fit

## Slide 21
Run 16, 150 nA
PD Black Sheets
CMOS Black Sheets
110 MeV Pencil Beam Fit

## Slide 22: CMOS Fit Comparisons
Comparison of CMOS fit with CMOS photodiode approximation fit.
CMOS PD approx.: take 6 mm central stripe of image and average central 1 mm within each sheet.

## Slide 23: 70 MeV Pencil Beam Fit (Run 27)
Photodiode Approx.
Normal Fit

## Slide 24: 75 MeV Pencil Beam Fit (Run 26)
Photodiode Approx.
Normal Fit

## Slide 25: 80 MeV Pencil Beam Fit (Run 24)
Photodiode Approx.
Normal Fit

## Slide 26: 85 MeV Pencil Beam Fit (Run 23)
Photodiode Approx.
Normal Fit

## Slide 27: 90 MeV Pencil Beam Fit (Run 21)
Photodiode Approx.
Normal Fit

## Slide 28: 95 MeV Pencil Beam Fit (Run 20)
Photodiode Approx.
Normal Fit
Image is saturated!

## Slide 29: 100 MeV Pencil Beam Fit (Run 18)
Photodiode Approx.
Normal Fit

## Slide 30: 105 MeV Pencil Beam Fit (Run 8)
Photodiode Approx.
Normal Fit

## Slide 31: 110 MeV Pencil Beam Fit (Run 16)
Photodiode Approx.
Normal Fit

## Slide 32: CMOS Range Difference vs. Energy

## Slide 33: Box Field Treatment Plan
Observe strange ”shoulder” after Bragg peak. Unclear why this occurs.

## Slide 34: Conclusions
Lower FSR has greater precision therefore larger std. dev.
Significant electronic noise present in photodiode data!
  Better to not perform background subtraction.
  Still able to get reasonable fit results.
Similar range reconstruction between low and high currents.
Good match between CMOS and PD PDLs.
CMOS sensor fits excellent across all energies – PD fits mixed: affected by electronic noise after Bragg peak.
Photodiode approximation does not impact fitting in CMOS images, provided there is no saturation.
Appear to have a systematic range offset of about -0.56mm.