## Slide 1: UCLH Analysis
2nd November 2021 Experiment

## Slide 2: Background Comparison
2nd November (no CMOS sensor)
15th April (CMOS sensor)
Approx. factor of 10 reduction in background noise!

## Slide 3: Calibration Comparison
2nd November (no CMOS sensor)
15th April (CMOS sensor)

## Slide 4: Absolute Light Output Comparison (105 MeV)
2nd November (no CMOS sensor)
15th April (CMOS sensor)
Slightly less light with white sheets (both runs 300 nA)

## Slide 5: Raw Data vs. Calibrated (105 MeV)
2nd November (no CMOS sensor)

## Slide 6: Calibrated PDL & Fit Comparisons
Black Sheets vs. White Sheets (vs. UCLH Reference)

## Slide 7
White Sheets (Run 17, 350 nA)
Black Sheets (Run 26, 600 nA)

## Slide 8: 75 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 9
White Sheets (Run 16, 350 nA)
Black Sheets (Run 25, 500 nA, 1000 us)

## Slide 10: 80 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 11
White Sheets (Run 15, 350 nA)
Black Sheets (Run 23, 500 nA)

## Slide 12: 85 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 13
White Sheets (Run 14, 350 nA)
Black Sheets (Run 12, 400 nA)

## Slide 14: 90 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 15
White Sheets (Run 13, 350 nA)
Black Sheets (Run 20, 400 nA)

## Slide 16: 95 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 17
White Sheets (Run 12, 350 nA)
Black Sheets (Run 18, 200 nA)

## Slide 18: 100 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 19
White Sheets (Run 12, 350 nA)
Black Sheets (Run 7, 300 nA)

## Slide 20: 105 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 21
White Sheets (Run 11, 350 nA)
Black Sheets (Run 16, 150 nA)

## Slide 22: 110 MeV Pencil Beam Fit
PD White Sheets
Note: Additional sheet in front of stack not covered by PDs Black Sheets – reference curve shifted back in x-direction by 2.63 mm
PD Black Sheets
CMOS Black Sheets

## Slide 23: Reconstructed-Reference Range Difference

## Slide 24: Y-Shift
Influence on Range Reconstruction

## Slide 25
+1 cm
+2 cm
+3 cm
+4 cm

## Slide 26: Y-Shift Influence on Range

## Slide 27: X-Shift
Influence on Range Reconstruction

## Slide 28
-1 cm
-2 cm
-3 cm
-4 cm

## Slide 29
+1 cm
+2 cm
+3 cm
+4 cm

## Slide 30: X-Shift Influence on Range

## Slide 31: Angular Rotation
Influence on Range Reconstruction

## Slide 32
+0°
+2°
+5°
+10°

## Slide 33: Angular Rotation Influence on Range

## Slide 34: Live Fitting
Range-Step Treatment Plan

## Slide 35
NON-BINNED FIT

## Slide 36
BINNED FIT

## Slide 37: Conclusions
Slightly less absolute light output with white than black sheets.
  Background noise significantly reduced without CMOS sensor.
Generally worse fits with white sheets than with black sheets.
  Sigma consistently too large and range underestimated.
  Observe consistent discrepancy in PDLs.
Systematic offset of approx. 1mm compared to reference range.
  Tweaking starting value of R0/sigma either gives no change or causes fit to fail.
Shifting beam in y-direction appears to not significantly affect range.
Strong range dependence on rotation and shifts in x-direction.
Live fitting much better with binned-fit, at the expense of frame-rate.
  Approx. 10x reduction in frame-rate (no ROOT GUI).

## Slide 38: Fit to Peak
Fitting only around the Bragg Peak

## Slide 41: Reference Fit
Using fixed “correct” values of sigma and range to fit kB and phi

## Slide 42: 75 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.0
R0 = 46.06
Sigma = 0.95
R0 = 46.06

## Slide 43: 80 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.1
R0 = 51.63
Sigma = 1.05
R0 = 51.63

## Slide 44: 85 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.2
R0 = 57.70
Sigma = 1.25
R0 = 57.70

## Slide 45: 90 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.3
R0 = 63.76
Sigma = 1.4
R0 = 63.76

## Slide 46: 95 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.55
R0 = 70.34
Sigma = 1.45
R0 = 70.34

## Slide 47: 100 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.7
R0 = 76.84
Sigma = 1.6
R0 = 76.84

## Slide 48: 105 MeV Pencil Beam Fit
2nd November (Photodiodes)
15th April (CMOS sensor)
Sigma = 1.8
R0 = 84.11
Sigma = 1.7
R0 = 84.11

## Slide 49: 110 MeV Pencil Beam Fit
2nd November (no CMOS sensor)
15th April (CMOS sensor)
Sigma = 1.9
R0 = 91.13
Sigma = 1.8
R0 = 91.13