# 3.4 Magnets 3-1

## The magnets

The proposed TESLA spectrometer concept has to be realized on base of the warm magnets with ferromagnetic core. The advantages of this proposal are:

- simple and low cost magnets design and manufacturing;

- high magnetic system reliability and preparation for operational condition;

- low cost system operation;

- simple access to the magnets working space and equipment alignment;

- short time realization in case of modeling of spectrometer subsystems and the whole spectrometer.

In case of using the warm magnets some problems and tasks require additional solving efforts:

- magnets temperature stabilization;

- adjustment of magnets zero field;

- elimination of magnets hysteresis effects.

    - Requirements, prototypes and total scheme

Magnetic spectrometers with energy resolutions of a few times 10 –4 have been used for precision energy measurement at LEP [3.2, 3.3, 3.4, 3.5] and SLC [3.6, 3.7, 3.8]. The reference magnet to spectrometer quality has been used at ARC project CEBAF [3.9, 3.10, 3.11] to measure the absolute beam energy with the same resolution. In [3.1] a design  similar to the LEP spectrometer was proposed. The setup for TESLA should consist of a magnetic chicane of two deflection magnets and one spectrometer magnet. The field integral of the spectrometer magnet has to be mapped to a resolution of Bdl/Bdl  ~ 210 –5 in the beam energy region E = (45 – 400) GeV. The deflection angle in the spectrometer magnet has to be 1 mrad, in ancillary ones – 0.5 mrad. As prototype magnets, the magnets of SLC, LEP and CEBAF have been considered. Their basic parameters are collected in Tab.3.1.

The overall objective of the project (Bdl/Bdl  ~ 210 –5) can be achieved by means of:

- taking into base account the experience of SLC, LEP and CEBAF;

- a corresponding design and tolerated manufacturing of the magnets;

- using for the laboratory magnets measurement procedure of two independent measurements technique;

- realizing for the spectrometer working control of the two independent magnetic field measurement technique, magnet temperature and excitation current stabilization and using the magnet demagnetization procedure;

The layout view of the spectrometer magnet system is presented in Fig.3.1 (1/2 part because of the system symmetry). At the spectrometer entrance the electron beam aligned along the beam pipe axis (20 mm in diameter) and continue to move along this line when the magnets are turned off. When the magnets are turned on, the electron beam is deflected at the  first ancillary magnet exit on 0.4 mm from beam pipe axis. Deviation of the beam increases to  5.4 mm at the analyzing magnet entrance (the drift distance between the magnet poles is 10 m) and achieves maximum

# 3.4 Magnets 3-2

value 5.8 mm in the middle  of the system. The pole axis of the ancillary magnet is positioned at 4 mm from the beam pipe axis (the magnetic field uniformity region axis has the 4 mm deviation from the pole axis [3.20]). Because of the same reason [3.21] the pole axis of the analyzing spectrometer magnet is shifted on 10 mm from the beam pipe axis.

Table 3.1. Basic spectrometers magnet parameters

|  | SLC | LEP | CEBAF | TESLA (Proposal) |
| --- | --- | --- | --- | --- |
| Energy E (GeV) | 42 - 50 | 40 - 100 | 0.5 – 7 | 45 - 400 |
| Relative accuracy of energy measurement E/E | 510 -4 | 110 -4 | 110 –4 | 110 –4 - 510 –5 |
| Bending angle (mrad) | 18.286 | 3.75 |  | 1 |
| Magnetic field range (T) | 0.88 – 1.1 | 0.086 – 0.216 | 0.04 – 0.6 | 0.05 – 0.44 |
| Magnetic field integral (Tm) | 2.56 – 3.05 | 0.5 – 1.242 | 0.12 – 1.8 | 0.15 – 1.33 |
| Magnetic measurement error of the field integral (relative) | 710 -5 | 310 -5 | 110 -5 | ~ 210 -5 |
| Magnet iron length (m) | 2.5 | 5.75 | 3 | 3 |
| Effective magnet length (m) |  |  |  | 3.045 |
| Gap height (mm) | 31.7 | 100 | 25.4 | 35 |
| Magnet type | H | C | C | C |
| Laboratory Bdl measurement technique | Moving wire, moving probe (NMR, Hall) | Moving probe (NMR, Hall), search coil | NMR probe, 2 search coils | Moving probe (NMR, Hall) , search coil |
| Operational Bdl measurement technique | Flip coil, fixed probes (NMR) | Fixed probes (NMR) |  | Fixed probes (NMR), moving wire |
| Energy loss due to synchrotron radiation (max) (MeV) |  | 3.55 |  | 0.02 - 120 |

Fig.3.1. Principal drawing of the spectrometer magnet system (plan view)

# 3.4 Magnets 3-3

3.4.2  Analyzing magnet

The analyzing magnet parameters estimation and optimization was realized by a series of 2D and 3D computer models calculations [3.12, 3.13, 3.14, 3.21, 3.24]. It was considered the C-type solid iron core magnet as it facilitates the vacuum chamber installation and maintenance as well as simplifies magnetic measurements. The transverse magnet cross section is presented in Fig.3.2. The main characteristics of the magnet are listed  in Tab.3.2.

Fig.3.2. Cross-sectional view of the spectrometer analyzing magnet (1/2 part)

The magnet iron core is divided by a horizontal symmetry plane on two parts only. This decision will give the preferences in realization of the high tolerance for the magnet poles parallelism and essentially decrease the magnetic field distortion from the joining elements design. The magnet coils are proposed to made from 12.5 mm square copper conductor with a 7.5-mm-diam water cooled channel. Each pole coil consists of 3 double pancake coils (4 turns in two layers). The working line of the analyzing magnet is presented in Fig.3.3 and normalized longitudinal magnetic field integral  - Fig.3.4. Set of curves in Fig.3.4 shows the results of the magnetic field simulation by 3D computer model for the ideal magnet geometry. The magnetic field integral uniformity region (the box in Fig. limits the relative uniformity by 20 ppm) for the whole spectrometer working energy range is 10 mm. Because of the predicted magnet manufacturing errors the common uniformity region can be decrease to the 5 mm. This value still in some times is more than really it is required for the spectrometer working procedure without its transverse adjustment.

# 3.4 Magnets 3-4

Table 3.2. Basic technical parameters of the analyzing magnet

|  | Analyzing magnet |
| --- | --- |
| Magnetic field (min/max) (Т) | 0.05/0.44 |
| Pole gap (mm) | 35 |
| Yoke type | C |
| Yoke dimensions (mm) | 3955603000 |
| Yoke weight (t) | 4.51 |
| А*turns (1 coil) (max) | 6335 |
| Number of turns (1 coil) | 6*4=24 |
| Conductor type | Сu, 12.512.5, 7.5 |
| Conductor weight (t) | 0.36 |
| Coil current (max) (А) | 264 |
| Current density (max) (A/mm 2) | 2.4 |
| Coil voltage (max) (V) | 13.3 |
| Coils power dissipation (max) (kW) | 3.5 |
| Number of water cooling loops | 6 |
| Length of cooling loop (m) | 56 |
| Water input pressure (Bar) | 6 |
| Water input temperature (deg C) | 30 |
| Maximal temperature rise of the cooling water (deg C) | 1.4 |

Fig.3.3. Working line of the spectrometer analyzing magnet

# 3.4 Magnets 3-5

Fig.3.4. Longitudinal magnetic field integral (normalized)

    - Ancillary magnets

Each of the ancillary magnet should provide the beam bending angle =0.5 mrad. The exact value of this angle has to be adjusted by the required beam positioning at the spectrometer exit. It means, that there is no necessity for measurement with high accuracy of the magnetic field integral  for ancillary magnets. At probable use of the synchrotron light from this magnet for the second option  of  the beam energy measurement the exact measurement of  magnetic field value in a used point of the magnet is carried out by means NMR probe. This leads to the more simple mechanical design of the ancillary magnet. The procedure for the ancillary magnet parameters estimation and optimization was described in [3.16, 3.19, 3.20, 3.24]. It was considered the C-type solid iron core magnet. The transverse magnet cross section is shown in Fig.3.5. Tab.3.3 presents the basic magnet parameters.

Fig.3.5. Cross-sectional view of the spectrometer ancillary magnet (1/2 part)

# 3.4 Magnets 3-6

Table 3.3. Basic technical parameters of the TESLA spectrometer ancillary magnet

| Magnetic field (min/max) (Т) | 0.05/0.44 |
| --- | --- |
| Pole gap (mm) | 20 |
| Pole length (mm) | 1500 |
| Magnetic field integral (Tm) | 0.075/0.665 |
| Magnetic measurement error of the field integral (relative) | (2-5)10 -4 |
| Energy loss due to synchrotron radiation (max) (MeV) | 0.01 - 60 |
| Yoke type | C |
| Yoke dimensions (mm) | 2403201500 |
| Yoke weight (t) | 0.73 |
| А*turns (1 coil) (max) | 3600 |
| Number of turns (1 coil) | 6*5=30 |
| Conductor type | Сu, 8.58.5, 5.3 |
| Conductor weight (t) | 0.09 |
| Coil current (max) (А) | 120 |
| Current density (max) (A/mm 2) | 2.4 |
| Coil voltage (max) (V) | 8.5 |
| Coils power dissipation (max) (kW) | 1.0 |
| Number of water cooling loops | 6 |
| Length of cooling loop (m) | 33 |
| Water input pressure (Bar) | 6 |
| Water input temperature (deg C) | 30 |
| Maximal temperature rise of the cooling water (deg C) | 0.7 |

The magnet iron core is proposed to design from 5 parts (2 poles, 2 horizontal yokes and 1 vertical yoke). The magnet coils are proposed to made from 8.5 mm square copper conductor with a 5.3-mm-diam water cooled channel. Each pole coil consists of 3 double pancake coils (5 turns in two layers). The working line of the analyzing magnet is presented in Fig.3.6 and normalized longitudinal magnetic field integral  - Fig.3.7.  The common magnetic field integral uniformity region for the ideal geometry of the ancillary magnet is 7 mm. The spectrometer work is not suffer from the decreasing of this region as the magnetic field level in the ancillary magnets has to be adjusted for the realizing of the required beam position at the spectrometer exit.

# 3.4 Magnets 3-7

Fig.3.6. Working line of the spectrometer ancillary magnet

Fig.3.7. Longitudinal magnetic field integral (normalized)

# 3.4 Magnets 3-8

3.4.4   Magnets tolerances

The estimation of the magnets tolerances was realized by the computers models and described in [3.15 and 3.18]. The summary for tolerances is presented in the next tables.

Table 3.4. Basic magnets manufacturing tolerances

| Type of magnet | Analyzing | Ancillary |
| --- | --- | --- |
| Poles gap (mm) | 0.02 | 0.1 |
| Pole width (mm) | 0.2 | 0.2 |
| Pole length (mm) | 0.5 | 0.5 |
| Coils vertical position (mm) | 1 | 1 |
| Coils horizontal position (mm) | 1 | 1 |

In Tab.3.4 the most critical tolerance issue (for the manufacturing and magnetic field influence) is the pole gap one for the analyzing magnet. For the maximal pole gap variation 0.04 mm the common uniformity region for the magnetic field integral (Fig3.4) will decrease from 10 to 7 mm and its optimal transverse position shift on 20 mm from predicted one. The shift of the uniformity region can be detected during the magnetic field measurement campaign and corrected by the final spectrometer magnet positioning at the beam line.

Table 3.5. Basic magnets material requirements

| Type of magnet | Analyzing | Ancillary |
| --- | --- | --- |
| Type of steel (Russia) | St-10 | St-10 |
| max | ~3000 | ~3000 |
| Variation of the steel chemical composition (C, Si, Mn) (%) | <5 | <10 |
| Cavity defects (mm3) | <20 | <50 |

The realization of the analyzing magnet materials requirements (Tab.3.5) will give the the relative amplitude of the magnetic filed in longitudinal direction no more 20 ppm that increase the tolerance of the magnetic field integration.

Table 3.6. Basic design magnets elements requirements

| Type of magnet | Analyzing | Ancillary |  |
| --- | --- | --- | --- |
| Joining elements for magnets parts | Stainless steel for two parts | Usual design |  |
| Girder material | Stainless steel | Usual steel |  |
| Vacuum pipe material | Stainless steel | Stainless steel |  |
| r | <1.005 | 1.01 |  |
| # 3.4 Magnets 3-9 |  |  |  |

| Wall thickness (mm) | <0.5 | 1 – 2 |
| --- | --- | --- |
| End field screen material | Permalloy | - |
| max | ~28000 | - |
| Thickness (mm) | 0.5 | - |

In case of the performance  of the vacuum pipe material requirements (Tab.3.6) the magnetic field change due to the pipe will achieve 60 ppm. This leads to the necessity of providing the magnetic field measurements procedure inside the vacuum pipe. The NMR probe inserting into the pipe demands the free diameter no less then 19 mm. The use of magnet end field screening provides the lowering of the magnetic field integral determination error from 20 ppm to 0,1 ppm. The use of the same screening along the both spectrometer BPM measurement  arms (2*10 m) will give the integral error in range (2 –12) ppm in case of the external field no more 0.1 mT.

Table 3.7. Tolerances for magnets positioning into the global spectrometer coordinate system

| Type of magnet | Analyzing | Ancillary |
| --- | --- | --- |
| X (mm) | 0.5 | 0.5 |
| Y (mm) | 0.5 | 0.5 |
| Z (mm) | 0.5 | 0.5 |
| xy (mrad) | 1 | 3 |
| xz (mrad) | 0.5 | 0.5 |
| yz (mrad) | 0.3 | 0.3 |

The magnets coordinate system orientation for the data of Tab.3.7 is shown in Fig.3.8.

Fig.3.8. Magnets system  coordinates

# 3.4 Magnets 3-10

    - Magnet temperature stabilization

The temperature stabilization of the analyzing spectrometer magnet was discussed in [3.15]. The temperature behavior of the magnet depends from:

- variation of the magnet transverse geometry (particularly magnet gap);

- variation of the magnet longitudinal geometry (particularly magnet pole length);

- variation of the iron permeability.

The results of the calculation for the magnet temperature factors are collected in  Tab.3.8.

Table 3.8. Analyzing magnet and  material temperature factors

| Analyzing magnet field (T) | 0.05 | 0.44 |
| --- | --- | --- |
| Magnet steel (10-5 1/oC) | 1.24 | 1.24 |
| Transverse (10-5 1/oC) | -1.36 | -1.3 |
| Longitudinal (10-5 1/oC) | 1.24 | 1.24 |
| Steel permeability (max) ( 1/oC) | 10 | 10 |
| Permeability (10-5 1/oC) | 5.7 | 5 |
| Summary (10-5 1/oC) | 5.6 | 4.9 |

For the analyzing spectrometer magnet temperature stabilization it is proposed to use the next technical action:

- stabilization of the temperature for the inlet magnet cooling water with the accuracy 0.2 oC;

- magnetic field point monitoring by NMR probes (in 2 points);

- magnetic field integral monitoring by moving wire technique;

- magnet iron core and current coils temperature monitoring by a set of temperature probes with accuracy 0.05 oC.

    - Magnets hysteresis an zero field effects

In case of iron core magnets the hysteresis effects required a special procedure for achievement of the B field integral reproducibility. The LEP magnet spectrometer excitation procedure including:

- degausing cycles;

- ramp;

- bending modulation;

- magnet temperature control;

- 4 points magnetic field control by NMR probes

gives the B field integral reproducibility with accuracy 15 ppm.

The problem of the spectrometer magnet zero field adjustment may be solved by the degausing cycles procedure under control at the moving wire magnetic field measurement technique.

# 3.4 Magnets 3-11

    - Magnets power supplies

For the magnets current coils excitation it is proposed to use 2 power supplies: one for the analyzing magnet and one for the two ancillary magnets connected in series. The power supplies requirements are in  Tab.3.9. They are standard type ones for the power supplies for the physics magnet devices. The real magnetic field integral spectrometer stabilization will be achieved by the working procedure of its measurement and control.

Table 3.9. Power supplies parameters

|  | Analyzing | Ancillary |
| --- | --- | --- |
| Nominal current range (A) | 30/265 | 13/120 |
| Maximal current (A) | 300 | 150 |
| Nominal voltage range* (V) | 1.4/13.3 | 2*(0.9/8.5) |
| Maximal voltage* (V) | 15.1 | 2*10.6 |
| Nominal power range* (kW) | 0.04/3.5 | 2*(0.01/1) |
| Maximal power* (kW) | 4.5 | 2*1.6 |
| Long term current stability (ppm) | 10 | 10 |

* - not taking into account the length of the connection conductors

    - Cooling system

Cooling water input in to spectrometer magnet is one of major factors influencing on its temperature. For reduction of the fluctuation range  of the magnet temperature in the cooling system it is necessary to provide stabilization of the water temperature with accuracy 0.2 Co. It reduces a temperature variation of the magnetic field integral  up to the value of 10 ppm. As analogue of the stabilization temperature system of the cooling water with such accuracy the  one realized on  the LEP spectrometer can be used.

    - Control system

The magnets control system has to be integrated into the spectrometer one. The description of this system is in the TDR Spectrometer Control System. The magnets control system has to be included:

- power supplies control;

- analyzing magnet field measurement control (2 points by NMR teslameter);

- analyzing magnet integral field measurement control (mowing wire measurement system);

- analyzing magnet iron core and coil temperature monitoring control (30 temperature sensors);

- system of the magnet cooling water stabilization.

# 3.4 Magnets 3-12

3.4.8   Synchrotron radiation light from the magnets

The results of the calculations for the basic properties of the synchrotron radiation light from the spectrometer magnets are presented in the report [3.17]. Some main SR light dependencies are shown in Fig.3.9 – 3.13. The electron beam energy loss due to the spectrometer magnets has to be account at the energy calculation. The SR light power determines the radiation and heat load of the beam pipe and surrounding equipment and shielding.

Fig.3.9. Energy loss due to synchrotron radiation in the TESLA spectrometer magnets

Fig.3.10. Power loss due to synchrotron radiation in the TESLA spectrometer magnets

# 3.4 Magnets 3-13

Fig.3.11. Critical SR energy for the analyzing spectrometer magnet

Fig.3.12. Differential number of photons produced by an electron beam

# 3.4 Magnets 3-14

3.4.9   Magnets cost

The preliminary cost estimation for the spectrometer magnet system is summarized in  Tab.3.10. The estimation was done under such assumptions

- the magnetic system design  will be will be carried out in LNP JINR;

- the magnets manufacturing will be realized in JINR main experimental shops;

- the magnetometer equipments manufacturing will be done in LNP JINR;

- as the mechanical basis of the magnetic field measurements stand,  the measuring table installed in LNP JINR will be used (with its some modification);

- the laboratory measurements of the spectrometer magnets magnetic field  will  be carried out in LNP JINR.

As the main part of the magnetic field measurement technique has to be used during the spectrometer operation, their cost is included into the magnets cost too.

Table 3.10. Preliminary cost estimation for the spectrometer magnetic system (k€)

|  |  | Analyzing magnet | Ancillary magnet |
| --- | --- | --- | --- |
| 1. | Design of manufacturing drawings | 3 | 2 |
| 2. | Tooling | 4 | 2*2.5=5 |
| 3. 3.1 3.2 3.3 | Materials: Steel for magnet yoke Copper conductor Insulation Total as per point 3: | 4 2 1 7 | 2*0.4=0.8 2*0.5=1 2*0.3=0.6 2.4 |
| 4. 4.1 4.2 4.3 4.4 | Production Coils Yoke Other details including materials Magnet assembly Total as per point 4: | 3 2 1.2 2 8.2 | 2*2=4 2*1=2 2*1=2 2*1.2=2.4 10.4 |
|  | Total manufacturing cost: | 22.2 | 19.8 |
| 5. | NMR Teslameter + probe multiplexer + 4 probes | 7 |  |
| 6. | Hall digital teslameter | 2.5 |  |
| 7. | Digital integrator + probe coils + moving wire probe | 12 |  |
| 8. | Digital multimeter | 2 |  |
| 9. | PC | 1.5 |  |
| 10. | Temperature probes interface + 50 sensors | 6.5 |  |
| 11. | Laser interferometer | 7 |  |
| 12. | Mechanical equipment for moving wire probe | 8 |  |
| # 3.4 Magnets 3-15 |  |  |  |

|  | Total magnetic measurement devices cost: | 46.5 |  |
| --- | --- | --- | --- |
| 13. 13.1 13.2 13.3 13.4 13.5 | Magnets test and commissioning Stand modernization: - mechanical parts - control Measurement system computer software Stand assembly, testing and commissioning Magnets test, magnetic field measurements Technical documentation and manuals | 7 3 4 15 4 | 2*4=8 2 |
|  | Total magnets test and commissioning cost: | 43 |  |
| 14. | Power supplies | 15 | 11 |
| 15. | Water cooling system stabilization | 10 |  |
| 16. | Commissioning with no beam | 4 |  |

Total cost:  171.5

    - Magnetic field measurement stand

The review of the magnetic measurement technique based on the experience of spectrometers creation in the SLC, LEP and CEBAF was reported in [3.22]. At those installations it was used the next measurement technique of the longitudinal magnetic field integral:

- moving probe (NMR + Hall);

- moving wire;

- search coils (one and two);

- flip coil.

The declared and practically realized relative tolerance of the BL determination is in the range (10-100) ppm. For the spectrometer magnets the technique providing the best accuracy of the field integral definition has been chosen.

3.14.11.1 Laboratory magnetic field measurements

It is proposed to use two independent techniques:

- moving probes (NMR probes in the main field region, Hall probe in the edge field);

- two search coils (as in CEBAF).

For the accurate probe positioning in longitudinal direction possible to recommend the laser interferometer, in the transverse one – linear  encoder. The full description of the proposed magnetic field measurement system is in the report [3.23].

# 3.4 Magnets 3-16

Moving probes

The moving probe is the absolute magnetic field measurement technique which measures the magnetic field integral by driving an NMR and a Hall probe along the length of the magnet in small steps. The probes are mounted on the measurement hold which is moved in two directions (Z – along the beam path and X – transverse one). Tab.3.11 summarizes the proposed systematic errors for this technique. The required magnetic field integral measurement accuracy can be achieved by:

- using in the main magnet field region of the NMR measurement system;

- appropriate choice of the spectrometer magnet length (3 m) decreases the field integral length for the Hall probe technique to 4%;

- using for the longitudinal distance determination of the high accuracy laser system;

- systematic Hall probe recalibration during the magnet mapping procedure.

During the measurement of the magnetic field map the information readout is providing from the two reference NMR probe, a set of temperature sensors (magnet core, magnet coil, input/output coils cooling water, air in the experimental hall) and stabilization block of the magnet coil power supply. The control of the whole system can be done via a real time by PC. The geometrical parameters for the measurement bench  and the tolerances required for it are presented in Tab.3.12.

Table 3.11. Systematic errors for the moving probe method

| Error Source | Error (ppm) |
| --- | --- |
| Position determination (laser) Misalignment of laser to beam path NMR system Hall probe precision (100ppm4%) Hall probe tilt Linear interpolation | 1 0 5 4 2 8 |
| Summary systematic error | 20 |

Table 3.12. Geometrical data for the moving probe measurement bench

| Longitudinal region (Z) | 3800 mm | Step of measurement |
| --- | --- | --- |
| Region of common use Hall and NMR probes | 2920 mm | 10 mm |
| Region of Hall probe use | 2*440 mm | 5 mm |
| Tolerance for the probe Z position | 1 ppm |  |
| Transverse region (X) | 10 mm | 1 mm |
| Tolerance for the probe X position | 0.1 mm |  |
| Transverse position of the measurement region from the magnet pole axis (Xmm) / its possible adjustment | 5 mm/5 mm |  |

# 3.4 Magnets 3-17

Search coils

The field integral measuring device uses the original method of two small coils connected in series and installed in magnet gap at the distance close to the magnetic length of the magnet. For this method only two parameters to be measured with the high accuracy of 10 -5:

- The distance between the magnetic centers of the two coils;

- The central field for each measurement.

The first task has to be solved during the preliminary procedure of the coils calibration, the second one by NMR probes with accuracy better then 5 ppm. The principal measurement scheme is closed to the one used for moving probe technique. Instead of the Hall Teslameter the integrator with search coils is used. The new mechanical holder for the coils has to be developed. The measurement procedure consists from the moving of the probes for the time of a few seconds to a distance of 3.01 m. The control by the longitudinal and transverse motion, the readout of other magnet parameters is realizing by the same way as for moving probes method. For the magnet field reference two fixed NMR probes are used, the third one – for the readout

the central magnet field. Tab.3.13 summarizes the proposed systematic errors for this technique.

Table 3.13. Systematic errors for the search coils method

| Error Source | Error (ppm) |
| --- | --- |
| Position determination (laser) NMR probe Distance between coils axis Integration of the coils output signal (100 ppm * 1%) | 1 5 7 1 |
| Summary systematic error | 14 |

3.14.11.2 Operational magnetic field measurements

For the operational magnetic field measurements it is proposed to use two independent techniques:

- reference NMR probes in two fixed points;

- moving wire (magnetic field integral).

For the working magnetic field measurement technique realization the same as for the search coils one equipment has to be used. The transverse measurements wire motion has to replace the longitudinal search coils one in the laboratory measurement scheme.

Reference NMR probes

During the laboratory magnetic field measurements campaign the field integral has to be evaluated as a function of the B field monitored by two fixed NMR reference probe. The estimation of the optimal reference probes location has to realized. The magnetic field integral reproducibility depending from the magnet excitation current

# 3.4 Magnets 3-18

and temperature history as the reference probe location history has to be investigated. The LEP experience shows the possible relative field integral reproducibility by using of the reference NMR probe technique is in the range 15-20 ppm.

Moving  wire

In this method, a wire is passed through the magnet gap and returned outside of the magnet to form a closed loop. Transverse motion of the wire  in the magnetic field induces a voltage in the loop. From a precise measurement of the voltage integral and distance moved, the magnetic field integral is evaluated. The calibration of this method is providing during the laboratory measurements campaign by the absolute moving probes measurements technique. The measurement scheme is the same as for the search coils one. The possible measurements errors are collected in Tab.3.14.

### Table 3.14. Systematic errors for the moving wire method

| Error Source | Error (ppm) |
| --- | --- |
| Distance determination (laser) Misalignment of travel Digital integrator accuracy (with calibration by moving probes) | 1 8 10 |
| Summary systematic error | 19 |

3.14.11.3 Additional experiments for the spectrometer magnets measurements

A lot of preliminary calibration work will be required:

- calibration of the Hall probes (periodical recalibration);

- calibration of the search coils.

During the measurement stand commissioning it has to be done:

- testing of the mechanical equipment (tolerances);

- testing of the laser interferometer;

- probes (NMR, Hall, coils) positioning and alignment.

As it is rather difficult to provide magnetic measurements inside the vacuum chamber (diameter 20 mm) a lot of special measurements has to be provided for investigation of it’s influence. Some experiments has to be done for determination of the magnetic effect from the special screens in the end points of the spectrometer magnet.

3.4.11.4 Test and working measurement technique

After the finishing of the laboratory spectrometer magnetic field measurements procedure, the analyzing magnet has to be moved and installed in to its working place at the TESLA beam line. For the final test magnetic measurements it is proposed to use the moving probes technique (NMR + Hall probe) by help of the specially designed probe holder realizing the measurement procedure inside the beam vacuum chamber. During this test measurements the final calibration is realizing for the

# 3.4  Magnets                                                                                                             3-19

reference NMR probes and the moving wire probe. After the finishing of this round of the magnetic field measurements the TESLA beam working spectrometer field integral estimation is providing by NMR reference probes and  the moving wire probe. The probes arrangement is shown in Fig.3.13.

Fig.3.15. Side view of the probes arrangement (Y – vertical direction, Z – along beam direction) for the test and working measurement technique inside the vacuum pipe

## References

3.1) TESLA Technical Design Report, DESY TESLA-01-23, 2001, pp.143 – 146.

3.2) Dehning B. - Status of the LEP2 Spectrometer Project. In Proceedings of EPAC 2000 , Vienna, Austria, 2000.

3.3) Roncarolo F. et al. - High Accuracy Field Mappings with a Laser Monitored Travelling Mole. In Proceedings of EPAC 2000 , Vienna, Austria, 2000.

3.4) Prochnow J. - The LEP Energy Spectrometer. Diplomarbeit in Physik, 2000.

3.5) Roncarolo F. - High Accuracy Magnetic Field Mapping of the LEP Spectrometer Magnet The thesis work, Academic Year 1999-2000.

3.6) Kent J. et al. - Precision Measurements of the SLC Beam Energy. SLAC-PUB-4922, LBL-26977 , 1989.

3.7) Watson S. et al. - Precision Measurements of the SLC Reference Magnets. SLAC-PUB-4908, LBL-26956, 1989.

3.8) Levi M.et al. - Precision Measurements of the SLC Spectrometer Magnets. SLAC-PUB-4654, 1989.

3.9) Gougnaud F. et al. - Controls for High Precision Beam Energy Determination at CEBAF, HALL A: The ARC Project. ICA LEPCS, 1999, Trieste, Italy.

# 3.4  Magnets                                                                                                             3-20

3.10) Kircher F. et al. - Reference dipole measurement for CEBAF beam energy determination.. Proc. of  MT-15 Conference, 1279-1282, Beijing, China, 1997.

3.11) Kircher F. et al. - High Accuracy Field Integral measurement for CEBAF Beam Energy determination.. Proc. of  MT-16 Conference, Jacksonville, Florida, USA, 1999.

3.12) Morozov N.A., Schreiber H.J. – Magnetic field calculations for the techniсal proposal of the TESLA spectrometer magnet.  JINR communication – E9-2003-65, Dubna, 2003 and Meeting on BPM-based Beam Energy Spectrometer, March 17/18, 2003 in DESY Zeuthen, http://www-zeuthen.desy.de/e_spec/Morozov.pdf

3.13) Morozov N.A. - The preliminary estimation of the parameters for the TESLA spectrometer magnet. Internal report, LNP JINR, Dubna, 2002.

# 3.14) Morozov N.A. – Calculations on optimization of the parameters for the TESLA spectrometer magnet. Internal report, LNP JINR, Dubna, 2003.

3.15) Morozov N.A. – Calculations on determination of the influence of manufacturing unaccuracy and temperature effects on quality of the magnetic field for the TESLA spectrometer magnet. Internal report, LNP JINR, Dubna, 2003.

3.16) Morozov N.A. – Calculations for estimation of the parameters for the TESLA spectrometer ancillary magnets. Internal report, LNP JINR, Dubna, 2003.

3.17) Morozov N.A. – Properties of synchrotron light for the TESLA spectrometer magnets. Internal report, LNP JINR, Dubna, 2003.

3.18) Morozov N.A. – Calculations of some additional tolerance effects for the TESLA spectrometer magnet. Internal report, LNP JINR, Dubna, 2003.

3.19) Morozov N.A. – Magnetic field calculations for the TESLA spectrometer ancillary magnet (in the version of ½ of the analyzing one) by the MAFIA code. Internal report, LNP JINR, Dubna, 2003.

3.20) Morozov N.A. – Magnetic field calculations for the TESLA spectrometer ancillary magnet (in the preferable compact version) by the MAFIA code. Internal report, LNP JINR, Dubna, 2003.

3.21) Morozov N.A. – Magnetic field calculations for the TESLA spectrometer main magnet  by the  3D  MAFIA code. Internal report, LNP JINR, Dubna, 2003.

3.22) Morozov N.A. – Review of the magnetic measurement technique (experience of the SLC, LEP, CEBAF). Meeting on BPM-based Beam Energy Spectrometer, 
October 13-14, 2003, Dubna,

http://www-zeuthen.desy.de/e_spec/morozov_field_meas.pdf .

3.23) Morozov N.A. - Proposals for the magnetic field measurement technique of the TESLA  spectrometer magnets. Internal report, LNP JINR, Dubna, 2003.

3.24) Morozov N.A. - Review of the progres in the 2D and 3D magnetic field simulation for the TESLA spectrometer magnets.

Meeting on BPM-based Beam Energy Spectrometer, October 13-14, 2003, Dubna,

http://www-zeuthen.desy.de/e_spec/morozov_magnets.pdf