From Bottom to Top

1 Bottom Case

- Caliper

- USB to USB cables

- USB to jack type M Barrel 5V DC power supply (spare cable for the network switch)

- D-Link Network switch empty box (the switch is in Peli Case 2)

.

2.

- PMT

- Silicone Optical grease

- Scintillator cleaning wipes and liquid cleaner (isopropane?)

- black tape

3.

-SMA to SMA long and short robust cables

-BNC to BNC cable

-BNC to MCX cables for the CAEN digitiser

4.

Wera Tools: screwdrivers set , blade and L keys

5.

Scintillators

- different sizes. Additional scintillator sheets are on my desk

6

- BNC, SMA, and  SHV patch panel

- 1 Power strip: USB and Universal sockets

- Mains power cable

- Ethernet cables

- 1 box containing: DC-4200 MHz Signal Splitter, SMA connectors, BNC to SMA connectors and SMA to MCX adaptor. Spanner for SMA connectors.

7

-ISDI CMOS sensor

- sensor enclosure screws and washers

- Camera Link Cable

8 Top container

- BNC, SMA, and MCX  connectors

- USB sockets for the parch panel

- Tape Measure

- Photodiodes and LEDs