## Slide 1
Notes: Hello, Laurent Kelleter from HEP, wanna talk about this
Projector is not broken, what you see is a video of a proton beam in a segmented block of plastic scintillator. Beam comes from left to right, you can see the Bragg peak. The flickering is the fluctuation of the beam current

## Slide 2: A Scintillator-based Range Telescope for Proton Therapy
Laurent Kelleter
Department of Physics and Astronomy (HEP)
University College London
Notes: We call this a range telescope. I would like to talk about what this is for, how we got where we are now and where we want to go. This work is been carried out within the European training network OMA which stands for Optimization of Medical Accelerators and is funded by the EU.

## Slide 3: Range Quality Assurance in Proton Therapy
O. Actis et al. 2017 Phys. Med Biol. 62 1661
Notes: The reason why we are doing this, or the problem we want to tackle is range quality assurance in proton therapy
Carried out daily in every PTC
Example from PSI, really nice integrated custom system, measure all energy steps and check whether they’re within tolerance.

## Slide 4: Range Quality Assurance in Proton Therapy
O. Actis et al. 2017 Phys. Med Biol. 62 1661
Notes: The reason they’re so fast: multi layer ionisation chamber
Really expensive
Many PTCs don’t pay for it or don’t put the effort in developing their own and do a customized solution (manual scanning): slow
Our idea: build a similar range telescope on the basis of cheap plastic scintillator

## Slide 5: UCL HEP: SuperNEMO Calorimeter
arXiv:1707.06823 [physics.ins-det]

## Slide 6: Quenching: Birk’s Law

## Slide 7: Range Telescope: Principle

## Slide 8: Range Telescope: Simulation
Geant4 simulation
Proton beam

## Slide 9: Proton Range Reconstruction
Geant4 simulation

## Slide 10: Proton Range Reconstruction
Geant4 simulation

## Slide 11: Proton Range Reconstruction
Geant4 simulation

## Slide 12: Proton Range Reconstruction
Geant4 simulation

## Slide 13: Proton Range Reconstruction
Geant4 simulation

## Slide 14: Scintillator Sheets

## Slide 15: Readout: Pixel Sensor

## Slide 16: MedAustron Beam Test
Beam

## Slide 17: MedAustron Beam Test

## Slide 18: MedAustron Beam Test
Beam

## Slide 19: Run at 97.4 MeV
Beam

## Slide 20: Range reconstruction

## Slide 21: Range reconstruction

## Slide 22: Range reconstruction

## Slide 23: Range Scan
Beam

## Slide 24: Range Scan

## Slide 25: Range Scan: Reproducibility

## Slide 26: Range Scan: Reproducibility

## Slide 27: Range Scan: Range Linearity

## Slide 28: Intensity Scan

## Slide 29: Intensity Scan

## Slide 30: Clatterbridge Beam Test: Radiation Damage

## Slide 31: Conclusion
Results
  Extensive optimization in Geant4 simulations
  Developed model for range reconstruction
  Read-out solution found
  Beam test results:
    Range reconstruction uncertainty < 0.3mm
    No intensity-induced quenching observed
    Preliminary: 3% light reduction after 6,000 Gy
Outlook
  CMOS sensor is overkill. Build customized readout
  Build larger prototype for 250 MeV

## Slide 32: Thank you for your attention
This project has received funding from the European Union’s Horizon 2020 research and innovation programme under the Marie Sklodowska-Curie grant agreement No 675265, OMA – Optimization of Medical Accelerators.

## Slide 33
Backup

## Slide 34: Range reconstruction