## Slide 1: UCL PBT Meeting 29-10-2025
Joe Bateman
University College London

## Slide 2: Trento Beam Test Summary
3 nights of measurements in the research room at Trento PTC
  Night 1: QuARC
    Calibrations and Bragg Peak measurements scaling current up to FLASH (briefly).
  Night 2: Combined QuARC + SciFi:
    Dynamic range testing (fibres at low gain)
    Beam position measurements
  Night 3: SciFi Measurements
    Dynamic range testing (fibres at high gain)
    Different spot sizes (varying energy)

## Slide 3: Detector Calibration
Chart: 
Chart: 
245 MeV, front
245 MeV, back

## Slide 4: Side A Shoot through comparisons
PD Charge (pC)
Module 1
Module 2
Module 3

## Slide 5: Side B Shoot through comparisons
PD Charge (pC)
Module 1
Module 2
Module 3

## Slide 6: Side A Calibrated
Normalised PD Charge (a.u.)
Module 1
Module 2
Module 3

## Slide 7: Side B Calibrated
Normalised PD Charge (a.u.)
Module 1
Module 2
Module 3

## Slide 8: Module 1
ST Front
ST Back

## Slide 9: Module 1 High Current ST Front

## Slide 10: Module 2
ST Front
ST Back

## Slide 11: Module 3
ST Front
ST Back

## Slide 12: 179 MeV 300 nA Side A
E0 = 178.68 MeV
kB = 0.10169
E0 = 178.18 MeV
kB = 0.0995859
Fit restricted to +/- 5mm of peak
Fit over entire data set

## Slide 13: 179 MeV 300 nA
E0 = 178.18 MeV
kB = 0.0995859
Side A
E0 = 177.9 MeV
kB = 1.87366e-05
Side B

## Slide 14: 179 MeV 20 nA
Side A
Side B
kB = 0.105512
Sigma_0 = 3.11298
kB = 7.32185e-06
Sigma_0 = 3.03636

## Slide 15: 179 MeV 300 nA
E0 = 178.18 MeV
kB = 0.0995859
Side A
E0 = 179.98 MeV
kB = 0.01
(lower limit of restricted range: 0.01 – 0.15)
Side B

## Slide 16: 179 MeV 300 nA
E0 = 178.18 MeV
kB = 0.0995859
Side A
E0 = 178.59 MeV
kB = 0.15 (upper limit of restricted range: 0.05 – 0.15)

## Slide 17: 179 MeV 40 nA
E0 = 178.18 MeV
kB = 0.10059
Side A
E0 = 178.03 MeV
kB = 0.01 (lower limit of range)
Side B

## Slide 18: 149 MeV Centered
A
B

## Slide 19: 149 MeV Beam Spot 20 mm to right
A
B

## Slide 20: 149 MeV Beam Spot 20 mm to left
A
B

## Slide 21: Calibration Effect
Calibration disproportionally increases B-side signal around Bragg peak to make it look like a smaller kB.

## Slide 22: Position Scan - reconstructed 148 MeV Bragg Curves
Beam 20mm to left
A: R0 = 151.47 mm, E0 = 146.91 MeV
B: R0 = 151.51 mm, E0 = 146.93 MeV
Avg: R0 = 151.49 mm, E0 = 146.92 MeV
Beam 20mm to right
A: R0 = 151.46 mm, E0 = 146.9 MeV
B: R0 = 151.73 mm, E0 = 147.05 MeV
Avg: R0 = 151.595 mm, E0 = 146.975 MeV
Beam in centre
A: R0 = 151.29 mm, E0 = 146.81 MeV
B: R0 = 151.51 mm, E0 = 146.93 MeV
Avg: R0 = 151.4 mm, E0 = 146.87 MeV

## Slide 23: QuARC Measurements
Uncalibrated
Calibrated

## Slide 24: QuARC Measurements

## Slide 25: QuARC and Fibre Correlation
Centred
(fibre mean shifted by 1.60 mm)
Uncentred

## Slide 26: QuARC and Fibre Correlation
Uncentred
Intercept is at -0.002 mm !!

## Slide 27: Fibre Linearity – 148 MeV Low Gain

## Slide 28: Fibre Linearity – 148 MeV High Gain

## Slide 29: Fibre Linearity – 228 MeV High Gain

## Slide 30: 30/10 Run007 (300 nA 149 MeV)
A
B
Avg shift = -0.027795 -> 1.52 mm

## Slide 31: 29/10 179 MeV 300 nA
A
B
Shift = -0.04924 - > 2.78mm