## Slide 1: The Big Picture
General scheme developed in Feb 2002 workshop at CERN
Uses ATLAS DAQ-1
Allows for, but does not require, run-time configurability needed by SCT
A host computer runs Linux and provides interaction with users, ATLAS, and the ROD crates
A Single Board Computer (SBC) running Linux is in each crate and manages communication with the VME devices (ROD/BOCs, TIM) in its crate
A classic distributed computing problem: host + 10 SBCs + 120 Master DSPs + 240 Slave DSPs

## Slide 2: Initial Stage
This is too much to do at once, proceed iteratively.
For ROD user evaluation, develop a single ROD/BOC, single VME crate, non-threaded program.
Specific case: a host-controlled calibration of the pixel front-end.
Everything runs on the same computer.
A proof of principle. Tests ROD driver, VME interface, Primitives, and DSP code in a real-world application.
Target date for initial stage: Aug 15 to Oct 15.

## Slide 3: Present Status
C VME Interface: Protype provided by ATLAS, appears to work fine.
C++ Wrapper: Completed by Paolo Morettini (Genoa).
ROD Driver: Under development by T. Meyer (Iowa State). Code 90% written, testing just beginning. Access to SBC for debugging began 2 April.
Command layer: Design under way. Coding not expected to be difficult.
Run Control: Part of DAQ-1 package provided by ATLAS Online.
Analysis and Display: Needs to be done. A PAW or Root based application will be the easiest to implement. User input to design helpful.

## Slide 4: Future Iterations
Complete Stage 1 by Aug 15 to Oct 15.
Add TIM driver.
Add threads for better efficiency. (Introduces Posix threads)
Add support for multiple RODs in the same crate
Add support for multiple crates. (Introduces CORBA)
Generalize command layer to handle other use cases