## Slide 1: SCT and Pixel Off Detector Electronics Status June 25, 2001
Cambridge : Back Of Crate (BOC) card (optical interface) and SCT DAQ, Andy Parker, John Hill and Maurice Goodrick
Wisconsin : Read Out Driver (ROD)
Khang Dao, Damon Fasching, Richard Jared, John Joseph, Mark Nagel, Sriram Sivasubramaniyan (Ohio State) and Lukas Tomasek (Institute of Physics AV CR, Prague)
University College London: Timing Interface Module (TIM),
Jon Butterworth, John Lane, Martin Postranecky and Matthew Warren
Oxford Crate Backplane
Roy Wastie
Iowa State Pixel DAQ,
Roy McKay,Tom Meyer and Eli Rosenberg
Richard Jared

## Slide 2: SCT and Pixel Off Detector Electronics Status June 25, 2001
Material Covered:
Overview of Off Detector electronics
Back Of Crates Card (BOC)
Read Out Driver (ROD)
Timing Interface Module (TIM)
DAQ
Cambridge System Test
Schedule

## Slide 3: SCT and Pixel Off Detector Electronics Status June 25, 2001
Components of the Off Detector Electronics
Back Of Crate (BOC) card (optical interface), Cambridge
Read Out Driver (ROD), Wisconsin
Timing Interface Module (TIM), University College London
Crate Backplane, Oxford
SCT DAQ, Cambridge
Pixel DAQ, Iowa State
Overview

## Slide 4: SCT and Pixel Off Detector Electronics Status June 25, 2001
Overview

## Slide 5: SCT and Pixel Off Detector Electronics Status June 25, 2001
TIM (Timing Interface Module)
Receives clock and trigger information from the TTC
Transmits clock and trigger information to the ROD
Receives busy information from the ROD
Masks and passes on busy to the L1 Trigger
Operates stand alone under control of the RCC
RCC (ROD Crate controller)
Reads configuration data from the ATLAS data base
Configures the TIM, ROD and BOC
Controls the operation of the crate
Monitors the crate during running
Provides readout, control and configuration in stand alone mode
Overview

## Slide 6: SCT and Pixel Off Detector Electronics Status June 25, 2001
BOC (Back of Crate Card) (ROD optical fiber interface)
Receives optical module data and formats data for the ROD input
Receives module control data from ROD and formats data for the optical fibers
Provides individual fiber delays
Houses the Slink interface
ROD (Read Out Driver)
Formats input data
Provides latency FIFOs
Corrects header and trailer errors
Corrects header and trailer
Counts errors
Provides for calibration of modules
Traps and monitors event data
Formats data for Slink input
Overview

## Slide 7: SCT and Pixel Off Detector Electronics Status June 25, 2001
    Current Status:
    BOC prototype, (BOC-0 ):
    BOC-0 is intended as a proof-of-principle board
    Full scale (48 command, 96 data streams)
    Full functionality (inc. Some Pixel 80MHz streams)
    BPM4 rather than BPM12
    Quad VCSELs to match BPM4
    Current-mirrors match BPM4 I-sink outputs to common
    cathode VCSEL arrays
Back Of Crates Card

## Slide 8: SCT and Pixel Off Detector Electronics Status June 25, 2001
Back Of Crates Card
Interlocks

## Slide 9: SCT and Pixel Off Detector Electronics Status June 25, 2001
Back Of Crates Card
VCSEL arrays
BPMs
Laser Current - DACs+Amps
Current Mirrors
PIN arrays
DRX amp/discrim
Pixel Compatible
Streams
Data Delay Chips
T/Hold DACs
Data Registers
Clock Circuits

## Slide 10: SCT and Pixel Off Detector Electronics Status June 25, 2001
Current Status:
BOC Prototype, (BOC 0) (Continued)
Two cards loaded, population not complete (opto supply)
12 Command streams with BPMs
12 un-encoded Command streams (for testing)
12 controlled DC Command streams (testing)
36 Data streams
First tests OK (CPLDs load)
Most functions tested
Back Of Crates Card

## Slide 11: SCT and Pixel Off Detector Electronics Status June 25, 2001
Current Status:
BOC Testing:
Set Up Bus operations work fine:
Read and write to BOC registers
Write to BPM4 registers (BPM4 read-back HW defect)
Write to laser current DACs OK (serial path (no read coded))
Write to data threshold DACs OK (serial path (no read coded))
Write to data delay chips OK (I2C path (no read coded))
Write to coarse clock delay OK (no read coded)
Read/Write to fine clock delay OK
Read/Write to clock control OK
Read ID information OK
Timing/threshold Variations:
Receiver threshold scans show 4 micro Watts for 1 to 0 transition
at transmission level of 60 micro Watts.
Delay scans show timing jitter of less then 1 nano sec (60 micro Watt
signal level).
Back Of Crates Card

## Slide 12: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Model Changes (BOC 1):
VCSEL are changing from modulo 4 to 12.
Current mirrors that drive the VCSEL will not be needed.
Laser current amplifiers will not be needed
BPMs are changing from modulo 4 to 12.
DRXs will be mounted on the front and back side of the card to minimize
the path length from the Pin array to the DRX
Minor correction to the art work will be made .
Back Of Crates Card

## Slide 13: SCT and Pixel Off Detector Electronics Status June 25, 2001
Concerns:
Optical components in hand are sufficient to load one production model
card and partially ( 12 control and 12 data links) load 7 cards. This will
just barely meet the needs of initial systems for macro assembly sites.
Production optical component selection and delivery is questionable.
Two vendors are involved (Mitel and Taiwan).
Mitel devices are currently in use, but they are not willing at this
time to commit to production quantities .
Academia Sinica of Taiwan has provided a prototype laser device.
The BOC schedule needs to know the vendor by October 1, 2001 and
have devices for 3 cards in hand by November 30, 2001 to meet the
needs of the macro assembly sites.
The early production schedule is very tight.
Back Of Crates Card

## Slide 14: SCT and Pixel Off Detector Electronics Status June 25, 2001
Schedule, BOC:
July 15, 2001, Start Layout of BOC production model
October 1, 2001, complete layout of BOC production model
December 31, 2001, 3 BOC cards fabricate
January 30, 2001, 3 BOC production model cards complete
Back Of Crates Card

## Slide 15: SCT and Pixel Off Detector Electronics Status June 25, 2001
Read Out Driver (ROD)

## Slide 16: SCT and Pixel Off Detector Electronics Status June 25, 2001
Read Out Driver (ROD)
Evnt
Frg
Bldr
Fifo0
Evnt
Frg
Bldr
Fifo1
Router
Event
Fragment
Builder
DSP3
Fifo/Buffer
DSP2
Fifo/Buffer
DSP1
Fifo/Buffer
DSP0
Fifo/Buffer
DSP3
Module
DSP2
Module
DSP1
Module
DSP0
Module
Link 0DATA 1b
Link 11DATA 1b
Link 12DATA 1b
Link 23DATA 1b
Link 24DATA 1b
Link 35DATA 1b
Link 36DATA 1b
Link 47DATA 1b
Link 48DATA 1b
Link 59DATA 1b
Link 60DATA 1b
Link 71DATA 1b
Fifo 40b
DATA
Fifo 40
DATA
Fifo 40b
DATA
Fifo 40b
DATA
Fifo 40b
DATA
Fifo 40b
DATA
EvntFrgBldr
DATA 46b
EvntFrgBldr
DATA 46b
Event 46b
Header/Trailer
Events 46b
Events 32b
Trapped 32b
DATA
Trapped 32b
DATA
Trapped 32b
DATA
Trapped 32b
DATA
SLINK 1b
TIM EventDATA 16b
TIM TriggerDATA 8b
from TIM
Processed 16b
Trapped
DATA
Processed 16b
Trapped
DATA
Processed 16b
Trapped
DATA
Processed 16b
Trapped
DATA
SLINK
Event Fifo
32bx4W
SLINK
Link 72DATA 1b
Link 83DATA 1b
Link 84DATA 1b
Link 951DATA 1b
Fifo 40b
DATA
Fifo 40b
DATA
Formatter
Fifo0
Formatter
Fifo1
Formatter
Fifo2
Formatter
Fifo3
Formatter
Fifo4
Formatter
Fifo5
Formatter
Fifo6
Formatter
Fifo7
DataValid 1b
VME Bus
BOC
To Formatter
ROD Controller

## Slide 17: SCT and Pixel Off Detector Electronics Status June 25, 2001
Read Out Driver (ROD)
data formatter FPGAs
real time data path
master DSP
& memory
controller
FPGA
boot
FPGA
program FLASH
power supplies
slave DSPs & memories
router
FPGAs
event
builder
FPGA
debug &
derandomizing
memories
ROD bus
buffers

## Slide 18: SCT and Pixel Off Detector Electronics Status June 25, 2001
Read Out Driver (ROD)
Current Status
Data Flow
Through the Formatter working
Through the Event Fragment Builder working
Through the Router working
To the Slave DSP working
Initialization working
Communication to/from Slave DSP working
Running primitives in the Master/Slave DSP working
VME read/write to the ROD working
Controller FPGA is working. Some of the functionality has not been
tested. It is expected that more bugs will be found.
There are no other problems known.

## Slide 19: SCT and Pixel Off Detector Electronics Status June 25, 2001
Read Out Driver (ROD)
Current Status
Projected schedule
Prototype RODs (2 ea.) have been fabricated
The production model will be fabricated in July and August, 2001.
Early fabrication of 10 RODs in October to December, 2001
Production of 100 RODS in first and second quarter of 2002
Crates 8ea. will be purchased when CERN has the purchase order in place.
Test Stand Software
The test stand software will be used for the early tests at Cambridge.
The test stand software is about 85% complete.
The remaining software is for the production test stand.
Concerns
The ROD is very complex. It is not known how easy it will be to debug
the cards. There is also concern with the number of defects in the
manufactured card. These effects are very manufacturer specific.
Significant effort is being made to find good manufacturers.

## Slide 20: SCT and Pixel Off Detector Electronics Status June 25, 2001
Timing Interface Module (TIM)

## Slide 21: SCT and Pixel Off Detector Electronics Status June 25, 2001
Timing Interface Module (TIM)
VME Buffers
EventID deMUX/
generate & FIFO
Sequencer
TTC to RODs
(PECL drivers)
VME Interface
Stand-alone Trig generate
EventID
Serializer
NIM/ECL Aux TTC I/O
RODBusy
TTCrx module

## Slide 22: SCT and Pixel Off Detector Electronics Status June 25, 2001
Timing Interface Module (TIM)
What have we done so far
Two prototype TIMs made
Parts in hand for 8 more TIMs
TIM delivered to Cambridge in March
Clock jitter at BOC input reduced to 400ps p2p
List of corrections/modifications submitted for drawing @ RAL.
What is working?
VME access to all registers & memory
Clock and sequencer (i.e. Programmable pattern generator)
TTC, front panel and standalone inputs.

## Slide 23: SCT and Pixel Off Detector Electronics Status June 25, 2001
Timing Interface Module (TIM)
To do:
Debugging & Testing (ongoing)
Simulation of remaining CPLDs (ongoing)
Coding of BCID offset
Coding of TTCrx I2C interface
Coding of VME interrupts
Concerns/Problems
Only 4/10 CPLDs simulated so far
Debugging proceeds slowly
Event ID logic needs attention
Plans and schedule
2 more TIMs (iteration of prototype) to be manufactured soon
(for Q3 2001)
Further six can be made as required.
Redesign/implement TIM using new parts ("final" system) for Q2 2002.

## Slide 24: SCT and Pixel Off Detector Electronics Status June 25, 2001
Crate Backplane
Accomplishments:
Prototype backplanes have been fabricated.
Backplane test boards have been fabricated
Backplane mounted and tested in Cambridge crate
Backplane power loading tested
Current Work:
Corrections of errors in art work
Concerns:
None

## Slide 25: SCT and Pixel Off Detector Electronics Status June 25, 2001
DAQ
Accomplishments:
Note: The pixel and SCT DAQ are expected to have much overlap of code.
Use cases have been studied to determine ROD DSP code partitioning
SCT and Pixel DAQ workshop was held last week.
Pixel DAQ has written several primitives for the slave DSP.
Pixel DAQ has written a memory test primitive.
SCT DAQ has generated the Cambridge system test plan
SCT DAQ has written code to communicate to the TIM.
Current Work:
Development of partitioning and functionality
Investigating the use of DAQ-1 for macro assembly sites.
Concerns:
The DAQ code is not written.
Manpower is limited.

## Slide 26: SCT and Pixel Off Detector Electronics Status June 25, 2001
Cambridge System Test
  Started 23 June - ROD arrived at Cambridge
  Plan developed to check that the ROD/BOC/TIM/Backplane work together as advertised.
  Initially, TIM will be used just to provide the 40MHz clock and communication between ROD<==>BOC will be tested:
    Done-Hardware signals sent from one to the other correct.
    Done-Commands and responses propagate correctly on the setup bus.
    No bit errors in the control and data paths have been detected (more testing needed)
    Done-Software has been written and tested OK to perform Optical link delay scans.
    Software will be written to perform optical link threshold scans.
  Once ROD<==>BOC communications are tested, TIM will be fully included.
    Do the TTC signals transmit to the ROD correctly ( in progress )?
    Does the ROD busy transmit to the TIM?

## Slide 27: SCT and Pixel Off Detector Electronics Status June 25, 2001
Cambridge System Test
  Then move on to tests which use the hardware as a “system”.
    Mechanisms for BOC timing adjustments (allowing for variations in fiber lengths)
    Do the redundancy routes work correctly (this includes both the backup control path, and the use of a single data fiber for both sides of a detector module).
    Send “real” data through the full readout chain (first with simulated, then real detector module). (in progress)
    Clock and control transmitted correctly?
    Error handling (e.g. missing event on 1 channel only)
    Does the S-link work?
    Does the system operate at 100kHz?
    Can events be read from the ROD in stand alone mode at 1kHz (or close)?
    Does the ROD switch correctly into and out of “header-only” mode?

## Slide 28: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Schedule
The macro assembly locations (Oxford (Richard Nickerson), NIKHEF (Nigel Hessey), KEK (Nobu Unno), Sheffield (Craig Buttar), Liverpool (Neil Jackson) )were contacted to determine their needs.
It is expected that the schedule needs will be satisfied.
The schedule information below (through macro assembly) is the result of the survey

## Slide 29: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Schedule
The initial systems contain one of each type of hardware (TIM, BOC, ROD, National Instruments Lab Windows and interface module (may be replaced by single board computer and DAQ-1) and crate). It is intended to be used to learn how to run the system and software supplied.
Note: The off detector group will need help with module analysis software.
Initial Systems Needs TIM BOC ROD
Second quarter of 01 initial system Cambridge 1 1 1
Fourth quarter of 01 initial system
KEK, NIKHEF and Oxford 3 3 3
First quarter of 02 initial system Sheffield 1 1 1
First quarter of 02 initial system Liverpool 1 1 1
First quarter of 02 Initial system
UCL, Wisconsin, Iowa and Pixels 4 4 4
----------------------------
Total Initial Systems 10 10 10

## Slide 30: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Schedule
Total macro assembly site needs as a function of time.
Production for SCT Assembly Site BOC ROD
First quarter of 02 3 3
Second quarter of 02 14 14
Third quarter of 02 36 36
Fourth quarter of 02 50 50
Cumulative Numbers
Individual macro assembly site needs are shown below:
Oxford (Richard Nickerson)
Desired date initial system arrives: Oct. 2001
Cumulative BOCs and RODs at macro assembly location:
First quarter of 2002 0 ea.
Second quarter of 2002 4 ea. by Feb 2002
Third quarter of 2002 16 ea.
Fourth quarter of 2002 16 ea.

## Slide 31: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Schedule
NIKHEF (Nigel Hessey)
Desired date initial system arrives: Oct. 2001
Cumulative BOCs and RODs at macro assembly location:
First quarter of 2002 1 ea.
Second quarter of 2002 4 ea.
Third quarter of 2002 4 ea.
Fourth quarter of 2002 6 ea.
KEK (Nobu Unno)
Desired date initial system arrives: Oct. 01
Cumulative BOCs and RODs at macro assembly location:
First quarter of 2002 none
Second quarter of 2002 1 ea.
Third quarter of 2002 6 ea.
Fourth quarter of 2002 15ea.

## Slide 32: SCT and Pixel Off Detector Electronics Status June 25, 2001
Production Schedule
Sheffield (Craig Buttar)
Desired date initial system arrives: Jan. 2002
Cumulative BOCs and RODs at macro assembly location:
First quarter of 2002 1 ea.
Second quarter of 2002 2 ea.
Third quarter of 2002 6 ea.
Fourth quarter of 2002 9 ea.
Liverpool (Neil Jackson)
Desired date initial system arrives:Will use UK site
Cumulative BOCs and RODs at macro assembly location:
First quarter of 2002 1
Second guarter of 2002 3
Third quarter of 2002 4 ea.
Fourth quarter of 2002 4 ea.