## Slide 1
ATLAS USA15 - Rack 52U with 9U crates, remote PS
x3
x3
* Crates with local power supplies are 11U high (inc. fan-tray)
9U VME64x Crate
w. Fan-tray
Blowers & control
Deflector
Heat exchanger
Heat exchanger
Heat exchanger
9U VME64x Crate
w. Fan-tray
9U VME64x Crate
w. Fan-tray
Free
12U*
12U*
12U*
4U
1U
1U
1U
2U
7U

## Slide 2
6U VME64x Crate
w. Fan-tray
Heat exchanger
ATLAS USA15 - Rack 52U with 6U crates, local PS
x4
x5 (not all HE may be required)
* Crates with remote power supplies are 9U high (inc. fan-tray)
Blowers & control
Deflector
6U VME64x Crate
w. Fan-tray
Heat exchanger
Heat exchanger
Free (One more 6U crate?)
8U*
8U*
8U*
4U
1U
1U
1U
2U
9U
6U VME64x Crate
w. Fan-tray
Heat exchanger
6U VME64x Crate
w. Fan-tray
Heat exchanger
8U*
1U