{"text_format":"5","workbook":"xls","n_sheets":7,"sheets":["TITLE","USA15 RACK LAYOUT","USA15 RACK LIST","US15 Level 2 RACK LAYOUT","US15 Level 2 RACK LIST","UX15 RACK LAYOUT","UX15 RACK LIST"],"props":{"creator":"malyukov","last_modified_by":"malyukov","company":"CERN"},"not_rendered":{"images":5,"external_links":1},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"TITLE","index":0,"n_rows":33,"n_cols":7,"rows_kept":33,"flags":["formulas_cached_only"]}
{"$rows_empty":8}
[{"$nulls":3},"Rack layout in USA15 control rooms, levels 1 and 2, in US15, level 2, in UX15 cavern"]
[]
[{"$nulls":3},"EDMS folder  ATLAS A Toroidal LHC ApparatuS/Atlas Technical Coordination/Technical matters/Cabling/Racks"]
[{"$nulls":3},"EDMS reference ATC-TB-EP-0007"]
[]
[{"$nulls":4},"Version 2.0"]
[]
[{"$nulls":4},"Last modification      June 16, 2003"]
[]
[]
[]
[]
[]
[{"$nulls":3},"Notes:"]
[]
[{"$nulls":3},"Please pay attention to rack height as indicated in the tables"]
[]
[{"$nulls":3},"Rack types: ",null,"52Ua =","600x1000x2400 mm3"]
[{"$nulls":5},"41Ub = ","600 x 900 1900 mm3"]
[]
[{"$nulls":3},"All comments sent by subsystems after the TMB meeting 8th May are taken into account"]
[]
[{"$nulls":3},"Links to rack layout drawings for every level available in EDMS folder  \"ATLAS A Toroidal LHC ApparatuS/Atlas Technical Coordination/Technical matters/Cabling/Racks\""]
[]
[{"$nulls":3},"All comments sent during approval procedure are taken into account"]

{"sheet":"USA15 RACK LAYOUT","index":1,"n_rows":40,"n_cols":12,"rows_kept":40,"flags":["formulas_cached_only"]}
{"$rows_empty":39}
[null,null,"USA15 level 1 plan: https://edms.cern.ch/document/384097/0 ",{"$nulls":8},"USA15 level 2 plan: https://edms.cern.ch/document/384099/0"]

{"sheet":"USA15 RACK LIST","index":2,"n_rows":239,"n_cols":19,"rows_kept":239,"flags":["formulas_cached_only"]}
["ID","name","detector","function","location","room","level","side","x","y","cables","type","ips","ups","dps","reference","description","comments","contact"]
[3001,"Y.3-2.USA151 ","LEVEL1 Trigger ","Spare","-","USA15",1,"A",3,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3002,"Y.4-2.USA151 ","LEVEL1 Trigger ","Spare","-","USA15",1,"A",4,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3003,"Y.5-2.USA151 ","LEVEL1 Trigger ","Spare","-","USA15","1 ","A",5,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3004,"Y.6-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",6,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3005,"Y.7-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",7,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3006,"Y.8-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",8,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3007,"Y.9-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",9,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3008,"Y.10-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",10,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3009,"Y.11-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",11,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3010,"Y.12-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",12,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3011,"Y.13-2.USA151 ","LEVEL1 Trigger ","TGS ROD","-","USA15","1 ","A",13,2,"-","52Ua  ",7.5,0,0,"-","-","-","Osamu SASAKI "]
[3012,"Y.14-2.USA151 ","LEVEL1 Trigger ","Muon to CTP Interface","-","USA15","1 ","A",14,2,"-","52Ua  ",7.5,0,0,"-","-","-","Georges SCHULER "]
[3013,"Y.152.USA151 ","LEVEL1 Trigger ","Central Trigger Processor (CTP)","-","USA15","1 ","A",15,2,"-","52Ua  ",7.5,0,0,"-","-","-","Georges SCHULER "]
[3014,"Y.20-2.USA151 ","LEVEL1 Trigger ","TTC","-","USA15","1 ","C",20,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3015,"Y.21-2.USA151 ","LEVEL1 Trigger ","TTC","-","USA15","1 ","C",21,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3016,"Y.22-2.USA151 ","LEVEL1 Trigger ","TTC","-","USA15","1 ","C",22,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3017,"Y.23-2.USA151 ","LEVEL1 Trigger ","TTC","-","USA15","1 ","C",23,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3018,"Y.24-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",24,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3019,"Y.25-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",25,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3020,"Y.26-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",26,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3021,"Y.27-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",27,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3022,"Y.28-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",28,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3023,"Y.29-2.USA151 ","LEVEL1 Trigger ","RPC ROD","-","USA15","1 ","C",29,2,"-","52Ua  ",7.5,0,0,"-","-","-","Stefano VENEZIANO "]
[3024,"Y.30-2.USA151 ","LEVEL1 Trigger ","TileCal Discriminators","-","USA15","1 ","C",30,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3025,"Y.3-5.USA151 ","DAQ","DAQ","-","USA15",1,"A",3,5,"-","52Ua  ",0,0,0,"-","-","-","Patrick DONNAT-BOUILLUD "]
[3026,"Y.4-5.USA151 ","DAQ","DAQ","-","USA15",1,"A",4,5,"-","52Ua  ",0,0,0,"-","-","-","Markus JOOS "]
[3027,"Y.5-5.USA151 ","DAQ","DAQ","-","USA15",1,"A",5,5,"-","52Ua  ",0,0,0,"-","-","-","Markus JOOS "]
[3028,"Y.6-5.USA151 ","DAQ","DAQ","-","USA15",1,"A",6,5,"-","52Ua",0,0,0,"-","-","-","Markus JOOS "]
[3029,"Y.26-5.USA151 ","TRT  ","DCS","-","USA15","1 ","C",26,5,"-","52Ua  ",6.5,0,0,"-","-","-","Zybszek HAJDUK "]
[3030,"Y.27-5.USA151 ","TRT  ","DCS","-","USA15","1 ","C",27,5,"-","52Ua  ",6.5,0,0,"-","-","-","Zybszek HAJDUK "]
[3031,"Y.28-5.USA151 ","TRT  ","DCS","-","USA15","1 ","C",28,5,"-","52Ua  ",6.5,0,0,"-","-","-","Zybszek HAJDUK "]
[3032,"Y.29-5.USA151 ","TRT  ","Patch-panel","-","USA15","1 ","C",29,5,"-","52Ua  ",0,0,0,"-","-","-","Peter LICHARD "]
[3033,"Y.30-5.USA151 ","SAFETY Systems ","Rack Smoke Detection","-","USA15","1 ","C",30,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[3034,"Y.3-11.USA151 ","MUON TGC ","HV","-","USA15","1 ","A",3,11,"-","52Ua  ",6,0,0,"-","-","-","Robert RICHTER "]
[3035,"Y.4-11.USA151 ","MUON TGC ","HV","-","USA15","1 ","A",4,11,"-","52Ua  ",6,0,0,"-","-","-","Robert RICHTER "]
[3036,"Y.5-11.USA151 ","SAFETY Systems ","Linear Cable Fire Detection","-","USA15","1 ","A",5,11,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[3037,"Y.6-11.USA151 ","SAFETY Systems ","Rack Smoke Detection","-","USA15","1 ","A",6,11,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[3038,"Y.22-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",22,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3039,"Y.23-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",23,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3040,"Y.24-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",24,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3041,"Y.25-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",25,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3042,"Y.26-11.USA151 ","TRT  ","Patch-panel","-","USA15","1 ","C",26,11,"-","52Ua  ",0,0,0,"-","-","-","Peter LICHARD "]
[3043,"Y.27-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",27,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3044,"Y.28-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",28,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3045,"Y.29-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",29,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3046,"Y.30-11.USA151 ","TRT  ","ROD","-","USA15","1 ","C",30,11,"-","52Ua  ",7.5,0,0,"-","-","-","Peter LICHARD "]
[3047,"Y.3-14.USA151 ","MUON MDT ","Alignment barrel","-","USA15","1 ","A",3,14,"-","52Ua  ",0,0,0,"-","-","-","Robert RICHTER "]
[3048,"Y.4-14.USA151 ","MUON MDT ","Alignment barrel","-","USA15","1 ","A",4,14,"-","52Ua  ",0,0,0,"-","-","-","Robert RICHTER "]
[3049,"Y.5-14.USA151 ","MUON MDT ","Alignment endcap","-","USA15","1 ","A",5,14,"-","52Ua  ",0,0,0,"-","-","-","Robert RICHTER "]
[3050,"Y.6-14.USA151 ","DCS ","Detector Safety System","-","USA15","1 ","A",6,14,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[3051,"Y.7-14.USA151 ","DCS ","DCS","-","USA15","1 ","A",7,14,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[3052,"Y.8-14.USA151 ","NETWORKS ","Networks","-","USA15","1 ","A",8,14,"-","52Ua  ",6.5,0,0,"-","-","-","Ove JONSSON "]
[3053,"Y.9-14.USA151 ","DAQ","DAQ","-","USA15",1,"A",9,14,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3054,"Y.22-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",22,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3055,"Y.23-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",23,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3056,"Y.24-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",24,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3057,"Y.25-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",25,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3058,"Y.26-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",26,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3059,"Y.27-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",27,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3060,"Y.28-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",28,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3061,"Y.29-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",29,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3062,"Y.30-14.USA151 ","TRT  ","HV","-","USA15","1 ","C",30,14,"-","52Ua  ",6.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[3063,"Y.3-16.USA151 ","TILE  ","Laser Optical Patch Panel","-","USA15","1 ","A",3,16,"-","52Ua  ",0.3,0,0.06,"-","-","-","François VAZEILLE "]
[3064,"Y.4-16.USA151 ","TILE  ","Laser Box","-","USA15","1 ","A",4,16,"-","52Ua  ",1.35,0,0.27,"-","-","-","François VAZEILLE "]
[3065,"Y.5-16.USA151 ","TILE  ","Laser Control & Safety Control","-","USA15","1 ","A",5,16,"-","52Ua  ",3.1,0,0.62,"-","-","-","François VAZEILLE "]
[3066,"Y.6-16.USA151 ","TILE  ","Tilecal Logic & Calibration DAQ","-","USA15","1 ","A",6,16,"-","52Ua  ",3.1,0,0.62,"-","-","-","François VAZEILLE "]
[3067,"Y.7-16.USA151 ","TILE  ","Electronics associated with RODs","-","USA15","1 ","A",7,16,"-","52Ua  ",3.5,0,0.7,"-","-","-","François VAZEILLE "]
[3068,"Y.8-16.USA151 ","TILE  ","Tilecal RODs","-","USA15","1 ","A",8,16,"-","52Ua  ",5.4,0,1.08,"-","-","-","François VAZEILLE "]
[3069,"Y.9-16.USA151 ","TILE  ","Tilecal RODs","-","USA15","1 ","A",9,16,"-","52Ua  ",5.4,0,1.08,"-","-","-","François VAZEILLE "]
[3070,"Y.22-16.USA151","DAQ","DAQ","-","USA15","1 ","C",22,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3071,"Y.23-16.USA151","DAQ","DAQ","-","USA15","1 ","C",23,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3072,"Y.24-16.USA151","DAQ","DAQ","-","USA15","1 ","C",24,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3073,"Y.25-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",25,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3074,"Y.26-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",26,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3075,"Y.27-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",27,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3076,"Y.28-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",28,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3077,"Y.29-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",29,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3078,"Y.30-16.USA151 ","MUON CSC ","HV","-","USA15","1 ","C",30,16,"-","52Ua  ",2.3,0,0,"-","-","-","Robert RICHTER "]
[3079,"Y.3-19.USA151 ","TILE  ","High Voltage Source","-","USA15","1 ","A",3,19,"-","52Ua  ",3.9,0,1.26,"-","-","-","François VAZEILLE "]
[3080,"Y.4-19.USA151 ","TILE  ","High Voltage Source","-","USA15","1 ","A",4,19,"-","52Ua  ",3.9,0,1.26,"-","-","-","François VAZEILLE "]
[3081,"Y.5-19.USA151 ","TILE  ","HV Control & Cooling Control","-","USA15","1 ","A",5,19,"-","52Ua  ",3.1,0,0.62,"-","-","-","François VAZEILLE "]
[3082,"Y.6-19.USA151 ","TILE  ","300V Power Supplies","-","USA15","1 ","A",6,19,"-","52Ua  ",46.06,0,9.2,"-","-","-","François VAZEILLE "]
[3083,"Y.7-19.USA151 ","TILE  ","Read Out Control & Low Voltage Power Supply Control","-","USA15","1 ","A",7,19,"-","52Ua  ",3.1,0,0.62,"-","-","-","François VAZEILLE "]
[3084,"Y.8-19.USA151 ","TILE  ","Cesium Calibration System","-","USA15","1 ","A",8,19,"-","52Ua  ",3.26,0,0.65,"-","-","-","François VAZEILLE "]
[3085,"Y.9-19.USA151 ","TILE  ","Cesium Calibration System","-","USA15","1 ","A",9,19,"-","52Ua  ",2.895,0,0.58,"-","-","-","François VAZEILLE "]
[3086,"Y.22-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",22,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3087,"Y.23-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",23,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3088,"Y.24-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",24,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3089,"Y.25-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",25,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3090,"Y.26-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",26,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3091,"Y.27-19.USA151 ","MUON MDT ","ROD","-","USA15","1 ","C",27,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3092,"Y.28-19.USA151 ","MUON MDT ","HV","-","USA15","1 ","C",28,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3093,"Y.29-19.USA151 ","MUON MDT ","HV","-","USA15","1 ","C",29,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3094,"Y.30-19.USA151 ","MUON MDT ","HV","-","USA15","1 ","C",30,19,"-","52Ua  ",3.3,0,0,"-","-","-","Robert RICHTER "]
[3095,"Y.22-21.USA151 ","DAQ","DAQ","-","USA15",1,"C",22,21,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3096,"Y.23-21.USA151 ","DAQ","DAQ","-","USA15",1,"C",23,21,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[3097,"Y.24-21.USA151 ","NETWORKS ","Networks","-","USA15","1 ","C",24,21,"-","52Ua  ",0,0,0,"-","-","-","Ove JONSSON "]
[3098,"Y.25-21.USA151","DCS ","DCS","-","USA15",1,"C",25,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[3099,"Y.26-21.USA151 ","DCS ","DCS","-","USA15","1 ","C",26,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[3100,"Y.27-21.USA151 ","DCS ","DCS","-","USA15","1 ","C",27,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[3101,"Y.28-21.USA151 ","ID","ID PS heaters","-","USA15","1 ","C",28,21,"-","52Uc ",0,0,0,"-","-","-","Greg HALLEWELL "]
[3102,"Y.29-21.USA151 ","ID","ID PS heaters","-","USA15","1 ","C",29,21,"-","52Uc",0,0,0,"-","-","-","Greg HALLEWELL "]
[3103,"Y.30-21.USA151 ","ID","ID PS heaters","-","USA15","1 ","C",30,21,"-","52Uc ",0,0,0,"-","-","-","Greg HALLEWELL "]
[4001,"Y.4-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","A",4,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4002,"Y.5-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","A",5,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4003,"Y.6-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","A",6,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4004,"Y.7-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","A",7,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4005,"Y.8-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","A",8,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4006,"Y.9-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","A",9,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4007,"Y.10-2.USA152 ","LEVEL1 Trigger ","Preprocessor","-","USA15","2 ","A",10,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4008,"Y.11-2.USA152 ","LEVEL1 Trigger ","Preprocessor","-","USA15","2 ","A",11,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4009,"Y.12-2.USA152 ","LEVEL1 Trigger ","Level 1 Trigger","-","USA15","2 ","A",12,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4010,"Y.16-2.USA152 ","LEVEL1 Trigger ","Cluster Trigger Processor","-","USA15","2 ","A",16,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4011,"Y.17-2.USA152 ","LEVEL1 Trigger ","Cluster Trigger Processor","-","USA15","2 ","A",17,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4012,"Y.18-2.USA152 ","LEVEL1 Trigger ","Jet/Energy-Sum Trigger Processor","-","USA15","2 ","A",18,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4013,"Y.19-2.USA152 ","LEVEL1 Trigger ","Calorimeter Trigger - ROD","-","USA15","2 ","A",19,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4014,"Y.20-2.USA152 ","LEVEL1 Trigger ","Level 1 Trigger","-","USA15","2 ","C",20,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4015,"Y.21-2.USA152 ","LEVEL1 Trigger ","Preprocessor","-","USA15","2 ","C",21,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4016,"Y.22-2.USA152 ","LEVEL1 Trigger ","Preprocessor","-","USA15","2 ","C",22,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4017,"Y.23-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","C",23,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4018,"Y.24-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","C",24,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4019,"Y.25-2.USA152 ","LEVEL1 Trigger ","Calorimeter Receiver","-","USA15","2 ","C",25,2,"-","52Ua  ",7.5,0,0,"-","-","-","Murrough LANDON "]
[4020,"Y.26-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","C",26,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4021,"Y.27-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","C",27,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4022,"Y.28-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","-",28,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4023,"Y.29-2.USA152 ","LEVEL1 Trigger ","Spare","-","USA15","2 ","C",29,2,"-","52Ua  ",7.5,0,0,"-","-","-","Philippe FARTHOUAT "]
[4024,"Y.4-5.USA152 ","MAGNET ","Magnet Control System","-","USA15","2 ","A",4,5,"-","52Ua  ",0.5,0,0,"-","-","-","Fernando CATANEO "]
[4025,"Y.5-5.USA152 ","MAGNET ","Magnet Control System","-","USA15","2 ","A",5,5,"-","52Ua  ",0.5,0,0,"-","-","-","Fernando CATANEO "]
[4026,"Y.6-5.USA152 ","MAGNET ","Magnet Control System","-","USA15","2 ","A",6,5,"-","52Ua  ",0.5,0,0,"-","-","-","Fernando CATANEO "]
[4027,"Y.7-5.USA152 ","MAGNET ","Magnet Control System","-","USA15","2 ","A",7,5,"-","52Ua  ",0.5,0,0,"-","-","-","Fernando CATANEO "]
[4028,"Y.8-5.USA152 ","MAGNET ","Magnet Control System","-","USA15","2 ","A",8,5,"-","52Ua  ",0.5,0,0,"-","-","-","Fernando CATANEO "]
[4029,"Y.25-5.USA152 ","MAGNET ","Diffusion pumps","-","USA15","2 ","C",25,5,"-","52Ua  ",0,0,0,"-","-","-","Edo SBRISSA "]
[4030,"Y.26-5.USA152 ","PIXEL Detector ","ROD","-","USA15","2 ","C",26,5,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4031,"Y.27-5.USA152 ","PIXEL Detector ","ROD","-","USA15","2 ","C",27,5,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4032,"Y.28-5.USA152 ","PIXEL Detector ","ROD","-","USA15","2 ","C",28,5,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4033,"Y.29-5.USA152 ","PIXEL Detector ","ROD","-","USA15","2 ","C",29,5,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4034,"Y.4-11.USA152 ","SCT ","Local DAQ","-","USA15","2 ","A",4,11,"-","52Ua  ",0,0,0,"-","-","-","Alex GRILLO "]
[4035,"Y.5-11.USA152 ","SCT ","Alignment System","-","USA15","2 ","A",5,11,"-","52Ua  ",3,0,0,"-","-","-","Alex GRILLO "]
[4036,"Y.6-11.USA152 ","SCT ","DCS/SCT Local Control","-","USA15","2 ","A",6,11,"-","52Ua  ",0,0,0,"-","-","-","Alex GRILLO "]
[4037,"Y.7-11.USA152 ","DAQ","DAQ","-","USA15","2 ","A",7,11,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4038,"Y.22-11.USA152 ","SCT ","ROD Assembly","-","USA15","2 ","C",22,11,"-","52Ua  ",7,0,0,"-","-","-","Alex GRILLO "]
[4039,"Y.23-11.USA152 ","SCT ","ROD Assembly","-","USA15","2 ","C",23,11,"-","52Ua  ",7,0,0,"-","-","-","Alex GRILLO "]
[4040,"Y.24-11.USA152 ","SCT ","ROD Assembly","-","USA15","2 ","C",24,11,"-","52Ua  ",7,0,0,"-","-","-","Alex GRILLO "]
[4041,"Y.25-11.USA152 ","SCT ","ROD Assembly","-","USA15","2 ","C",25,11,"-","52Ua  ",7,0,0,"-","-","-","Alex GRILLO "]
[4042,"Y.26-11.USA152 ","SCT ","ROD Assembly","-","USA15","2 ","C",26,11,"-","52Ua  ",7,0,0,"-","-","-","Alex GRILLO "]
[4043,"Y.27-11.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",27,11,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4044,"Y.28-11.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",28,11,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4045,"Y.29-11.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",29,11,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4046,"Y.4-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",4,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4047,"Y.5-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",5,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4048,"Y.6-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",6,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4049,"Y.7-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",7,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4050,"Y.8-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",8,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4051,"Y.9-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",9,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4052,"Y.10-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",10,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4053,"Y.12-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",12,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4054,"Y.13-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",13,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4055,"Y.14-14.USA152 ","PIXEL Detector ","LV + HV","-","USA15","2 ","A",14,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4056,"Y.1514.USA152 ","PIXEL Detector ","DCS+UPS","-","USA15","2 ","A",15,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4057,"Y.16-14.USA152 ","PIXEL Detector ","DCS+UPS","-","USA15","2 ","A",16,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4058,"Y.17-14.USA152 ","PIXEL Detector ","DCS+UPS","-","USA15","2 ","A",17,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4059,"Y.18-14.USA152 ","PIXEL Detector ","DCS+UPS","-","USA15","2 ","A",18,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[4060,"Y.22-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",22,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4061,"Y.23-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",23,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4062,"Y.24-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",24,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4063,"Y.25-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",25,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4064,"Y.26-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",26,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4065,"Y.27-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",27,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4066,"Y.28-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",28,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4067,"Y.29-14.USA152 ","SCT ","LV & HV","-","USA15","2 ","C",29,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[4068,"Y.4-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",4,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4069,"Y.5-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",5,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4070,"Y.6-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",6,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4071,"Y.7-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",7,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4072,"Y.8-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",8,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4073,"Y.9-16.USA152 ","DAQ","DAQ","-","USA15","2 ","A",9,16,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4074,"Y.10-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",10,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4075,"Y.11-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",11,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4076,"Y.12-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",12,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4077,"Y.13-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",13,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4078,"Y.14-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",14,16,"-","52Ua  ",0,0,0,"-","-","-","Mauro CITTERIO "]
[4079,"Y.1516.USA152 ","LARG ","ROD","-","USA15","2 ","A",15,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4080,"Y.16-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",16,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4081,"Y.17-16.USA152 ","LARG ","ROD","-","USA15","2 ","A",17,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4082,"Y.18-16.USA152 ","LARG ","DCS","-","USA15","2 ","A",18,16,"-","52Ua  ",3.75,0,0,"-","-","-","Mauro CITTERIO "]
[4083,"Y.22-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",22,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4084,"Y.23-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",23,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4085,"Y.24-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",24,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4086,"Y.25-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",25,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4087,"Y.26-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",26,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4088,"Y.27-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",27,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4089,"Y.28-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",28,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4090,"Y.29-16.USA152 ","LARG ","Low Voltage","-","USA15","2 ","C",29,16,"-","52Ua  ",45.5,0,0,"-","-","-","Mauro CITTERIO "]
[4091,"Y.4-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",4,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4092,"Y.5-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",5,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4093,"Y.6-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",6,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4094,"Y.7-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",7,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4095,"Y.8-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",8,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4096,"Y.9-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",9,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4097,"Y.10-19.USA152 ","CRYOGENICS ","Proximity Cryogenics","-","USA15","2 ","A",10,19,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4098,"Y.12-19.USA152 ","CRYOGENICS ","Magnet Cryogenics Vacuum","-","USA15","2 ","A",12,19,"-","52Ua  ",1,0,0,"-","-","-","Fernando CATANEO "]
[4099,"Y.13-19.USA152 ","CRYOGENICS ","Magnet Cryogenics Vacuum","-","USA15","2 ","A",13,19,"-","52Ua  ",1,0,0,"-","-","-","Fernando CATANEO "]
[4100,"Y.14-19.USA152 ","CRYOGENICS ","Magnet Cryogenics Vacuum","-","USA15","2 ","A",14,19,"-","52Ua  ",1,0,0,"-","-","-","Fernando CATANEO "]
[4101,"Y.1519.USA152 ","CRYOGENICS ","Magnet Cryogenics Vacuum","-","USA15","2 ","A",15,19,"-","52Ua  ",1,0,0,"-","-","-","Fernando CATANEO "]
[4102,"Y.16-19.USA152 ","DAQ","DAQ","-","USA15","2 ","A",16,19,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4103,"Y.17-19.USA152 ","DAQ","DAQ","-","USA15","2 ","A",17,19,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4104,"Y.18-19.USA152 ","DAQ","DAQ","-","USA15","2 ","A",18,19,"-","52Ua  ",0,0,0,"-","-","-","Livio MAPELLI"]
[4105,"Y.22-19.USA152 ","NETWORKS ","Networks","-","USA15","2 ","C",22,19,"-","52Ua  ",6.5,0,0,"-","-","-","Ove JONSSON "]
[4106,"Y.23-19.USA152 ","NETWORKS ","Networks","-","USA15","2 ","C",23,19,"-","52Ua  ",6.5,0,0,"-","-","-","Ove JONSSON "]
[4107,"Y.24-19.USA152 ","NETWORKS ","Networks","-","USA15","2 ","C",24,19,"-","52Ua  ",6.5,0,0,"-","-","-","Ove JONSSON "]
[4108,"Y.25-19.USA152 ","LARG ","High Voltage","-","USA15","2 ","C",25,19,"-","52Ua  ",2,0,0,"-","-","-","Helmut BRAUN "]
[4109,"Y.26-19.USA152 ","LARG ","High Voltage","-","USA15","2 ","C",26,19,"-","52Ua  ",2,0,0,"-","-","-","Helmut BRAUN "]
[4110,"Y.27-19.USA152 ","LARG ","High Voltage","-","USA15","2 ","C",27,19,"-","52Ua  ",2,0,0,"-","-","-","Helmut BRAUN "]
[4111,"Y.28-19.USA152 ","LARG ","High Voltage","-","USA15","2 ","C",28,19,"-","52Ua  ",2,0,0,"-","-","-","Helmut BRAUN "]
[4112,"Y.29-19.USA152 ","LARG ","High Voltage","-","USA15","2 ","C",29,19,"-","52Ua  ",2,0,0,"-","-","-","Helmut BRAUN "]
[4113,"Y.4-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",4,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4114,"Y.5-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",5,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4115,"Y.6-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",6,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4116,"Y.7-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",7,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4117,"Y.8-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",8,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4118,"Y.9-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",9,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4119,"Y.10-21.USA152 ","CRYOGENICS ","Liquid Argon","-","USA15","2 ","A",10,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4120,"Y.11-21.USA152 ","CRYOGENICS ","Liquid Helium","-","USA15","2 ","A",11,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4121,"Y.12-21.USA152 ","CRYOGENICS ","Undefined","-","USA15","2 ","A",12,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4122,"Y.13-21.USA152 ","CRYOGENICS ","Undefined","-","USA15","2 ","A",13,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4123,"Y.14-21.USA152 ","CRYOGENICS ","Undefined","-","USA15","2 ","A",14,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4124,"Y.1521.USA152 ","CRYOGENICS ","Undefined","-","USA15","2 ","A",15,21,"-","52Ua  ",0,0,0,"-","-","-","Johan BREMER "]
[4125,"Y.16-21.USA152 ","DCS ","DCS","-","USA15","2 ","A",16,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[4126,"Y.17-21.USA152 ","DCS ","DCS","-","USA15","2 ","A",17,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[4127,"Y.18-21.USA152 ","DCS ","DCS","-","USA15","2 ","A",18,21,"-","52Ua  ",6.5,0,0,"-","-","-","Helfried BURCKHART "]
[4128,"Y.22-21.USA152 ","SAFETY Systems ","Rack Smoke Detection","-","USA15","2 ","C",22,21,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[4129,"Y.23-21.USA152 ","SAFETY Systems ","Rack Smoke Detection","-","USA15","2 ","C",23,21,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[4130,"Y.24-21.USA152 ","SAFETY Systems ","Access Control","-","USA15",2,"C",24,21,"-","nk  ",0,0,0,"-","-","-","Jean-Francois JUGET "]
[4131,"Y.25-21.USA152 ","SAFETY Systems ","Access Control","-","USA15",2,"C",25,21,"-","nk  ",0,0,0,"-","-","-","Jean-Francois JUGET "]
[4132,"Y.26-21.USA152 ","SAFETY Systems ","Access Control","-","USA15",2,"C",26,21,"-","52Uc ",0,0,0,"-","-","-","Jean-Francois JUGET "]
[4133,"Y.27-21.USA152 ","ID","ID PS heaters","-","USA15",2,"C",27,21,"-","52Uc",0,0,0,"-","-","-","Greg HALLEWELL "]
[4134,"Y.28-21.USA152 ","ID","ID PS heaters","-","USA15",2,"C",28,21,"-","52Uc ",0,0,0,"-","-","-","Greg HALLEWELL "]
[4135,"Y.29-21.USA152 ","ID","ID PS heaters","-","USA15","2 ","C",29,21,"-","52Ua  ",0,0,0,"-","-","-","Greg HALLEWELL "]

{"sheet":"US15 Level 2 RACK LAYOUT","index":3,"n_rows":38,"n_cols":6,"rows_kept":38,"flags":["formulas_cached_only"]}
[]
[]
[]
[{"$nulls":5},"US15 level 2"]
{"$rows_empty":33}
[null,null,"US15 level 2 plan: https://edms.cern.ch/document/383883/0 "]

{"sheet":"US15 Level 2 RACK LIST","index":4,"n_rows":81,"n_cols":19,"rows_kept":81,"flags":["formulas_cached_only"]}
["ID","name","detector","function","location","room","level","side","x","y","cables","type","ips","ups","dps","reference","description","comments","contact"]
[2001,"Y.3-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",3,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2002,"Y.4-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",4,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2003,"Y.5-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",5,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2004,"Y.11-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",11,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2005,"Y.12-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",12,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2006,"Y.13-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",13,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2007,"Y.14-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",14,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2008,"Y.15-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",15,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2009,"Y.16-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",16,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2010,"Y.17-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",17,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2011,"Y.18-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",18,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2012,"Y.19-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",19,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2013,"Y.20-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",20,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2014,"Y.21-3.US152 ","LHC Machine ","Undefined","-","US15","2 ","-",21,3,"-","2.15 m",0,0,0,"-","-","-","Francois BUTIN "]
[2015,"Y.4-5.US152 ","SCT","DCS","-","US15","2 ","-",4,5,"-","52Ua  ",0,0,0,"-","-","-","Richard Brenner"]
[2016,"Y.5-5.US152 ","ID","ID PS heaters","-","US15","2 ","-",5,5,"-","52Ua  ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2017,"Y.6-5.US152 ","ID","ID PS heaters","-","US15","2 ","-",6,5,"-","52Ua  ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2018,"Y.7-5.US152 ","FREE ","Free","-","US15","2 ","-",7,5,"-","52Ua  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[2019,"Y.8-5.US152 ","FREE ","Free","-","US15","2 ","-",8,5,"-","52Ua  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[2020,"Y.9-5.US152 ","FREE ","Free","-","US15","2 ","-",9,5,"-","52Ua  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[2021,"Y.10-5.US152 ","FREE ","Free","-","US15","2 ","-",10,5,"-","52Ua  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[2022,"Y.11-5.US152 ","VACUUM ","Turbopump controllers","-","US15","2 ","-",11,5,"-","52Ua  ",0,0,0,"-","-","-","Harri TYRVAINEN "]
[2023,"Y.12-5.US152 ","DCS ","DCS","-","US15","2 ","-",12,5,"-","52Ua  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[2024,"Y.13-5.US152 ","NETWORKS ","Networks","-","US15","2 ","-",13,5,"-","52Ua  ",6.5,0,0,"-","-","-","Ove JONSSON "]
[2025,"Y.14-5.US152 ","SAFETY Systems ","Sniffer CIE","-","US15","2 ","-",14,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2026,"Y.15-5.US152 ","SAFETY Systems ","Sniffer CIE","-","US15","2 ","-",15,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2027,"Y.16-5.US152 ","SAFETY Systems ","Sniffer CIE","-","US15","2 ","-",16,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2028,"Y.17-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",17,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2029,"Y.18-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",18,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2030,"Y.19-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",19,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2031,"Y.20-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",20,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2032,"Y.21-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",21,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2033,"Y.22-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",22,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2034,"Y.23-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",23,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2035,"Y.24-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",24,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2036,"Y.25-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",25,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2037,"Y.26.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",26,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2038,"Y.27-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",27,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2039,"Y.28-5.US152 ","SAFETY Systems ","Sniffer SAE","-","US15","2 ","-",28,5,"-","52Ua  ",0,0,0,"-","-","-","Rui NUNES "]
[2040,"Y.5-7.US152 ","MUON CSC ","LV","-","US15","2 ","-",5,7,"-","41Ub ",20,0,0,"-","-","-","Robert RICHTER "]
[2041,"Y.6-7.US152 ","MUON MDT ","LV","-","US15","2 ","-",6,7,"-","41Ub ",20,0,0,"-","-","-","Robert RICHTER "]
[2042,"Y.7-7.US152 ","MUON MDT ","LV","-","US15","2 ","-",7,7,"-","41Ub ",20,0,0,"-","-","-","Robert RICHTER "]
[2043,"Y.8-7.US152 ","MUON RPC ","LV","-","US15","2 ","-",8,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2044,"Y.9-7.US152 ","MUON RPC ","LV","-","US15","2 ","-",9,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2045,"Y.10-7.US152 ","MUON RPC ","LV","-","US15","2 ","-",10,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2046,"Y.11-7.US152 ","MUON TGC ","LV","-","US15","2 ","-",11,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2047,"Y.12-7.US152 ","MUON TGC ","LV","-","US15","2 ","-",12,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2048,"Y.13-7.US152 ","MUON TGC ","LV","-","US15","2 ","-",13,7,"-","41Ub ",14,0,0,"-","-","-","Robert RICHTER "]
[2049,"Y.14-7.US152 ","MUONs - All ","Power","-","US15","2 ","-",14,7,"-","41Ub ",0,0,0,"-","-","-","Robert RICHTER "]
[2050,"Y.16-7.US152 ","MUONs - All ","Power","-","US15","2 ","-",16,7,"-","41Ub ",0,0,0,"-","-","-","Robert RICHTER "]
[2051,"Y.17-7.US152 ","MUONs - All ","Power","-","US15","2 ","-",17,7,"-","41Ub ",0,0,0,"-","-","-","Robert RICHTER "]
[2052,"Y.19-7.US152 ","DCS ","Muons","-","US15","2 ","-",19,7,"-","41Ub ",6.5,0,0,"-","-","-","Robert RICHTER "]
[2053,"Y.20-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",20,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2054,"Y.21-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",21,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2055,"Y.22-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",22,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2056,"Y.23-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",23,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2057,"Y.24-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",24,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2058,"Y.26-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",26,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2059,"Y.27-7.US152 ","ID","ID PS heaters","-","US15","2 ","-",27,7,"-","41Ub ",0,0,0,"-","-","-","Greg HALLEWELL "]
[2060,"Y.28-7.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",28,7,"-","41Ub ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2061,"Y.23-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",23,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2062,"Y.24-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",24,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2063,"Y.25-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",25,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2064,"Y.26-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",26,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2065,"Y.27-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",27,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2066,"Y.28-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",28,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2067,"Y.29-13.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",29,13,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2068,"Y.3-14.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",3,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2069,"Y.4-14.US152 ","PIXEL Detector ","LV + HV","-","US15","2 ","-",4,14,"-","52Ua  ",10,0,0,"-","-","-","Kevin EINSWEILER "]
[2070,"Y.5-14.US152 ","SCT ","LV & HV","-","US15","2 ","-",5,14,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2071,"Y.10-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",10,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2072,"Y.11-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",11,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2073,"Y.12-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",12,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2074,"Y.23-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",23,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2075,"Y.24-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",24,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2076,"Y.25-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",25,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2077,"Y.26-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",26,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2078,"Y.27-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",27,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2079,"Y.28-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",28,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]
[2080,"Y.29-15.US152 ","SCT ","LV & HV","-","US15","2 ","-",29,15,"-","52Ua  ",8.8,0,2.2,"-","-","-","Jan BOHM "]

{"sheet":"UX15 RACK LAYOUT","index":5,"n_rows":86,"n_cols":16,"rows_kept":86,"flags":["formulas_cached_only"]}
{"$rows_empty":9}
[{"$nulls":15},"level 8 plan: https://edms.cern.ch/document/383573/0 "]
[]
[]
[]
[{"$nulls":15},"level 7 plan: https://edms.cern.ch/document/383572/0 "]
[]
[]
[{"$nulls":15},"level 6 plan: https://edms.cern.ch/document/383566/0 "]
[]
[]
[{"$nulls":15},"level 5 plan https://edms.cern.ch/document/383564/0 "]
[]
[]
[]
[{"$nulls":15},"level 4 plan: https://edms.cern.ch/document/383559/0 "]
[]
[]
[{"$nulls":15},"level 3 plan: https://edms.cern.ch/document/383557/0 "]
[]
[]
[{"$nulls":15},"level 2 plan: https://edms.cern.ch/document/383548/0 "]
[]
[]
[]
[]
[{"$nulls":15},"Level 1 plan: https://edms.cern.ch/document/383514/0 "]
[]
[]
[]
[]
[{"$nulls":15},"Level 0 plan: https://edms.cern.ch/document/383506/0 "]
{"$rows_empty":13}
[{"$nulls":15},"level 8 plan: https://edms.cern.ch/document/383573/0 "]
[]
[]
[]
[{"$nulls":15},"level 7 plan: https://edms.cern.ch/document/383572/0 "]
[]
[]
[]
[{"$nulls":15},"level 6 plan: https://edms.cern.ch/document/383566/0 "]
[]
[]
[{"$nulls":15},"level 5 plan https://edms.cern.ch/document/383564/0 "]
[]
[]
[]
[]
[{"$nulls":15},"level 4 plan: https://edms.cern.ch/document/383559/0 "]
[]
[]
[{"$nulls":15},"level 3 plan: https://edms.cern.ch/document/383557/0 "]
[]
[]
[]
[{"$nulls":15},"level 2 plan: https://edms.cern.ch/document/383548/0 "]
[]
[]
[]
[]
[{"$nulls":15},"Level 1 plan: https://edms.cern.ch/document/383514/0 "]
[]
[]
[]
[{"$nulls":15},"Level 0 plan: https://edms.cern.ch/document/383506/0 "]

{"sheet":"UX15 RACK LIST","index":6,"n_rows":199,"n_cols":19,"rows_kept":199,"flags":["formulas_cached_only"]}
["ID","name","detector","function","location","room","level","side","x","y","cables","type","ips","ups","dps","reference","description","comments","contact"]
[1001,"Y.31_5.UX150","MUON RPC ","Power Supplies","HS on US side","UX15",0,"US",31,5,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1002,"Y.30_5.UX150","DCS ","DCS","HS on US side","UX15",0,"US",30,5,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1003,"Y.42_5.UX150","MUON RPC ","Gas","HS on US side","UX15",0,"US",42,5,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1004,"Y.43_5.UX150","MUON RPC ","Gas","HS on US side","UX15",0,"US",43,5,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1005,"Y.45_5.UX150","MUON MDT ","Gas","HS on US side","UX15",0,"US",45,5,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1006,"Y.46_5.UX150","MUON TGC ","Gas","HS on US side","UX15",0,"US",46,5,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1007,"Y.57_5.UX150","DCS ","DCS","HS on US side","UX15",0,"US",57,5,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1008,"Y.58_5.UX150","FREE ","Free","HS on US side","UX15",0,"US",58,5,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1009,"Y.33_3.UX151","MUON RPC ","Power Supplies","HS on US side","UX15",1,"US",33,3,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1010,"Y.34_3.UX151","ID","ID cables cooling","HS on US side","UX15",1,"US",34,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1011,"Y.35_3.UX151","ID","Monophase warm cooling","HS on US side","UX15",1,"US",35,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1012,"Y.36_3.UX151","ID","Monophase warm cooling","HS on US side","UX15",1,"US",36,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1013,"Y.42_3.UX151","MUON RPC ","Gas","HS on US side","UX15",1,"US",42,3,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1014,"Y.43_3.UX151","MUON RPC ","Gas","HS on US side","UX15",1,"US",43,3,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1015,"Y.45_3.UX151","MUON MDT ","Gas","HS on US side","UX15",1,"US",45,3,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1016,"Y.46_3.UX151","MUON MDT ","Gas","HS on US side","UX15",1,"US",46,3,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1017,"Y.52_3.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",1,"US",52,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1018,"Y.53_3.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",1,"US",53,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1019,"Y.54_3.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",1,"US",54,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1020,"Y.55_3.UX151","ID","Evaporative cooling monitoring (SCT & Pixels)","HS on US side","UX15",1,"US",55,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1021,"Y.29_4.UX151","SCT","DCS","HS on US side","UX15",1,"US",29,4,"-","41Ub  ",0,0,0,"-","-","-","Richard Brenner"]
[1022,"Y.27_4.UX151","DCS ","DCS","HS on US side","UX15",1,"US",27,4,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1023,"Y.28_4.UX151","FREE ","Free","HS on US side","UX15",1,"US",28,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1024,"Y.26_4.UX151","FREE ","Free","HS on US side","UX15",1,"US",26,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1025,"Y.59_4.UX151","ID","ID nitrogen","HS on US side","UX15",1,"US",59,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1026,"Y.60_4.UX151","FREE ","Free","HS on US side","UX15",1,"US",60,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1027,"Y.61_4.UX151","DCS ","DCS","HS on US side","UX15",1,"US",61,4,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1028,"Y.62_4.UX151","FREE ","Free","HS on US side","UX15",1,"US",62,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1029,"Y.35_2.UX152","FREE ","Free","HS on US side","UX15",2,"US",35,2,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1030,"Y.36_2.UX152","FREE ","Free","HS on US side","UX15",2,"US",36,2,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1031,"Y.37_2.UX152","MUON RPC ","Power Supplies","HS on US side","UX15",2,"US",37,2,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1032,"Y.42_2.UX152","MUON RPC ","Power Supplies","HS on US side","UX15",2,"US",42,2,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1033,"Y.43_2.UX152","MUON RPC ","Power Supplies","HS on US side","UX15",2,"US",43,2,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1034,"Y.44_2.UX152","MUON MDT ","LV","HS on US side","UX15",2,"US",44,2,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1035,"Y.45_2.UX152","MUON MDT ","LV","HS on US side","UX15",2,"US",45,2,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1036,"Y.51_2.UX152","SCT ","PP3","HS on US side","UX15",2,"US",51,2,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1037,"Y.52_2.UX152","SCT ","PP3","HS on US side","UX15",2,"US",52,2,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1038,"Y.53_2.UX152","ID","ID cables cooling","HS on US side","UX15",2,"US",53,2,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1039,"Y.34_2.UX154","MUON TGC","Gas","HS on US side","UX15",4,"US",34,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1040,"Y.35_2.UX154","MUON CSC ","Gas","HS on US side","UX15",4,"US",35,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1041,"Y.36_2.UX154","MUON MDT","Gas","HS on US side","UX15",4,"US",36,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1042,"Y.42_2.UX154","MUON RPC","Gas","HS on US side","UX15",4,"US",42,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1043,"Y.43_2.UX154","MUON RPC","Gas","HS on US side","UX15",4,"US",43,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1044,"Y.45_2.UX154","MUON MDT","Gas","HS on US side","UX15",4,"US",45,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1045,"Y.46_2.UX154","MUON MDT","Gas","HS on US side","UX15",4,"US",46,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1046,"Y.52_2.UX154","MUON MDT","Gas","HS on US side","UX15",4,"US",52,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1047,"Y.53_2.UX154","MUON CSC ","Gas","HS on US side","UX15",4,"US",53,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1048,"Y.54_2.UX154","MUON TGC","Gas","HS on US side","UX15",4,"US",54,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1049,"Y.27_3.UX154","FREE","Free","HS on US side","UX15",4,"US",27,3,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1050,"Y.30_3.UX154","ID","ID cables cooling","HS on US side","UX15",4,"US",30,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1051,"Y.58_3.UX154","ID","ID cables cooling","HS on US side","UX15",4,"US",58,3,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1052,"Y.61_3.UX154","PIXEL","Patch panels, monitoring, interlock, services cooling","HS on US side","UX15",4,"US",61,3,"-","41Ub  ",0,0,0,"-","-","-","Susanne Kersten"]
[1053,"Y.35_2.UX156","FREE ","Free","HS on US side","UX15",6,"US",35,2,"-","32Ua",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1054,"Y.36_2.UX156","FREE ","Free","HS on US side","UX15",6,"US",36,2,"-","32Ua",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1055,"Y.43_2.UX156","SCT ","PP3","HS on US side","UX15",6,"US",43,2,"-","32Ua",0,0,0,"-","-","-","Gareth Moorhead"]
[1056,"Y.44_2.UX156","SCT ","PP3","HS on US side","UX15",6,"US",44,2,"-","32Ua",0,0,0,"-","-","-","Gareth Moorhead"]
[1057,"Y.45_2.UX156","SCT ","PP3","HS on US side","UX15",6,"US",45,2,"-","32Ua",0,0,0,"-","-","-","Gareth Moorhead"]
[1058,"Y.52_2.UX156","SCT ","PP3","HS on US side","UX15",6,"US",52,2,"-","32Ua",0,0,0,"-","-","-","Gareth Moorhead"]
[1059,"Y.53_2.UX156","SCT ","PP3","HS on US side","UX15",6,"US",53,2,"-","32Ua",0,0,0,"-","-","-","Gareth Moorhead"]
[1060,"Y.33_2.UX157","FREE ","Free","HS on US side","UX15",7,"US",33,2,"-","41Ua  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1061,"Y.34_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",34,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1062,"Y.35_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",35,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1063,"Y.36_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",36,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1064,"Y.37_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",37,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1065,"Y.38_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",38,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1066,"Y.39_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",39,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1067,"Y.40_2.UX157","ID","TRT active gas","HS on US side","UX15",7,"US",40,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1068,"Y.41_2.UX157","MUON RPC ","Gas","HS on US side","UX15",7,"US",41,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1069,"Y.42_2.UX157","MUON RPC ","Gas","HS on US side","UX15",7,"US",42,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1070,"Y.46_2.UX157","MUON MDT ","Gas","HS on US side","UX15",7,"US",46,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1071,"Y.47_2.UX157","MUON MDT ","Gas","HS on US side","UX15",7,"US",47,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1072,"Y.48_2.UX157","ID","TRT cooling gas","HS on US side","UX15",7,"US",48,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1073,"Y.49_2.UX157","ID","TRT cooling gas","HS on US side","UX15",7,"US",49,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1074,"Y.50_2.UX157","ID","TRT cooling gas","HS on US side","UX15",7,"US",50,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1075,"Y.51_2.UX157","ID","ID cables cooling","HS on US side","UX15",7,"US",51,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1076,"Y.52_2.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",7,"US",52,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1077,"Y.53_2.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",7,"US",53,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1078,"Y.54_2.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on US side","UX15",7,"US",54,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1079,"Y.55_2.UX157","ID","Evaporative cooling monitoring (SCT & Pixels)","HS on US side","UX15",7,"US",55,2,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1080,"Y.26_4.UX157","FREE ","Free","HS on US side","UX15",7,"US",26,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1081,"Y.27_4.UX157","FREE ","Free","HS on US side","UX15",7,"US",27,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1082,"Y.28_4.UX157","FREE ","Free","HS on US side","UX15",7,"US",28,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1083,"Y.29_4.UX157","ID","ID cables cooling","HS on US side","UX15",7,"US",29,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1084,"Y.35_4.UX157","ID","Monophase warm cooling","HS on US side","UX15",7,"US",35,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1085,"Y.36_4.UX157","ID","Monophase warm cooling","HS on US side","UX15",7,"US",36,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1086,"Y.52_4.UX157","SCT ","PP3","HS on US side","UX15",7,"US",52,4,"-","41Ub ",0,0,0,"-","-","-","Gareth Moorhead"]
[1087,"Y.53_4.UX157","SCT ","PP3","HS on US side","UX15",7,"US",53,4,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1088,"Y.59_4.UX157","PIXEL","Patch panels, monitoring, interlock, services cooling","HS on US side","UX15",7,"US",59,4,"-","41Ub  ",0,0,0,"-","-","-","Susanne Kersten"]
[1089,"Y.60_4.UX157","FREE","Free","HS on US side","UX15",7,"US",60,4,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1090,"Y.61_4.UX157","ID","ID nitrogen","HS on US side","UX15",7,"US",61,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1091,"Y.62_4.UX157","ID","ID nitrogen","HS on US side","UX15",7,"US",62,4,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1092,"Y.25_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",25,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1093,"Y.26_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",26,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1094,"Y.27_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",27,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1095,"Y.28_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",28,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1096,"Y.29_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",29,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1097,"Y.30_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",30,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1098,"Y.31_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",31,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1099,"Y.32_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",32,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1100,"Y.33_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",33,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1101,"Y.34_5.UX158","SCT ","DCS","HS on US side","UX15",8,"US",34,5,"-","52Ub  ",0,0,0,"-","-","-","Richard Brenner"]
[1102,"Y.35_5.UX158","MUON RPC ","Power Supplies","HS on US side","UX15",8,"US",35,5,"-","52Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1103,"Y.36_5.UX158","MUON MDT ","LV","HS on US side","UX15",8,"US",36,5,"-","52Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1104,"Y.41_5.UX158","MUON RPC ","Gas","HS on US side","UX15",8,"US",41,5,"-","52Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1105,"Y.42_5.UX158","MUON RPC ","Gas","HS on US side","UX15",8,"US",42,5,"-","52Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1106,"Y.46_5.UX158","MUON MDT ","Gas","HS on US side","UX15",8,"US",46,5,"-","52Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1107,"Y.47_5.UX158","MUON MDT ","Gas","HS on US side","UX15",8,"US",47,5,"-","52Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1108,"Y.52_5.UX158","MUON MDT ","LV","HS on US side","UX15",8,"US",52,5,"-","52Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1109,"Y.53_5.UX158","MUON RPC ","Power Supplies","HS on US side","UX15",8,"US",53,5,"-","52Ub",0,0,0,"-","-","-","Robert RICHTER "]
[1110,"Y.54_5.UX158","TRT  ","LV","HS on US side","UX15",8,"US",54,5,"-","52Ub",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1111,"Y.55_5.UX158","TRT  ","LV","HS on US side","UX15",8,"US",55,5,"-","52Ub",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1112,"Y.56_5.UX158","TRT  ","LV","HS on US side","UX15",8,"US",56,5,"-","52Ub",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1113,"Y.57_5.UX158","TRT  ","LV","HS on US side","UX15",8,"US",57,5,"-","52Ub",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1114,"Y.58_5.UX158","TRT  ","DCS","HS on US side","UX15",8,"US",58,5,"-","52Ub",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1115,"Y.59_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",59,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1116,"Y.60_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",60,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1117,"Y.61_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",61,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1118,"Y.62_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",62,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1119,"Y.63_5.UX158","FREE ","Free","HS on US side","UX15",8,"US",63,5,"-","52Ub",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1120,"Y.26_23.UX150"," BEAM vacuum system","Vacuum Chambrs Control ","HS on USA side","UX15",0,"USA",26,23,"-","41Ub  ",0,0,0,"-","-","Spase for 3 mobile racks should be available around","Sebastien Blanchard, Raymond Veness "]
[1121,"Y.27_23.UX150","TILE  ","Cesium System","HS on USA side","UX15",0,"USA",27,23,"-","41Ub  ",0,0,0,"-","-","-","Evgueni STARCHENKO"]
[1122,"Y.28_23.UX150","TILE  ","Cesium System","HS on USA side","UX15",0,"USA",28,23,"-","41Ub  ",0,0,0,"-","-","-","Evgueni STARCHENKO"]
[1123,"Y.29_23.UX150","TILE  ","Cesium System","HS on USA side","UX15",0,"USA",29,23,"-","41Ub  ",0,0,0,"-","-","-","Evgueni STARCHENKO"]
[1124,"Y.30_23.UX150","TILE  ","Cesium System","HS on USA side","UX15",0,"USA",30,23,"-","41Ub  ",0,0,0,"-","-","-","Evgueni STARCHENKO"]
[1125,"Y.33_23.UX150","ID","DCS","HS on USA side","UX15",0,"USA",33,23,"-","41Ub  ",0,0,0,"-","-","-","Richard Hawkings"]
[1126,"Y.34_23.UX150","SCT ","DCS + evap. cooling monitoring","HS on USA side","UX15",0,"USA",34,23,"-","41Ub  ",0,0,0,"-","-","-","Richard Brenner"]
[1127,"Y.35_23.UX150","PIXEL","Patch panels, monitoring, interlock, services cooling","HS on USA side","UX15",0,"USA",35,23,"-","41Ub  ",0,0,0,"-","-","-","Susanne Kersten"]
[1128,"Y.36_23.UX150","SAFETY Systems ","FPIAA","HS on USA side","UX15",0,"USA",36,23,"-","41Ub  ",0,0,0,"-","-","-","Rui NUNES "]
[1129,"Y.37_23.UX150","MUON MDT ","LV","HS on USA side","UX15",0,"USA",37,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1130,"Y.38_23.UX150","MUON MDT ","LV","HS on USA side","UX15",0,"USA",38,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1131,"Y.50_23.UX150","MUON RPC ","Power Supplies","HS on USA side","UX15",0,"USA",50,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1132,"Y.51_23.UX150","MUON RPC ","Power Supplies","HS on USA side","UX15",0,"USA",51,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1133,"Y.52_23.UX150","SAFETY Systems ","FPIAA","HS on USA side","UX15",0,"USA",52,23,"-","41Ub  ",0,0,0,"-","-","-","Rui NUNES "]
[1134,"Y.53_23.UX150","TRT  ","LV","HS on USA side","UX15",0,"USA",53,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1135,"Y.54_23.UX150","TRT  ","LV","HS on USA side","UX15",0,"USA",54,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1136,"Y.55_23.UX150","TRT","LV","HS on USA side","UX15",0,"USA",55,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1137,"Y.58_23.UX150","TRT","DCS","HS on USA side","UX15",0,"USA",58,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1138,"Y.59_23.UX150","FREE ","Free","HS on USA side","UX15",0,"USA",59,23,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1139,"Y.60_23.UX150","FREE ","Free","HS on USA side","UX15",0,"USA",60,23,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1140,"Y.61_23.UX150","FREE ","Free","HS on USA side","UX15",0,"USA",61,23,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1141,"Y.62_23.UX150"," BEAM vacuum system","Vacuum Chambrs Control ","HS on USA side","UX15",0,"USA",62,23,"-","41Ub  ",0,0,0,"-","-","Spase for 3 mobile racks should be available around","Sebastien Blanchard, Raymond Veness "]
[1142,"Y.63_23.UX150"," BEAM vacuum system","Vacuum Chambrs Control ","HS on USA side","UX15",0,"USA",63,23,"-","41Ub  ",0,0,0,"-","-","Spase for 3 mobile racks should be available around","Sebastien Blanchard, Raymond Veness "]
[1147,"Y.26_24.UX151","FREE","Free","HS on USA side","UX15",1,"USA",26,24,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1148,"Y.27_24.UX151","DCS ","DCS","HS on USA side","UX15",1,"USA",27,24,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1149,"Y.28_24.UX151","FREE","Free","HS on USA side","UX15",1,"USA",28,24,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1150,"Y.29_24.UX151","ID","ID cables cooling","HS on USA side","UX15",1,"USA",29,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1151,"Y.59_24.UX151","ID","ID cables cooling","HS on USA side","UX15",1,"USA",59,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1152,"Y.60_24.UX151","FREE","Free","HS on USA side","UX15",1,"USA",60,24,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1153,"Y.61_24.UX151","DCS ","DCS","HS on USA side","UX15",1,"USA",61,24,"-","41Ub  ",0,0,0,"-","-","-","Helfried BURCKHART "]
[1154,"Y.62_24.UX151","FREE","Free","HS on USA side","UX15",1,"USA",62,24,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1155,"Y.35_25.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",1,"USA",35,25,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1156,"Y.36_25.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",1,"USA",36,25,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1157,"Y.37_25.UX151","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",1,"USA",37,25,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1158,"Y.51_25.UX151","SCT","PP3","HS on USA side","UX15",1,"USA",51,25,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1159,"Y.52_25.UX151","ID","Monophase warm cooling","HS on USA side","UX15",1,"USA",52,25,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1160,"Y.53_25.UX151","ID","Monophase warm cooling","HS on USA side","UX15",1,"USA",53,25,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1161,"Y.27_24.UX152","MUON TGC ","Trigger Sector Logic","HS on USA side","UX15",2,"USA",27,24,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1162,"Y.35_25.UX152","FREE","Free","HS on USA side","UX15",2,"USA",35,25,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1163,"Y.36_25.UX152","MUON RPC ","Power Supplies","HS on USA side","UX15",2,"USA",36,25,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1164,"Y.52_25.UX152","SCT","PP3","HS on USA side","UX15",2,"USA",52,25,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1165,"Y.53_25.UX152","SCT","PP3","HS on USA side","UX15",2,"USA",53,25,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1166,"Y.61_24.UX152","MUON TGC ","Trigger Sector Logic","HS on USA side","UX15",2,"USA",61,24,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1167,"Y.35_25.UX154","PIXEL","Patch panels, monitoring, interlock, services cooling","HS on USA side","UX15",4,"USA",35,25,"-","41Ub  ",0,0,0,"-","-","-","Susanne Kersten"]
[1168,"Y.36_25.UX154","MUON MDT ","LV","HS on USA side","UX15",4,"USA",36,25,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1169,"Y.52_25.UX154","SCT ","PP3","HS on USA side","UX15",4,"USA",52,25,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1170,"Y.53_25.UX154","SCT ","PP3","HS on USA side","UX15",4,"USA",53,25,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1171,"Y.25_24.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",7,"USA",25,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1172,"Y.27_24.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",7,"USA",27,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1173,"Y.29_24.UX157","ID","Evaporative cooling (SCT & Pixels)","HS on USA side","UX15",7,"USA",29,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1174,"Y.37_24.UX157","MUON RPC ","Power Supplies","HS on USA side","UX15",7,"USA",37,24,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1175,"Y.51_24.UX157","ID","Monophase warm cooling","HS on USA side","UX15",7,"USA",51,24,"-","41Ub",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1176,"Y.52_24.UX157","ID","Monophase warm cooling","HS on USA side","UX15",7,"USA",52,24,"-","41Ub",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1177,"Y.53_24.UX157","ID","Monophase warm cooling","HS on USA side","UX15",7,"USA",53,24,"-","41Ub",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1178,"Y.59_24.UX157","ID","ID cables cooling","HS on USA side","UX15",7,"USA",59,24,"-","41Ua ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1179,"Y.61_24.UX157","ID","ID nitrogen","HS on USA side","UX15",7,"USA",61,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1180,"Y.63_24.UX157","ID","ID nitrogen","HS on USA side","UX15",7,"USA",63,24,"-","41Ua  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1181,"Y.25_23.UX158","MUON CSC ","Power supplies","HS on USA side","UX15",8,"USA",25,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1182,"Y.26_23.UX158","MUON CSC+MDT","Power supplies","HS on USA side","UX15",8,"USA",26,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1183,"Y.27_23.UX158","TRT  ","LV","HS on USA side","UX15",8,"USA",27,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1184,"Y.28_23.UX158","TRT  ","LV","HS on USA side","UX15",8,"USA",28,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1185,"Y.29_23.UX158","SCT ","DCS + evap. cooling monitoring","HS on USA side","UX15",8,"USA",29,23,"-","41Ub  ",0,0,0,"-","-","-","Richard Brenner"]
[1186,"Y.30_23.UX158","ID","ID cables cooling","HS on USA side","UX15",8,"USA",30,23,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1187,"Y.33_23.UX158","ID","DCS","HS on USA side","UX15",8,"USA",33,23,"-","41Ub  ",0,0,0,"-","-","-","Richard Hawkings"]
[1188,"Y.34_23.UX158","PIXEL","Patch panels, monitoring, interlock, services cooling","HS on USA side","UX15",8,"USA",34,23,"-","41Ub  ",0,0,0,"-","-","-","Susanne Kersten"]
[1189,"Y.35_23.UX158","MUON RPC ","Power Supplies","HS on USA side","UX15",8,"USA",35,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1190,"Y.36_23.UX158","MUON RPC ","Power Supplies","HS on USA side","UX15",8,"USA",36,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1191,"Y.37_23.UX158","MUON MDT ","LV","HS on USA side","UX15",8,"USA",37,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1192,"Y.51_23.UX158","SCT ","PP3","HS on USA side","UX15",8,"USA",51,23,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1193,"Y.52_23.UX158","SCT ","PP3","HS on USA side","UX15",8,"USA",52,23,"-","41Ub  ",0,0,0,"-","-","-","Gareth Moorhead"]
[1194,"Y.53_23.UX158","ID","ID cables cooling","HS on USA side","UX15",8,"USA",53,23,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1195,"Y.54_23.UX158","ID","ID cables cooling","HS on USA side","UX15",8,"USA",54,23,"-","41Ub  ",0,0,0,"-","-","-","Jan GODLEWSKI "]
[1196,"Y.55_23.UX158","FREE ","Free","HS on USA side","UX15",8,"USA",55,23,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1197,"Y.58_23.UX158","TRT  ","DCS","HS on USA side","UX15",8,"USA",58,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1198,"Y.59_23.UX158","TRT  ","LV","HS on USA side","UX15",8,"USA",59,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1199,"Y.60_23.UX158","TRT  ","LV","HS on USA side","UX15",8,"USA",60,23,"-","41Ub  ",0,0,0,"-","-","-","Zybszek HAJDUK "]
[1200,"Y.61_23.UX158","FREE ","Free","HS on USA side","UX15",8,"USA",61,23,"-","41Ub  ",0,0,0,"-","-","-","Sergei MALYUKOV"]
[1201,"Y.62_23.UX158","MUON CSC+MDT","Power supplies","HS on USA side","UX15",8,"USA",62,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]
[1202,"Y.63_23.UX158","MUON CSC ","Power supplies","HS on USA side","UX15",8,"USA",63,23,"-","41Ub  ",0,0,0,"-","-","-","Robert RICHTER "]