## TITLE
Rack layout in USA15 control rooms, levels 1 and 2, in US15, level 2, in UX15 cavern
EDMS folder ATLAS A Toroidal LHC ApparatuS/Atlas Technical Coordination/Technical matters/Cabling/Racks
EDMS reference ATC-TB-EP-0007
Version 2.0
Last modification June 16, 2003
Notes:
Please pay attention to rack height as indicated in the tables
Rack types: |  | 52Ua = | 600x1000x2400 mm3
|  | 41Ub = | 600 x 900 1900 mm3
All comments sent by subsystems after the TMB meeting 8th May are taken into account
Links to rack layout drawings for every level available in EDMS folder "ATLAS A Toroidal LHC ApparatuS/Atlas Technical Coordination/Technical matters/Cabling/Racks"
All comments sent during approval procedure are taken into account

## USA15 RACK LAYOUT
USA15 level 1 plan: https://edms.cern.ch/document/384097/0 | USA15 level 2 plan: https://edms.cern.ch/document/384099/0

## USA15 RACK LIST
ID | name | detector | function | location | room | level | side | x | y | cables | type | ips | ups | dps | reference | description | comments | contact
3001 | Y.3-2.USA151 | LEVEL1 Trigger | Spare | - | USA15 | 1 | A | 3 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3002 | Y.4-2.USA151 | LEVEL1 Trigger | Spare | - | USA15 | 1 | A | 4 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3003 | Y.5-2.USA151 | LEVEL1 Trigger | Spare | - | USA15 | 1 | A | 5 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3004 | Y.6-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 6 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3005 | Y.7-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 7 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3006 | Y.8-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 8 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3007 | Y.9-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 9 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3008 | Y.10-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 10 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3009 | Y.11-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 11 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3010 | Y.12-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 12 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3011 | Y.13-2.USA151 | LEVEL1 Trigger | TGS ROD | - | USA15 | 1 | A | 13 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Osamu SASAKI
3012 | Y.14-2.USA151 | LEVEL1 Trigger | Muon to CTP Interface | - | USA15 | 1 | A | 14 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Georges SCHULER
3013 | Y.152.USA151 | LEVEL1 Trigger | Central Trigger Processor (CTP) | - | USA15 | 1 | A | 15 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Georges SCHULER
3014 | Y.20-2.USA151 | LEVEL1 Trigger | TTC | - | USA15 | 1 | C | 20 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3015 | Y.21-2.USA151 | LEVEL1 Trigger | TTC | - | USA15 | 1 | C | 21 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3016 | Y.22-2.USA151 | LEVEL1 Trigger | TTC | - | USA15 | 1 | C | 22 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3017 | Y.23-2.USA151 | LEVEL1 Trigger | TTC | - | USA15 | 1 | C | 23 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3018 | Y.24-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 24 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3019 | Y.25-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 25 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3020 | Y.26-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 26 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3021 | Y.27-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 27 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3022 | Y.28-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 28 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3023 | Y.29-2.USA151 | LEVEL1 Trigger | RPC ROD | - | USA15 | 1 | C | 29 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Stefano VENEZIANO
3024 | Y.30-2.USA151 | LEVEL1 Trigger | TileCal Discriminators | - | USA15 | 1 | C | 30 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3025 | Y.3-5.USA151 | DAQ | DAQ | - | USA15 | 1 | A | 3 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Patrick DONNAT-BOUILLUD
3026 | Y.4-5.USA151 | DAQ | DAQ | - | USA15 | 1 | A | 4 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Markus JOOS
3027 | Y.5-5.USA151 | DAQ | DAQ | - | USA15 | 1 | A | 5 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Markus JOOS
3028 | Y.6-5.USA151 | DAQ | DAQ | - | USA15 | 1 | A | 6 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Markus JOOS
3029 | Y.26-5.USA151 | TRT | DCS | - | USA15 | 1 | C | 26 | 5 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Zybszek HAJDUK
3030 | Y.27-5.USA151 | TRT | DCS | - | USA15 | 1 | C | 27 | 5 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Zybszek HAJDUK
3031 | Y.28-5.USA151 | TRT | DCS | - | USA15 | 1 | C | 28 | 5 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Zybszek HAJDUK
3032 | Y.29-5.USA151 | TRT | Patch-panel | - | USA15 | 1 | C | 29 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Peter LICHARD
3033 | Y.30-5.USA151 | SAFETY Systems | Rack Smoke Detection | - | USA15 | 1 | C | 30 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
3034 | Y.3-11.USA151 | MUON TGC | HV | - | USA15 | 1 | A | 3 | 11 | - | 52Ua | 6 | 0 | 0 | - | - | - | Robert RICHTER
3035 | Y.4-11.USA151 | MUON TGC | HV | - | USA15 | 1 | A | 4 | 11 | - | 52Ua | 6 | 0 | 0 | - | - | - | Robert RICHTER
3036 | Y.5-11.USA151 | SAFETY Systems | Linear Cable Fire Detection | - | USA15 | 1 | A | 5 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
3037 | Y.6-11.USA151 | SAFETY Systems | Rack Smoke Detection | - | USA15 | 1 | A | 6 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
3038 | Y.22-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 22 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3039 | Y.23-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 23 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3040 | Y.24-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 24 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3041 | Y.25-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 25 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3042 | Y.26-11.USA151 | TRT | Patch-panel | - | USA15 | 1 | C | 26 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Peter LICHARD
3043 | Y.27-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 27 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3044 | Y.28-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 28 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3045 | Y.29-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 29 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3046 | Y.30-11.USA151 | TRT | ROD | - | USA15 | 1 | C | 30 | 11 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Peter LICHARD
3047 | Y.3-14.USA151 | MUON MDT | Alignment barrel | - | USA15 | 1 | A | 3 | 14 | - | 52Ua | 0 | 0 | 0 | - | - | - | Robert RICHTER
3048 | Y.4-14.USA151 | MUON MDT | Alignment barrel | - | USA15 | 1 | A | 4 | 14 | - | 52Ua | 0 | 0 | 0 | - | - | - | Robert RICHTER
3049 | Y.5-14.USA151 | MUON MDT | Alignment endcap | - | USA15 | 1 | A | 5 | 14 | - | 52Ua | 0 | 0 | 0 | - | - | - | Robert RICHTER
3050 | Y.6-14.USA151 | DCS | Detector Safety System | - | USA15 | 1 | A | 6 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
3051 | Y.7-14.USA151 | DCS | DCS | - | USA15 | 1 | A | 7 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
3052 | Y.8-14.USA151 | NETWORKS | Networks | - | USA15 | 1 | A | 8 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Ove JONSSON
3053 | Y.9-14.USA151 | DAQ | DAQ | - | USA15 | 1 | A | 9 | 14 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3054 | Y.22-14.USA151 | TRT | HV | - | USA15 | 1 | C | 22 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3055 | Y.23-14.USA151 | TRT | HV | - | USA15 | 1 | C | 23 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3056 | Y.24-14.USA151 | TRT | HV | - | USA15 | 1 | C | 24 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3057 | Y.25-14.USA151 | TRT | HV | - | USA15 | 1 | C | 25 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3058 | Y.26-14.USA151 | TRT | HV | - | USA15 | 1 | C | 26 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3059 | Y.27-14.USA151 | TRT | HV | - | USA15 | 1 | C | 27 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3060 | Y.28-14.USA151 | TRT | HV | - | USA15 | 1 | C | 28 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3061 | Y.29-14.USA151 | TRT | HV | - | USA15 | 1 | C | 29 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3062 | Y.30-14.USA151 | TRT | HV | - | USA15 | 1 | C | 30 | 14 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
3063 | Y.3-16.USA151 | TILE | Laser Optical Patch Panel | - | USA15 | 1 | A | 3 | 16 | - | 52Ua | 0.3 | 0 | 0.06 | - | - | - | François VAZEILLE
3064 | Y.4-16.USA151 | TILE | Laser Box | - | USA15 | 1 | A | 4 | 16 | - | 52Ua | 1.35 | 0 | 0.27 | - | - | - | François VAZEILLE
3065 | Y.5-16.USA151 | TILE | Laser Control & Safety Control | - | USA15 | 1 | A | 5 | 16 | - | 52Ua | 3.1 | 0 | 0.62 | - | - | - | François VAZEILLE
3066 | Y.6-16.USA151 | TILE | Tilecal Logic & Calibration DAQ | - | USA15 | 1 | A | 6 | 16 | - | 52Ua | 3.1 | 0 | 0.62 | - | - | - | François VAZEILLE
3067 | Y.7-16.USA151 | TILE | Electronics associated with RODs | - | USA15 | 1 | A | 7 | 16 | - | 52Ua | 3.5 | 0 | 0.7 | - | - | - | François VAZEILLE
3068 | Y.8-16.USA151 | TILE | Tilecal RODs | - | USA15 | 1 | A | 8 | 16 | - | 52Ua | 5.4 | 0 | 1.08 | - | - | - | François VAZEILLE
3069 | Y.9-16.USA151 | TILE | Tilecal RODs | - | USA15 | 1 | A | 9 | 16 | - | 52Ua | 5.4 | 0 | 1.08 | - | - | - | François VAZEILLE
3070 | Y.22-16.USA151 | DAQ | DAQ | - | USA15 | 1 | C | 22 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3071 | Y.23-16.USA151 | DAQ | DAQ | - | USA15 | 1 | C | 23 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3072 | Y.24-16.USA151 | DAQ | DAQ | - | USA15 | 1 | C | 24 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3073 | Y.25-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 25 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3074 | Y.26-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 26 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3075 | Y.27-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 27 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3076 | Y.28-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 28 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3077 | Y.29-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 29 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3078 | Y.30-16.USA151 | MUON CSC | HV | - | USA15 | 1 | C | 30 | 16 | - | 52Ua | 2.3 | 0 | 0 | - | - | - | Robert RICHTER
3079 | Y.3-19.USA151 | TILE | High Voltage Source | - | USA15 | 1 | A | 3 | 19 | - | 52Ua | 3.9 | 0 | 1.26 | - | - | - | François VAZEILLE
3080 | Y.4-19.USA151 | TILE | High Voltage Source | - | USA15 | 1 | A | 4 | 19 | - | 52Ua | 3.9 | 0 | 1.26 | - | - | - | François VAZEILLE
3081 | Y.5-19.USA151 | TILE | HV Control & Cooling Control | - | USA15 | 1 | A | 5 | 19 | - | 52Ua | 3.1 | 0 | 0.62 | - | - | - | François VAZEILLE
3082 | Y.6-19.USA151 | TILE | 300V Power Supplies | - | USA15 | 1 | A | 6 | 19 | - | 52Ua | 46.06 | 0 | 9.2 | - | - | - | François VAZEILLE
3083 | Y.7-19.USA151 | TILE | Read Out Control & Low Voltage Power Supply Control | - | USA15 | 1 | A | 7 | 19 | - | 52Ua | 3.1 | 0 | 0.62 | - | - | - | François VAZEILLE
3084 | Y.8-19.USA151 | TILE | Cesium Calibration System | - | USA15 | 1 | A | 8 | 19 | - | 52Ua | 3.26 | 0 | 0.65 | - | - | - | François VAZEILLE
3085 | Y.9-19.USA151 | TILE | Cesium Calibration System | - | USA15 | 1 | A | 9 | 19 | - | 52Ua | 2.895 | 0 | 0.58 | - | - | - | François VAZEILLE
3086 | Y.22-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 22 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3087 | Y.23-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 23 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3088 | Y.24-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 24 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3089 | Y.25-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 25 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3090 | Y.26-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 26 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3091 | Y.27-19.USA151 | MUON MDT | ROD | - | USA15 | 1 | C | 27 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3092 | Y.28-19.USA151 | MUON MDT | HV | - | USA15 | 1 | C | 28 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3093 | Y.29-19.USA151 | MUON MDT | HV | - | USA15 | 1 | C | 29 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3094 | Y.30-19.USA151 | MUON MDT | HV | - | USA15 | 1 | C | 30 | 19 | - | 52Ua | 3.3 | 0 | 0 | - | - | - | Robert RICHTER
3095 | Y.22-21.USA151 | DAQ | DAQ | - | USA15 | 1 | C | 22 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3096 | Y.23-21.USA151 | DAQ | DAQ | - | USA15 | 1 | C | 23 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
3097 | Y.24-21.USA151 | NETWORKS | Networks | - | USA15 | 1 | C | 24 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Ove JONSSON
3098 | Y.25-21.USA151 | DCS | DCS | - | USA15 | 1 | C | 25 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
3099 | Y.26-21.USA151 | DCS | DCS | - | USA15 | 1 | C | 26 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
3100 | Y.27-21.USA151 | DCS | DCS | - | USA15 | 1 | C | 27 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
3101 | Y.28-21.USA151 | ID | ID PS heaters | - | USA15 | 1 | C | 28 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
3102 | Y.29-21.USA151 | ID | ID PS heaters | - | USA15 | 1 | C | 29 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
3103 | Y.30-21.USA151 | ID | ID PS heaters | - | USA15 | 1 | C | 30 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
4001 | Y.4-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | A | 4 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4002 | Y.5-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | A | 5 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4003 | Y.6-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | A | 6 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4004 | Y.7-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | A | 7 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4005 | Y.8-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | A | 8 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4006 | Y.9-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | A | 9 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4007 | Y.10-2.USA152 | LEVEL1 Trigger | Preprocessor | - | USA15 | 2 | A | 10 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4008 | Y.11-2.USA152 | LEVEL1 Trigger | Preprocessor | - | USA15 | 2 | A | 11 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4009 | Y.12-2.USA152 | LEVEL1 Trigger | Level 1 Trigger | - | USA15 | 2 | A | 12 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4010 | Y.16-2.USA152 | LEVEL1 Trigger | Cluster Trigger Processor | - | USA15 | 2 | A | 16 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4011 | Y.17-2.USA152 | LEVEL1 Trigger | Cluster Trigger Processor | - | USA15 | 2 | A | 17 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4012 | Y.18-2.USA152 | LEVEL1 Trigger | Jet/Energy-Sum Trigger Processor | - | USA15 | 2 | A | 18 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4013 | Y.19-2.USA152 | LEVEL1 Trigger | Calorimeter Trigger - ROD | - | USA15 | 2 | A | 19 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4014 | Y.20-2.USA152 | LEVEL1 Trigger | Level 1 Trigger | - | USA15 | 2 | C | 20 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4015 | Y.21-2.USA152 | LEVEL1 Trigger | Preprocessor | - | USA15 | 2 | C | 21 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4016 | Y.22-2.USA152 | LEVEL1 Trigger | Preprocessor | - | USA15 | 2 | C | 22 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4017 | Y.23-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | C | 23 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4018 | Y.24-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | C | 24 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4019 | Y.25-2.USA152 | LEVEL1 Trigger | Calorimeter Receiver | - | USA15 | 2 | C | 25 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Murrough LANDON
4020 | Y.26-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | C | 26 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4021 | Y.27-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | C | 27 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4022 | Y.28-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | - | 28 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4023 | Y.29-2.USA152 | LEVEL1 Trigger | Spare | - | USA15 | 2 | C | 29 | 2 | - | 52Ua | 7.5 | 0 | 0 | - | - | - | Philippe FARTHOUAT
4024 | Y.4-5.USA152 | MAGNET | Magnet Control System | - | USA15 | 2 | A | 4 | 5 | - | 52Ua | 0.5 | 0 | 0 | - | - | - | Fernando CATANEO
4025 | Y.5-5.USA152 | MAGNET | Magnet Control System | - | USA15 | 2 | A | 5 | 5 | - | 52Ua | 0.5 | 0 | 0 | - | - | - | Fernando CATANEO
4026 | Y.6-5.USA152 | MAGNET | Magnet Control System | - | USA15 | 2 | A | 6 | 5 | - | 52Ua | 0.5 | 0 | 0 | - | - | - | Fernando CATANEO
4027 | Y.7-5.USA152 | MAGNET | Magnet Control System | - | USA15 | 2 | A | 7 | 5 | - | 52Ua | 0.5 | 0 | 0 | - | - | - | Fernando CATANEO
4028 | Y.8-5.USA152 | MAGNET | Magnet Control System | - | USA15 | 2 | A | 8 | 5 | - | 52Ua | 0.5 | 0 | 0 | - | - | - | Fernando CATANEO
4029 | Y.25-5.USA152 | MAGNET | Diffusion pumps | - | USA15 | 2 | C | 25 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Edo SBRISSA
4030 | Y.26-5.USA152 | PIXEL Detector | ROD | - | USA15 | 2 | C | 26 | 5 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4031 | Y.27-5.USA152 | PIXEL Detector | ROD | - | USA15 | 2 | C | 27 | 5 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4032 | Y.28-5.USA152 | PIXEL Detector | ROD | - | USA15 | 2 | C | 28 | 5 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4033 | Y.29-5.USA152 | PIXEL Detector | ROD | - | USA15 | 2 | C | 29 | 5 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4034 | Y.4-11.USA152 | SCT | Local DAQ | - | USA15 | 2 | A | 4 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Alex GRILLO
4035 | Y.5-11.USA152 | SCT | Alignment System | - | USA15 | 2 | A | 5 | 11 | - | 52Ua | 3 | 0 | 0 | - | - | - | Alex GRILLO
4036 | Y.6-11.USA152 | SCT | DCS/SCT Local Control | - | USA15 | 2 | A | 6 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Alex GRILLO
4037 | Y.7-11.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 7 | 11 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4038 | Y.22-11.USA152 | SCT | ROD Assembly | - | USA15 | 2 | C | 22 | 11 | - | 52Ua | 7 | 0 | 0 | - | - | - | Alex GRILLO
4039 | Y.23-11.USA152 | SCT | ROD Assembly | - | USA15 | 2 | C | 23 | 11 | - | 52Ua | 7 | 0 | 0 | - | - | - | Alex GRILLO
4040 | Y.24-11.USA152 | SCT | ROD Assembly | - | USA15 | 2 | C | 24 | 11 | - | 52Ua | 7 | 0 | 0 | - | - | - | Alex GRILLO
4041 | Y.25-11.USA152 | SCT | ROD Assembly | - | USA15 | 2 | C | 25 | 11 | - | 52Ua | 7 | 0 | 0 | - | - | - | Alex GRILLO
4042 | Y.26-11.USA152 | SCT | ROD Assembly | - | USA15 | 2 | C | 26 | 11 | - | 52Ua | 7 | 0 | 0 | - | - | - | Alex GRILLO
4043 | Y.27-11.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 27 | 11 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4044 | Y.28-11.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 28 | 11 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4045 | Y.29-11.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 29 | 11 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4046 | Y.4-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 4 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4047 | Y.5-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 5 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4048 | Y.6-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 6 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4049 | Y.7-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 7 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4050 | Y.8-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 8 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4051 | Y.9-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 9 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4052 | Y.10-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 10 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4053 | Y.12-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 12 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4054 | Y.13-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 13 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4055 | Y.14-14.USA152 | PIXEL Detector | LV + HV | - | USA15 | 2 | A | 14 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4056 | Y.1514.USA152 | PIXEL Detector | DCS+UPS | - | USA15 | 2 | A | 15 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4057 | Y.16-14.USA152 | PIXEL Detector | DCS+UPS | - | USA15 | 2 | A | 16 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4058 | Y.17-14.USA152 | PIXEL Detector | DCS+UPS | - | USA15 | 2 | A | 17 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4059 | Y.18-14.USA152 | PIXEL Detector | DCS+UPS | - | USA15 | 2 | A | 18 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
4060 | Y.22-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 22 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4061 | Y.23-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 23 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4062 | Y.24-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 24 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4063 | Y.25-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 25 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4064 | Y.26-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 26 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4065 | Y.27-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 27 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4066 | Y.28-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 28 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4067 | Y.29-14.USA152 | SCT | LV & HV | - | USA15 | 2 | C | 29 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
4068 | Y.4-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 4 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4069 | Y.5-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 5 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4070 | Y.6-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 6 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4071 | Y.7-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 7 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4072 | Y.8-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 8 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4073 | Y.9-16.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 9 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4074 | Y.10-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 10 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4075 | Y.11-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 11 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4076 | Y.12-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 12 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4077 | Y.13-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 13 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4078 | Y.14-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 14 | 16 | - | 52Ua | 0 | 0 | 0 | - | - | - | Mauro CITTERIO
4079 | Y.1516.USA152 | LARG | ROD | - | USA15 | 2 | A | 15 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4080 | Y.16-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 16 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4081 | Y.17-16.USA152 | LARG | ROD | - | USA15 | 2 | A | 17 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4082 | Y.18-16.USA152 | LARG | DCS | - | USA15 | 2 | A | 18 | 16 | - | 52Ua | 3.75 | 0 | 0 | - | - | - | Mauro CITTERIO
4083 | Y.22-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 22 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4084 | Y.23-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 23 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4085 | Y.24-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 24 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4086 | Y.25-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 25 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4087 | Y.26-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 26 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4088 | Y.27-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 27 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4089 | Y.28-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 28 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4090 | Y.29-16.USA152 | LARG | Low Voltage | - | USA15 | 2 | C | 29 | 16 | - | 52Ua | 45.5 | 0 | 0 | - | - | - | Mauro CITTERIO
4091 | Y.4-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 4 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4092 | Y.5-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 5 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4093 | Y.6-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 6 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4094 | Y.7-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 7 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4095 | Y.8-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 8 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4096 | Y.9-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 9 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4097 | Y.10-19.USA152 | CRYOGENICS | Proximity Cryogenics | - | USA15 | 2 | A | 10 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4098 | Y.12-19.USA152 | CRYOGENICS | Magnet Cryogenics Vacuum | - | USA15 | 2 | A | 12 | 19 | - | 52Ua | 1 | 0 | 0 | - | - | - | Fernando CATANEO
4099 | Y.13-19.USA152 | CRYOGENICS | Magnet Cryogenics Vacuum | - | USA15 | 2 | A | 13 | 19 | - | 52Ua | 1 | 0 | 0 | - | - | - | Fernando CATANEO
4100 | Y.14-19.USA152 | CRYOGENICS | Magnet Cryogenics Vacuum | - | USA15 | 2 | A | 14 | 19 | - | 52Ua | 1 | 0 | 0 | - | - | - | Fernando CATANEO
4101 | Y.1519.USA152 | CRYOGENICS | Magnet Cryogenics Vacuum | - | USA15 | 2 | A | 15 | 19 | - | 52Ua | 1 | 0 | 0 | - | - | - | Fernando CATANEO
4102 | Y.16-19.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 16 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4103 | Y.17-19.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 17 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4104 | Y.18-19.USA152 | DAQ | DAQ | - | USA15 | 2 | A | 18 | 19 | - | 52Ua | 0 | 0 | 0 | - | - | - | Livio MAPELLI
4105 | Y.22-19.USA152 | NETWORKS | Networks | - | USA15 | 2 | C | 22 | 19 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Ove JONSSON
4106 | Y.23-19.USA152 | NETWORKS | Networks | - | USA15 | 2 | C | 23 | 19 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Ove JONSSON
4107 | Y.24-19.USA152 | NETWORKS | Networks | - | USA15 | 2 | C | 24 | 19 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Ove JONSSON
4108 | Y.25-19.USA152 | LARG | High Voltage | - | USA15 | 2 | C | 25 | 19 | - | 52Ua | 2 | 0 | 0 | - | - | - | Helmut BRAUN
4109 | Y.26-19.USA152 | LARG | High Voltage | - | USA15 | 2 | C | 26 | 19 | - | 52Ua | 2 | 0 | 0 | - | - | - | Helmut BRAUN
4110 | Y.27-19.USA152 | LARG | High Voltage | - | USA15 | 2 | C | 27 | 19 | - | 52Ua | 2 | 0 | 0 | - | - | - | Helmut BRAUN
4111 | Y.28-19.USA152 | LARG | High Voltage | - | USA15 | 2 | C | 28 | 19 | - | 52Ua | 2 | 0 | 0 | - | - | - | Helmut BRAUN
4112 | Y.29-19.USA152 | LARG | High Voltage | - | USA15 | 2 | C | 29 | 19 | - | 52Ua | 2 | 0 | 0 | - | - | - | Helmut BRAUN
4113 | Y.4-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 4 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4114 | Y.5-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 5 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4115 | Y.6-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 6 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4116 | Y.7-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 7 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4117 | Y.8-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 8 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4118 | Y.9-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 9 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4119 | Y.10-21.USA152 | CRYOGENICS | Liquid Argon | - | USA15 | 2 | A | 10 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4120 | Y.11-21.USA152 | CRYOGENICS | Liquid Helium | - | USA15 | 2 | A | 11 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4121 | Y.12-21.USA152 | CRYOGENICS | Undefined | - | USA15 | 2 | A | 12 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4122 | Y.13-21.USA152 | CRYOGENICS | Undefined | - | USA15 | 2 | A | 13 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4123 | Y.14-21.USA152 | CRYOGENICS | Undefined | - | USA15 | 2 | A | 14 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4124 | Y.1521.USA152 | CRYOGENICS | Undefined | - | USA15 | 2 | A | 15 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Johan BREMER
4125 | Y.16-21.USA152 | DCS | DCS | - | USA15 | 2 | A | 16 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
4126 | Y.17-21.USA152 | DCS | DCS | - | USA15 | 2 | A | 17 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
4127 | Y.18-21.USA152 | DCS | DCS | - | USA15 | 2 | A | 18 | 21 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Helfried BURCKHART
4128 | Y.22-21.USA152 | SAFETY Systems | Rack Smoke Detection | - | USA15 | 2 | C | 22 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
4129 | Y.23-21.USA152 | SAFETY Systems | Rack Smoke Detection | - | USA15 | 2 | C | 23 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
4130 | Y.24-21.USA152 | SAFETY Systems | Access Control | - | USA15 | 2 | C | 24 | 21 | - | nk | 0 | 0 | 0 | - | - | - | Jean-Francois JUGET
4131 | Y.25-21.USA152 | SAFETY Systems | Access Control | - | USA15 | 2 | C | 25 | 21 | - | nk | 0 | 0 | 0 | - | - | - | Jean-Francois JUGET
4132 | Y.26-21.USA152 | SAFETY Systems | Access Control | - | USA15 | 2 | C | 26 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Jean-Francois JUGET
4133 | Y.27-21.USA152 | ID | ID PS heaters | - | USA15 | 2 | C | 27 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
4134 | Y.28-21.USA152 | ID | ID PS heaters | - | USA15 | 2 | C | 28 | 21 | - | 52Uc | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
4135 | Y.29-21.USA152 | ID | ID PS heaters | - | USA15 | 2 | C | 29 | 21 | - | 52Ua | 0 | 0 | 0 | - | - | - | Greg HALLEWELL

## US15 Level 2 RACK LAYOUT
US15 level 2
US15 level 2 plan: https://edms.cern.ch/document/383883/0

## US15 Level 2 RACK LIST
ID | name | detector | function | location | room | level | side | x | y | cables | type | ips | ups | dps | reference | description | comments | contact
2001 | Y.3-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 3 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2002 | Y.4-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 4 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2003 | Y.5-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 5 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2004 | Y.11-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 11 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2005 | Y.12-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 12 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2006 | Y.13-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 13 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2007 | Y.14-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 14 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2008 | Y.15-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 15 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2009 | Y.16-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 16 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2010 | Y.17-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 17 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2011 | Y.18-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 18 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2012 | Y.19-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 19 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2013 | Y.20-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 20 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2014 | Y.21-3.US152 | LHC Machine | Undefined | - | US15 | 2 | - | 21 | 3 | - | 2.15 m | 0 | 0 | 0 | - | - | - | Francois BUTIN
2015 | Y.4-5.US152 | SCT | DCS | - | US15 | 2 | - | 4 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Richard Brenner
2016 | Y.5-5.US152 | ID | ID PS heaters | - | US15 | 2 | - | 5 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2017 | Y.6-5.US152 | ID | ID PS heaters | - | US15 | 2 | - | 6 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2018 | Y.7-5.US152 | FREE | Free | - | US15 | 2 | - | 7 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
2019 | Y.8-5.US152 | FREE | Free | - | US15 | 2 | - | 8 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
2020 | Y.9-5.US152 | FREE | Free | - | US15 | 2 | - | 9 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
2021 | Y.10-5.US152 | FREE | Free | - | US15 | 2 | - | 10 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
2022 | Y.11-5.US152 | VACUUM | Turbopump controllers | - | US15 | 2 | - | 11 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Harri TYRVAINEN
2023 | Y.12-5.US152 | DCS | DCS | - | US15 | 2 | - | 12 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
2024 | Y.13-5.US152 | NETWORKS | Networks | - | US15 | 2 | - | 13 | 5 | - | 52Ua | 6.5 | 0 | 0 | - | - | - | Ove JONSSON
2025 | Y.14-5.US152 | SAFETY Systems | Sniffer CIE | - | US15 | 2 | - | 14 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2026 | Y.15-5.US152 | SAFETY Systems | Sniffer CIE | - | US15 | 2 | - | 15 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2027 | Y.16-5.US152 | SAFETY Systems | Sniffer CIE | - | US15 | 2 | - | 16 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2028 | Y.17-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 17 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2029 | Y.18-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 18 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2030 | Y.19-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 19 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2031 | Y.20-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 20 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2032 | Y.21-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 21 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2033 | Y.22-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 22 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2034 | Y.23-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 23 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2035 | Y.24-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 24 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2036 | Y.25-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 25 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2037 | Y.26.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 26 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2038 | Y.27-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 27 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2039 | Y.28-5.US152 | SAFETY Systems | Sniffer SAE | - | US15 | 2 | - | 28 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Rui NUNES
2040 | Y.5-7.US152 | MUON CSC | LV | - | US15 | 2 | - | 5 | 7 | - | 41Ub | 20 | 0 | 0 | - | - | - | Robert RICHTER
2041 | Y.6-7.US152 | MUON MDT | LV | - | US15 | 2 | - | 6 | 7 | - | 41Ub | 20 | 0 | 0 | - | - | - | Robert RICHTER
2042 | Y.7-7.US152 | MUON MDT | LV | - | US15 | 2 | - | 7 | 7 | - | 41Ub | 20 | 0 | 0 | - | - | - | Robert RICHTER
2043 | Y.8-7.US152 | MUON RPC | LV | - | US15 | 2 | - | 8 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2044 | Y.9-7.US152 | MUON RPC | LV | - | US15 | 2 | - | 9 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2045 | Y.10-7.US152 | MUON RPC | LV | - | US15 | 2 | - | 10 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2046 | Y.11-7.US152 | MUON TGC | LV | - | US15 | 2 | - | 11 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2047 | Y.12-7.US152 | MUON TGC | LV | - | US15 | 2 | - | 12 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2048 | Y.13-7.US152 | MUON TGC | LV | - | US15 | 2 | - | 13 | 7 | - | 41Ub | 14 | 0 | 0 | - | - | - | Robert RICHTER
2049 | Y.14-7.US152 | MUONs - All | Power | - | US15 | 2 | - | 14 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
2050 | Y.16-7.US152 | MUONs - All | Power | - | US15 | 2 | - | 16 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
2051 | Y.17-7.US152 | MUONs - All | Power | - | US15 | 2 | - | 17 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
2052 | Y.19-7.US152 | DCS | Muons | - | US15 | 2 | - | 19 | 7 | - | 41Ub | 6.5 | 0 | 0 | - | - | - | Robert RICHTER
2053 | Y.20-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 20 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2054 | Y.21-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 21 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2055 | Y.22-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 22 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2056 | Y.23-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 23 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2057 | Y.24-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 24 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2058 | Y.26-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 26 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2059 | Y.27-7.US152 | ID | ID PS heaters | - | US15 | 2 | - | 27 | 7 | - | 41Ub | 0 | 0 | 0 | - | - | - | Greg HALLEWELL
2060 | Y.28-7.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 28 | 7 | - | 41Ub | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2061 | Y.23-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 23 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2062 | Y.24-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 24 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2063 | Y.25-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 25 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2064 | Y.26-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 26 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2065 | Y.27-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 27 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2066 | Y.28-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 28 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2067 | Y.29-13.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 29 | 13 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2068 | Y.3-14.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 3 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2069 | Y.4-14.US152 | PIXEL Detector | LV + HV | - | US15 | 2 | - | 4 | 14 | - | 52Ua | 10 | 0 | 0 | - | - | - | Kevin EINSWEILER
2070 | Y.5-14.US152 | SCT | LV & HV | - | US15 | 2 | - | 5 | 14 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2071 | Y.10-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 10 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2072 | Y.11-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 11 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2073 | Y.12-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 12 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2074 | Y.23-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 23 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2075 | Y.24-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 24 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2076 | Y.25-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 25 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2077 | Y.26-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 26 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2078 | Y.27-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 27 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2079 | Y.28-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 28 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM
2080 | Y.29-15.US152 | SCT | LV & HV | - | US15 | 2 | - | 29 | 15 | - | 52Ua | 8.8 | 0 | 2.2 | - | - | - | Jan BOHM

## UX15 RACK LAYOUT
level 8 plan: https://edms.cern.ch/document/383573/0
level 7 plan: https://edms.cern.ch/document/383572/0
level 6 plan: https://edms.cern.ch/document/383566/0
level 5 plan https://edms.cern.ch/document/383564/0
level 4 plan: https://edms.cern.ch/document/383559/0
level 3 plan: https://edms.cern.ch/document/383557/0
level 2 plan: https://edms.cern.ch/document/383548/0
Level 1 plan: https://edms.cern.ch/document/383514/0
Level 0 plan: https://edms.cern.ch/document/383506/0
level 8 plan: https://edms.cern.ch/document/383573/0
level 7 plan: https://edms.cern.ch/document/383572/0
level 6 plan: https://edms.cern.ch/document/383566/0
level 5 plan https://edms.cern.ch/document/383564/0
level 4 plan: https://edms.cern.ch/document/383559/0
level 3 plan: https://edms.cern.ch/document/383557/0
level 2 plan: https://edms.cern.ch/document/383548/0
Level 1 plan: https://edms.cern.ch/document/383514/0
Level 0 plan: https://edms.cern.ch/document/383506/0

## UX15 RACK LIST
ID | name | detector | function | location | room | level | side | x | y | cables | type | ips | ups | dps | reference | description | comments | contact
1001 | Y.31_5.UX150 | MUON RPC | Power Supplies | HS on US side | UX15 | 0 | US | 31 | 5 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1002 | Y.30_5.UX150 | DCS | DCS | HS on US side | UX15 | 0 | US | 30 | 5 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1003 | Y.42_5.UX150 | MUON RPC | Gas | HS on US side | UX15 | 0 | US | 42 | 5 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1004 | Y.43_5.UX150 | MUON RPC | Gas | HS on US side | UX15 | 0 | US | 43 | 5 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1005 | Y.45_5.UX150 | MUON MDT | Gas | HS on US side | UX15 | 0 | US | 45 | 5 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1006 | Y.46_5.UX150 | MUON TGC | Gas | HS on US side | UX15 | 0 | US | 46 | 5 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1007 | Y.57_5.UX150 | DCS | DCS | HS on US side | UX15 | 0 | US | 57 | 5 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1008 | Y.58_5.UX150 | FREE | Free | HS on US side | UX15 | 0 | US | 58 | 5 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1009 | Y.33_3.UX151 | MUON RPC | Power Supplies | HS on US side | UX15 | 1 | US | 33 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1010 | Y.34_3.UX151 | ID | ID cables cooling | HS on US side | UX15 | 1 | US | 34 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1011 | Y.35_3.UX151 | ID | Monophase warm cooling | HS on US side | UX15 | 1 | US | 35 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1012 | Y.36_3.UX151 | ID | Monophase warm cooling | HS on US side | UX15 | 1 | US | 36 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1013 | Y.42_3.UX151 | MUON RPC | Gas | HS on US side | UX15 | 1 | US | 42 | 3 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1014 | Y.43_3.UX151 | MUON RPC | Gas | HS on US side | UX15 | 1 | US | 43 | 3 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1015 | Y.45_3.UX151 | MUON MDT | Gas | HS on US side | UX15 | 1 | US | 45 | 3 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1016 | Y.46_3.UX151 | MUON MDT | Gas | HS on US side | UX15 | 1 | US | 46 | 3 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1017 | Y.52_3.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 1 | US | 52 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1018 | Y.53_3.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 1 | US | 53 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1019 | Y.54_3.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 1 | US | 54 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1020 | Y.55_3.UX151 | ID | Evaporative cooling monitoring (SCT & Pixels) | HS on US side | UX15 | 1 | US | 55 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1021 | Y.29_4.UX151 | SCT | DCS | HS on US side | UX15 | 1 | US | 29 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Richard Brenner
1022 | Y.27_4.UX151 | DCS | DCS | HS on US side | UX15 | 1 | US | 27 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1023 | Y.28_4.UX151 | FREE | Free | HS on US side | UX15 | 1 | US | 28 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1024 | Y.26_4.UX151 | FREE | Free | HS on US side | UX15 | 1 | US | 26 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1025 | Y.59_4.UX151 | ID | ID nitrogen | HS on US side | UX15 | 1 | US | 59 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1026 | Y.60_4.UX151 | FREE | Free | HS on US side | UX15 | 1 | US | 60 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1027 | Y.61_4.UX151 | DCS | DCS | HS on US side | UX15 | 1 | US | 61 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1028 | Y.62_4.UX151 | FREE | Free | HS on US side | UX15 | 1 | US | 62 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1029 | Y.35_2.UX152 | FREE | Free | HS on US side | UX15 | 2 | US | 35 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1030 | Y.36_2.UX152 | FREE | Free | HS on US side | UX15 | 2 | US | 36 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1031 | Y.37_2.UX152 | MUON RPC | Power Supplies | HS on US side | UX15 | 2 | US | 37 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1032 | Y.42_2.UX152 | MUON RPC | Power Supplies | HS on US side | UX15 | 2 | US | 42 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1033 | Y.43_2.UX152 | MUON RPC | Power Supplies | HS on US side | UX15 | 2 | US | 43 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1034 | Y.44_2.UX152 | MUON MDT | LV | HS on US side | UX15 | 2 | US | 44 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1035 | Y.45_2.UX152 | MUON MDT | LV | HS on US side | UX15 | 2 | US | 45 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1036 | Y.51_2.UX152 | SCT | PP3 | HS on US side | UX15 | 2 | US | 51 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1037 | Y.52_2.UX152 | SCT | PP3 | HS on US side | UX15 | 2 | US | 52 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1038 | Y.53_2.UX152 | ID | ID cables cooling | HS on US side | UX15 | 2 | US | 53 | 2 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1039 | Y.34_2.UX154 | MUON TGC | Gas | HS on US side | UX15 | 4 | US | 34 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1040 | Y.35_2.UX154 | MUON CSC | Gas | HS on US side | UX15 | 4 | US | 35 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1041 | Y.36_2.UX154 | MUON MDT | Gas | HS on US side | UX15 | 4 | US | 36 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1042 | Y.42_2.UX154 | MUON RPC | Gas | HS on US side | UX15 | 4 | US | 42 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1043 | Y.43_2.UX154 | MUON RPC | Gas | HS on US side | UX15 | 4 | US | 43 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1044 | Y.45_2.UX154 | MUON MDT | Gas | HS on US side | UX15 | 4 | US | 45 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1045 | Y.46_2.UX154 | MUON MDT | Gas | HS on US side | UX15 | 4 | US | 46 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1046 | Y.52_2.UX154 | MUON MDT | Gas | HS on US side | UX15 | 4 | US | 52 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1047 | Y.53_2.UX154 | MUON CSC | Gas | HS on US side | UX15 | 4 | US | 53 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1048 | Y.54_2.UX154 | MUON TGC | Gas | HS on US side | UX15 | 4 | US | 54 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1049 | Y.27_3.UX154 | FREE | Free | HS on US side | UX15 | 4 | US | 27 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1050 | Y.30_3.UX154 | ID | ID cables cooling | HS on US side | UX15 | 4 | US | 30 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1051 | Y.58_3.UX154 | ID | ID cables cooling | HS on US side | UX15 | 4 | US | 58 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1052 | Y.61_3.UX154 | PIXEL | Patch panels, monitoring, interlock, services cooling | HS on US side | UX15 | 4 | US | 61 | 3 | - | 41Ub | 0 | 0 | 0 | - | - | - | Susanne Kersten
1053 | Y.35_2.UX156 | FREE | Free | HS on US side | UX15 | 6 | US | 35 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1054 | Y.36_2.UX156 | FREE | Free | HS on US side | UX15 | 6 | US | 36 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1055 | Y.43_2.UX156 | SCT | PP3 | HS on US side | UX15 | 6 | US | 43 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1056 | Y.44_2.UX156 | SCT | PP3 | HS on US side | UX15 | 6 | US | 44 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1057 | Y.45_2.UX156 | SCT | PP3 | HS on US side | UX15 | 6 | US | 45 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1058 | Y.52_2.UX156 | SCT | PP3 | HS on US side | UX15 | 6 | US | 52 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1059 | Y.53_2.UX156 | SCT | PP3 | HS on US side | UX15 | 6 | US | 53 | 2 | - | 32Ua | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1060 | Y.33_2.UX157 | FREE | Free | HS on US side | UX15 | 7 | US | 33 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1061 | Y.34_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 34 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1062 | Y.35_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 35 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1063 | Y.36_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 36 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1064 | Y.37_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 37 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1065 | Y.38_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 38 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1066 | Y.39_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 39 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1067 | Y.40_2.UX157 | ID | TRT active gas | HS on US side | UX15 | 7 | US | 40 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1068 | Y.41_2.UX157 | MUON RPC | Gas | HS on US side | UX15 | 7 | US | 41 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1069 | Y.42_2.UX157 | MUON RPC | Gas | HS on US side | UX15 | 7 | US | 42 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1070 | Y.46_2.UX157 | MUON MDT | Gas | HS on US side | UX15 | 7 | US | 46 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1071 | Y.47_2.UX157 | MUON MDT | Gas | HS on US side | UX15 | 7 | US | 47 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1072 | Y.48_2.UX157 | ID | TRT cooling gas | HS on US side | UX15 | 7 | US | 48 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1073 | Y.49_2.UX157 | ID | TRT cooling gas | HS on US side | UX15 | 7 | US | 49 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1074 | Y.50_2.UX157 | ID | TRT cooling gas | HS on US side | UX15 | 7 | US | 50 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1075 | Y.51_2.UX157 | ID | ID cables cooling | HS on US side | UX15 | 7 | US | 51 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1076 | Y.52_2.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 7 | US | 52 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1077 | Y.53_2.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 7 | US | 53 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1078 | Y.54_2.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on US side | UX15 | 7 | US | 54 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1079 | Y.55_2.UX157 | ID | Evaporative cooling monitoring (SCT & Pixels) | HS on US side | UX15 | 7 | US | 55 | 2 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1080 | Y.26_4.UX157 | FREE | Free | HS on US side | UX15 | 7 | US | 26 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1081 | Y.27_4.UX157 | FREE | Free | HS on US side | UX15 | 7 | US | 27 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1082 | Y.28_4.UX157 | FREE | Free | HS on US side | UX15 | 7 | US | 28 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1083 | Y.29_4.UX157 | ID | ID cables cooling | HS on US side | UX15 | 7 | US | 29 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1084 | Y.35_4.UX157 | ID | Monophase warm cooling | HS on US side | UX15 | 7 | US | 35 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1085 | Y.36_4.UX157 | ID | Monophase warm cooling | HS on US side | UX15 | 7 | US | 36 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1086 | Y.52_4.UX157 | SCT | PP3 | HS on US side | UX15 | 7 | US | 52 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1087 | Y.53_4.UX157 | SCT | PP3 | HS on US side | UX15 | 7 | US | 53 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1088 | Y.59_4.UX157 | PIXEL | Patch panels, monitoring, interlock, services cooling | HS on US side | UX15 | 7 | US | 59 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Susanne Kersten
1089 | Y.60_4.UX157 | FREE | Free | HS on US side | UX15 | 7 | US | 60 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1090 | Y.61_4.UX157 | ID | ID nitrogen | HS on US side | UX15 | 7 | US | 61 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1091 | Y.62_4.UX157 | ID | ID nitrogen | HS on US side | UX15 | 7 | US | 62 | 4 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1092 | Y.25_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 25 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1093 | Y.26_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 26 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1094 | Y.27_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 27 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1095 | Y.28_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 28 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1096 | Y.29_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 29 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1097 | Y.30_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 30 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1098 | Y.31_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 31 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1099 | Y.32_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 32 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1100 | Y.33_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 33 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1101 | Y.34_5.UX158 | SCT | DCS | HS on US side | UX15 | 8 | US | 34 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Richard Brenner
1102 | Y.35_5.UX158 | MUON RPC | Power Supplies | HS on US side | UX15 | 8 | US | 35 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1103 | Y.36_5.UX158 | MUON MDT | LV | HS on US side | UX15 | 8 | US | 36 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1104 | Y.41_5.UX158 | MUON RPC | Gas | HS on US side | UX15 | 8 | US | 41 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1105 | Y.42_5.UX158 | MUON RPC | Gas | HS on US side | UX15 | 8 | US | 42 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1106 | Y.46_5.UX158 | MUON MDT | Gas | HS on US side | UX15 | 8 | US | 46 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1107 | Y.47_5.UX158 | MUON MDT | Gas | HS on US side | UX15 | 8 | US | 47 | 5 | - | 52Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1108 | Y.52_5.UX158 | MUON MDT | LV | HS on US side | UX15 | 8 | US | 52 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1109 | Y.53_5.UX158 | MUON RPC | Power Supplies | HS on US side | UX15 | 8 | US | 53 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1110 | Y.54_5.UX158 | TRT | LV | HS on US side | UX15 | 8 | US | 54 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1111 | Y.55_5.UX158 | TRT | LV | HS on US side | UX15 | 8 | US | 55 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1112 | Y.56_5.UX158 | TRT | LV | HS on US side | UX15 | 8 | US | 56 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1113 | Y.57_5.UX158 | TRT | LV | HS on US side | UX15 | 8 | US | 57 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1114 | Y.58_5.UX158 | TRT | DCS | HS on US side | UX15 | 8 | US | 58 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1115 | Y.59_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 59 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1116 | Y.60_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 60 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1117 | Y.61_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 61 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1118 | Y.62_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 62 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1119 | Y.63_5.UX158 | FREE | Free | HS on US side | UX15 | 8 | US | 63 | 5 | - | 52Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1120 | Y.26_23.UX150 | BEAM vacuum system | Vacuum Chambrs Control | HS on USA side | UX15 | 0 | USA | 26 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | Spase for 3 mobile racks should be available around | Sebastien Blanchard, Raymond Veness
1121 | Y.27_23.UX150 | TILE | Cesium System | HS on USA side | UX15 | 0 | USA | 27 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Evgueni STARCHENKO
1122 | Y.28_23.UX150 | TILE | Cesium System | HS on USA side | UX15 | 0 | USA | 28 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Evgueni STARCHENKO
1123 | Y.29_23.UX150 | TILE | Cesium System | HS on USA side | UX15 | 0 | USA | 29 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Evgueni STARCHENKO
1124 | Y.30_23.UX150 | TILE | Cesium System | HS on USA side | UX15 | 0 | USA | 30 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Evgueni STARCHENKO
1125 | Y.33_23.UX150 | ID | DCS | HS on USA side | UX15 | 0 | USA | 33 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Richard Hawkings
1126 | Y.34_23.UX150 | SCT | DCS + evap. cooling monitoring | HS on USA side | UX15 | 0 | USA | 34 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Richard Brenner
1127 | Y.35_23.UX150 | PIXEL | Patch panels, monitoring, interlock, services cooling | HS on USA side | UX15 | 0 | USA | 35 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Susanne Kersten
1128 | Y.36_23.UX150 | SAFETY Systems | FPIAA | HS on USA side | UX15 | 0 | USA | 36 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Rui NUNES
1129 | Y.37_23.UX150 | MUON MDT | LV | HS on USA side | UX15 | 0 | USA | 37 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1130 | Y.38_23.UX150 | MUON MDT | LV | HS on USA side | UX15 | 0 | USA | 38 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1131 | Y.50_23.UX150 | MUON RPC | Power Supplies | HS on USA side | UX15 | 0 | USA | 50 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1132 | Y.51_23.UX150 | MUON RPC | Power Supplies | HS on USA side | UX15 | 0 | USA | 51 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1133 | Y.52_23.UX150 | SAFETY Systems | FPIAA | HS on USA side | UX15 | 0 | USA | 52 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Rui NUNES
1134 | Y.53_23.UX150 | TRT | LV | HS on USA side | UX15 | 0 | USA | 53 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1135 | Y.54_23.UX150 | TRT | LV | HS on USA side | UX15 | 0 | USA | 54 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1136 | Y.55_23.UX150 | TRT | LV | HS on USA side | UX15 | 0 | USA | 55 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1137 | Y.58_23.UX150 | TRT | DCS | HS on USA side | UX15 | 0 | USA | 58 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1138 | Y.59_23.UX150 | FREE | Free | HS on USA side | UX15 | 0 | USA | 59 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1139 | Y.60_23.UX150 | FREE | Free | HS on USA side | UX15 | 0 | USA | 60 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1140 | Y.61_23.UX150 | FREE | Free | HS on USA side | UX15 | 0 | USA | 61 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1141 | Y.62_23.UX150 | BEAM vacuum system | Vacuum Chambrs Control | HS on USA side | UX15 | 0 | USA | 62 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | Spase for 3 mobile racks should be available around | Sebastien Blanchard, Raymond Veness
1142 | Y.63_23.UX150 | BEAM vacuum system | Vacuum Chambrs Control | HS on USA side | UX15 | 0 | USA | 63 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | Spase for 3 mobile racks should be available around | Sebastien Blanchard, Raymond Veness
1147 | Y.26_24.UX151 | FREE | Free | HS on USA side | UX15 | 1 | USA | 26 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1148 | Y.27_24.UX151 | DCS | DCS | HS on USA side | UX15 | 1 | USA | 27 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1149 | Y.28_24.UX151 | FREE | Free | HS on USA side | UX15 | 1 | USA | 28 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1150 | Y.29_24.UX151 | ID | ID cables cooling | HS on USA side | UX15 | 1 | USA | 29 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1151 | Y.59_24.UX151 | ID | ID cables cooling | HS on USA side | UX15 | 1 | USA | 59 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1152 | Y.60_24.UX151 | FREE | Free | HS on USA side | UX15 | 1 | USA | 60 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1153 | Y.61_24.UX151 | DCS | DCS | HS on USA side | UX15 | 1 | USA | 61 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Helfried BURCKHART
1154 | Y.62_24.UX151 | FREE | Free | HS on USA side | UX15 | 1 | USA | 62 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1155 | Y.35_25.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 1 | USA | 35 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1156 | Y.36_25.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 1 | USA | 36 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1157 | Y.37_25.UX151 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 1 | USA | 37 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1158 | Y.51_25.UX151 | SCT | PP3 | HS on USA side | UX15 | 1 | USA | 51 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1159 | Y.52_25.UX151 | ID | Monophase warm cooling | HS on USA side | UX15 | 1 | USA | 52 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1160 | Y.53_25.UX151 | ID | Monophase warm cooling | HS on USA side | UX15 | 1 | USA | 53 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1161 | Y.27_24.UX152 | MUON TGC | Trigger Sector Logic | HS on USA side | UX15 | 2 | USA | 27 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1162 | Y.35_25.UX152 | FREE | Free | HS on USA side | UX15 | 2 | USA | 35 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1163 | Y.36_25.UX152 | MUON RPC | Power Supplies | HS on USA side | UX15 | 2 | USA | 36 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1164 | Y.52_25.UX152 | SCT | PP3 | HS on USA side | UX15 | 2 | USA | 52 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1165 | Y.53_25.UX152 | SCT | PP3 | HS on USA side | UX15 | 2 | USA | 53 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1166 | Y.61_24.UX152 | MUON TGC | Trigger Sector Logic | HS on USA side | UX15 | 2 | USA | 61 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1167 | Y.35_25.UX154 | PIXEL | Patch panels, monitoring, interlock, services cooling | HS on USA side | UX15 | 4 | USA | 35 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Susanne Kersten
1168 | Y.36_25.UX154 | MUON MDT | LV | HS on USA side | UX15 | 4 | USA | 36 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1169 | Y.52_25.UX154 | SCT | PP3 | HS on USA side | UX15 | 4 | USA | 52 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1170 | Y.53_25.UX154 | SCT | PP3 | HS on USA side | UX15 | 4 | USA | 53 | 25 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1171 | Y.25_24.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 7 | USA | 25 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1172 | Y.27_24.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 7 | USA | 27 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1173 | Y.29_24.UX157 | ID | Evaporative cooling (SCT & Pixels) | HS on USA side | UX15 | 7 | USA | 29 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1174 | Y.37_24.UX157 | MUON RPC | Power Supplies | HS on USA side | UX15 | 7 | USA | 37 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1175 | Y.51_24.UX157 | ID | Monophase warm cooling | HS on USA side | UX15 | 7 | USA | 51 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1176 | Y.52_24.UX157 | ID | Monophase warm cooling | HS on USA side | UX15 | 7 | USA | 52 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1177 | Y.53_24.UX157 | ID | Monophase warm cooling | HS on USA side | UX15 | 7 | USA | 53 | 24 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1178 | Y.59_24.UX157 | ID | ID cables cooling | HS on USA side | UX15 | 7 | USA | 59 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1179 | Y.61_24.UX157 | ID | ID nitrogen | HS on USA side | UX15 | 7 | USA | 61 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1180 | Y.63_24.UX157 | ID | ID nitrogen | HS on USA side | UX15 | 7 | USA | 63 | 24 | - | 41Ua | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1181 | Y.25_23.UX158 | MUON CSC | Power supplies | HS on USA side | UX15 | 8 | USA | 25 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1182 | Y.26_23.UX158 | MUON CSC+MDT | Power supplies | HS on USA side | UX15 | 8 | USA | 26 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1183 | Y.27_23.UX158 | TRT | LV | HS on USA side | UX15 | 8 | USA | 27 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1184 | Y.28_23.UX158 | TRT | LV | HS on USA side | UX15 | 8 | USA | 28 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1185 | Y.29_23.UX158 | SCT | DCS + evap. cooling monitoring | HS on USA side | UX15 | 8 | USA | 29 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Richard Brenner
1186 | Y.30_23.UX158 | ID | ID cables cooling | HS on USA side | UX15 | 8 | USA | 30 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1187 | Y.33_23.UX158 | ID | DCS | HS on USA side | UX15 | 8 | USA | 33 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Richard Hawkings
1188 | Y.34_23.UX158 | PIXEL | Patch panels, monitoring, interlock, services cooling | HS on USA side | UX15 | 8 | USA | 34 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Susanne Kersten
1189 | Y.35_23.UX158 | MUON RPC | Power Supplies | HS on USA side | UX15 | 8 | USA | 35 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1190 | Y.36_23.UX158 | MUON RPC | Power Supplies | HS on USA side | UX15 | 8 | USA | 36 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1191 | Y.37_23.UX158 | MUON MDT | LV | HS on USA side | UX15 | 8 | USA | 37 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1192 | Y.51_23.UX158 | SCT | PP3 | HS on USA side | UX15 | 8 | USA | 51 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1193 | Y.52_23.UX158 | SCT | PP3 | HS on USA side | UX15 | 8 | USA | 52 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Gareth Moorhead
1194 | Y.53_23.UX158 | ID | ID cables cooling | HS on USA side | UX15 | 8 | USA | 53 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1195 | Y.54_23.UX158 | ID | ID cables cooling | HS on USA side | UX15 | 8 | USA | 54 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Jan GODLEWSKI
1196 | Y.55_23.UX158 | FREE | Free | HS on USA side | UX15 | 8 | USA | 55 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1197 | Y.58_23.UX158 | TRT | DCS | HS on USA side | UX15 | 8 | USA | 58 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1198 | Y.59_23.UX158 | TRT | LV | HS on USA side | UX15 | 8 | USA | 59 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1199 | Y.60_23.UX158 | TRT | LV | HS on USA side | UX15 | 8 | USA | 60 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Zybszek HAJDUK
1200 | Y.61_23.UX158 | FREE | Free | HS on USA side | UX15 | 8 | USA | 61 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Sergei MALYUKOV
1201 | Y.62_23.UX158 | MUON CSC+MDT | Power supplies | HS on USA side | UX15 | 8 | USA | 62 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER
1202 | Y.63_23.UX158 | MUON CSC | Power supplies | HS on USA side | UX15 | 8 | USA | 63 | 23 | - | 41Ub | 0 | 0 | 0 | - | - | - | Robert RICHTER