{"text_format":"5","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"props":{"creator":"NICE","last_modified_by":"mp","company":"CERN"},"not_rendered":{"external_links":1},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":79,"n_cols":18,"rows_kept":79,"flags":["formulas_cached_only"]}
["ITEM_ID","JASON CABLE TYPE","Ribbon 8","Ribbon 7","Ribbon 6","Ribbon 5","Ribbon 4","Ribbon 3","Ribbon 2","Ribbon 1","LENGTH","STANDARDFIELD","USERFIELD","STARTPOINT_LOCATION","STARTPOINT_SIDE","ENDPOINT_LOCATION","CABLE_DESCRIPTION","CABLE_CHARACTERISTIC_1"]
[2005001,29,"1 F","8 F","7 F","6 F","5 F","4 F","3 F","2 F",90.3,"ISE/A.F2.L2/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005002,25,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",90.3,"ISE/A.F2.L2/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005003,33,5,1,3,2,8,6,4,7,90.3,"ISE/A.F2.L2/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005013,7,"6 F","5 F","4 F","3 F","2 F","1 F",7,8,84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 3"]
[2005014,13,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 3"]
[2005015,10,1,2,3,4,5,6,7,8,84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 3"]
[2005016,16,"xxx","xxx","6 F","4 F","5 F","3 F","2 F","1 F",84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 3"]
[2005017,22,"xxx","xxx","6 F","5 F","4 F","3 F","2 F","1 F",84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 3"]
[2005018,19,"xxx","xxx","5 F","4 F","6 F","3 F","2 F","1 F",84.7,"ISE/A.F10.L9/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 3"]
[2005019,30,"8 F","6 F","5 F","4 F","7 F","2 F","1 F","3 F",76.5,"ISE/A.F17.L23/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 7"]
[2005020,34,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",76.5,"ISE/A.F17.L23/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 7"]
[2005021,26,3,2,"4 F",5,8,"1 F",6,"7 F",76.5,"ISE/A.F17.L23/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 7"]
[2005031,1,1,2,3,4,5,6,7,8,69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005032,3,1,2,3,4,5,6,7,8,69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005033,2,1,2,3,4,5,6,7,8,69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005034,4,"7 F","6 F","5 F","3 F","2 F","1 F",4,8,69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005035,5,"xxx","xxx",1,2,3,4,5,6,69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 9"]
[2005036,6,"xxx","xxx","5 F","6 F","4 F","3 F","2 F","1 F",69.1,"ISE/A.F25.L30/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 9"]
[2005037,32,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",68.8,"ISE/A.F30.L34/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005038,36,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",68.8,"ISE/A.F30.L34/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005039,28,1,2,3,4,5,6,7,8,68.8,"ISE/A.F30.L34/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 9"]
[2005049,12,3,4,1,2,5,6,7,8,79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 11"]
[2005050,9,3,"7 F","8 F",1,"4 F","5 F",2,"6 F",79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 11"]
[2005051,15,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 11"]
[2005052,21,"xxx","xxx","1 F","6 F","5 F","3 F","2 F","4 F",79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 11"]
[2005053,24,"xxx","xxx","6 F","5 F","4 F","3 F","2 F","1 F",79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 11"]
[2005054,18,"xxx","xxx","6 F","5 F","4 F","3 F","2 F","1 F",79.7,"ISE/A.F38.L43/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 11"]
[2005055,27,1,2,3,4,5,6,7,8,88.7,"ISE/A.F45.L53/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 15"]
[2005056,35,"8 F","7 F","6 F","6 F","5 F","4 F","3 F","2 F","1 F","ISE/A.F45.L53/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 15"]
[2005057,31,"6F ","1 F","5 F",7,3,4,8,"2 F",88.7,"ISE/A.F45.L53/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 15"]
[2005067,8,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005068,11,1,2,3,4,5,6,7,8,91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005069,14,"2 F","4 F","3 F","5 F","1 F","7 F","6 F","8 F",91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side A","A","Y.22-11.A2","8s RO12/12","Sector 1"]
[2005070,23,"xxx","xxx","2 F",1,4,3,"6 F","5 F",91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 1"]
[2005071,20,"xxx","xxx",1,2,3,4,5,6,91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 1"]
[2005072,17,"xxx","xxx",1,2,3,4,5,6,91,"ISE/A.F53.L62/RoT/Y.22-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side A","A","Y.22-11.A2","6s RO12/12","Sector 1"]
[2005073,3,"6 F","7 F","8 F","2 F","5 F","4 F","3 F","1 F",90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005074,1,1,2,3,"8 F","7 F","6 F","5 F","4 F",90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005075,2,"6 F","1 F","7 F","4 F","5 F","8 F","2F",3,90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005076,4,5,"1 F","7 F",6,"4 F",2,3,8,90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005077,6,"xxx","xxx",1,2,3,4,5,6,90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 1"]
[2005078,5,"xxx","xxx",5,"4 F","3 F","2 F",6,"1 F",90.6,"ISE/C.F4.L2/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 1"]
[2005088,26,"7 F","6 F","2 F","8 F","5 F","4 F","3 F","1 F",85.4,"ISE/C.F12.L9/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 3"]
[2005089,30,"7 F",8,4,5,6,"2 F","1 F",3,85.4,"ISE/C.F12.L9/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 3"]
[2005090,34,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",85.4,"ISE/C.F12.L9/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 3"]
[2005091,10,"8 F","7 F",6,"5 F","4 F","3 F","2 F","1 F",75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 7"]
[2005092,13,7,3,2,"5 F","6 F","8 F","1 F","4 F",75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 7"]
[2005093,7,2,1,3,4,5,6,7,8,75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 7"]
[2005094,19,"xxx","xxx","6 F","5 F","4 F","3 F","2 F","1 F",75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 7"]
[2005095,22,"xxx","xxx","6 F","4 F","5 F","3 F","2 F","1 F",75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 7"]
[2005096,16,"xxx","xxx",1,2,3,4,5,6,75.8,"ISE/C.F19.L23/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 7"]
[2005106,29,1,2,3,4,5,6,7,8,68.8,"ISE/C.F27.L30/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005107,33,1,2,3,4,5,6,7,8,68.8,"ISE/C.F27.L30/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005108,25,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",68.8,"ISE/C.F27.L30/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005109,8,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005110,14,1,2,3,4,5,6,7,8,69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005111,11,"8 F","7 F","6 F","4 F","2 F","5 F","3 F","1 F",69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 9"]
[2005112,23,"xxx","xxx","5 F","4 F","6 F","3 F","2 F","1 F",69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 9"]
[2005113,20,"xxx","xxx","6 F","5 F","4 F","1 F","3 F","2 F",69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 9"]
[2005114,17,"xxx","xxx","6 F","4 F","3 F","2 F","5 F","1 F",69.1,"ISE/C.F32.L34/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 9"]
[2005124,31,"5 F",3,4,2,1,8,6,7,80.1,"ISE/C.F40.L43/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 11"]
[2005125,35,4,"5 F",7,1,6,8,3,"2 F",80.1,"ISE/C.F40.L43/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 11"]
[2005126,27,7,2,"5 F","3 F","4 F","1 F","8 F","6 F",80.1,"ISE/C.F40.L43/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 11"]
[2005127,12,4,1,3,5,7,6,8,2,88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 15"]
[2005128,9,"6 F","5 F","3 F","2 F","1 F",4,7,8,88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 15"]
[2005129,15,1,2,3,4,5,6,7,8,88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 15"]
[2005130,21,"xxx","xxx","4 F","6 F","3 F","2 F","5 F","1 F",88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 15"]
[2005131,24,"xxx","xxx",3,1,2,"5 F","4 F",6,88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 15"]
[2005132,18,"xxx","xxx",1,2,3,4,5,6,88.3,"ISE/C.F47.L53/RoT/Y.23-11.A2","O(S)/10.5-6s-12/RH","PPF1 - side C","C","Y.23-11.A2","6s RO12/12","Sector 15"]
[2005142,28,"8 F","7 F","6 F","5 F","4 F","3 F","2 F","1 F",90.7,"ISE/C.F55.L62/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005143,36,"1 F","5 F","3 F","2 F","7 F","4 F",6,"8 F",90.7,"ISE/C.F55.L62/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[2005144,32,1,2,3,4,5,6,7,8,90.7,"ISE/C.F55.L62/RoT/Y.23-11.A2","O(S)/10.5-8s-12/RH","PPF1 - side C","C","Y.23-11.A2","8s RO12/12","Sector 1"]
[]
[]
["Assumptions (as told by Patrick Werneke):"]
["1) Ribbons are ordered as indicated by figure in appendix A of the document \"Routing of the Optical Fibre Ribbons\". (taken from ATL-IS-ES-0098 V7b)"]
["2) The left most ribbon in the figure (i.e. the ribbon with the lowest disk number) is closest to the cryostat wall."]
["3) The delivery cables (between USA 15 and calorimeter flange) are oriented such that if the white dot is oriented according to the installation drawing \"Fibre ribbon and ribbon cable layout at PPF1\" (Patrick Werneke on 19.3.2006), the ribbon nr. 1 is most away from the cryostat wall, while ribbon nr. 8 (or 6) is closest to the cryostat wall)."]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}