Design of a "Digital Atlas Vme Electronics" ( DAVE ) Module

Maurice Goodrick <goodrick@hep.phy.cam.ac.uk>

Dave Robinson <robinson@hep.phy.cam.ac.uk>

Rick Shaw <shaw@hep.phy.cam.ac.uk>

Cavendish Laboratory, Department of Physics, University of Cambridge

Martin Postranecky <mp@hep.ucl.ac.uk>

Matthew Warren <warren@hep.ucl.ac.uk>

Department of Physics and Astronomy, University College London

ABSTRACT

SCT has developed a new ATLAS trigger card, DAVE, which was designed, developed and produced, together with some basic firmware, by Cambridge University and UCL.

DAVE provides exact ATLAS CTP functionality, with random trigger, simple   and complex deadtime, ECR, BCR etc. being generated to give exactly the same conditions in standalone as experienced in combined runs.

The hardware design is described, together with various test results. Some description of available firmware is also included, together with few interesting user-cases examples.










/cont.
SUMMARY

SCT needed to update the NIM electronics in USA15 ( providing the trigger for standalone physics runs ) containing Veto Logic which drifts uncontrollably. Also, any adjustments to the trigger rate need to be made manually.

First thoughts were to replace this simple logic by a 6U VME card, but this quickly grew to add more generic features.

One significant enhancement was to adopt all ATLAS CTP functions to exactly duplicate ATLAS running conditions, whilst incorporating much generic functionality. This evolved the DAVE card into a powerful and flexible logic module, potentially useful to all ATLAS subsystems as well as for other non-ATLAS users.

DAVE communication is by standard VME or by USB, allowing use inside VME-TTC crate or stand-alone on a bench-top. For this reason, +5V is the single power input ( from VME backplane or stand-alone power supply ),     with all other power buses being generated on-board.

DAVE provides exact ATLAS CTP functionality, with random trigger, simple and complex deadtime, ECR, BCR etc. being generated to give exact same conditions in standalone as experienced in combined runs.

In addition, a large 'trigger sequence playback' is incorporated on a 72Mbit SRAM, which gives us up to 52 seconds history of trigger playback at 75kHz L1 trigger rate ( e.g. on interrupt by system BUSY ).

The final design is a single 6U VME card with 2 clock inputs and outputs ( as NIM or ECL on LEMO connectors ) and 8 programmable data inputs and outputs ( as NIM or TTL on LEMOs ), containing a large Xilinx Spartan 3E 1600 ( XC3S1600E-FCG400C ) FPGA, 4Mbx18 SRAM ( GS8642Z18GB 1671 ), on-board 80.15733MHz clock X-tal generator, PLL ( ICS581-02 ) and CERN 'Delay25' delay lines, together with a 40-pin expansion header for possible daughter card(s).

Total of three prototype DAVE modules have been produced and tested by Cambridge and UCL. Further 17 production modules, with some modifications based on the test results, are being manufactured to be delivered to users in the autumn 2011. Additional firmware, suggested by various potential users, is also being developed.

