## Slide 1: HEP Electronics
TIM Frequency Trigger Veto Status
Matthew Warren Martin Postranecky

## Slide 2: TIM Fixed Frequency Veto Status
Testing showed TIM performance much worse than software model predicted.
To isolate the problem:
  TIM firmware equipped with Trigger-Period-History logging and Veto and Vetoed-Trigger counters.
  Randomness of hardware triggers checked (problems were found, now using TTCvi random triggers)
  Software re-worked by hardware engineer as check against original (after some hiccips, all OK)
  Software tuned to replicate hardware more closely ( e.g. no trigs at <7clk period).
  Much longer hardware test runs (20-100M triggers) to reduce statistical errors.
Overall results show TIM <10x less efficient that software model predicts BUT with acceptable Veto rates.

## Slide 3: Probability of a False Veto
Note: Non-linearity/missing points due to insufficient data
With a match setting at 8, only 3 false vetos (of 1ms) expected per hour.