## Slide 1
ATLAS SCT/Pixel TIM FDR/PRR
28 June 2004
Physics & Astronomy HEP Electronics
John Lane, Martin Postranecky, Matthew Warren
TIMING AND JITTER

## Slide 2: TIMING
The BC clock is output to all BOC/ROD slots as differential PECL. Point-to-point balanced tracks of identical length on the backplane are used for all slots, providing a synchronised clock for all BOCs & RODs
The 8x commands TTC(n) are all clocked out onto the backplane simultaneously
This TTCCLKB is delayed by an adjustable delay ( 6 bits of 0.5nsec ), pre-set by a ROD SETUP DIL switch. This allows for adjustments of the Setup and Hold times of the TTC(n) commands at the RODs to be made

## Slide 5
ECLEXTCLK
ECLEXTCLK2
CLK0
CLK00
CLOCK40DES1
BCCLK1B
9x CLOCK40
8x CLOCK40
SW8
NIMCLKOUT
ECLCLKOUT1
ECLCLKOUT2
8x
F/F
TTCout(0-7)
U47 DL4
SW7
TIM Setup
TTC(7-0)A
TTC(7-0)B
ROD Setup
PECL Drivers
SW9
TRIGCLK
Trigger Window
INT_CLK
EXTCLKB
CLKIN1
CLKIN2
MCLK1
SACLKB
TTCCLK1B
ENSACLK
ENINTCLK
CLKINB1
U45
SACLKLED
U56
BCCLKLED
U39
CT(5:0)
PCLKB
U42
CLKINB2
DL2OUT
8x
F/F
DL2OUTB
U44
CLKINB4
DL4OUT
U50
DL4OUTB
DL1OUT
NIMEXTCLK
U33
U42
80Mhz Osc.
U412
U44
U44
U46 DL2
WD(5:0)
Setup
Delay
U69
DL
WS(5:0)
Size
U62
DL
SW10
Size Comp.
U61
DL
U63
DL
U44
U52
TIMCLK1L
TIMCLK2L
TIMCLK3L
TTCCLK2B
U52
TTCCLK2L
FPGA2
FPGA2
FPGA2
FPGA2
FPGA2
FPGA2
FPGA2
FPGA1
U42
TIM3 Clock Flow
HEP
MP/MRMW v2.0 11-05-04
U36
EXTCLKLED
EXTCLK
U402
U412
U38
CLK
MUX
1
U57
CLOCK40DES2
CLOCK40
BCCLK1B
U48 DL1
U58
CLK
MUX
2
TTCrm/rq
U51
Notes: CLOCK AND COMMANDS TIMING ON THE BACKPLANE :
When in the RUN MODE, the TTC supplies the machine clock via the TTCrx ASIC.
There is a couple of delay lines on TIM, allowing for independent adjustments of ROD SETUP ( for TTC outputs timing ) and TIM SETUP ( of internal timings ). These delay lines are set by DIL switches as 6-bits in 0.5 nsec steps, giving more than adequate coverage over the 25nsec clock.
There is an additional delay adjustments available for the STAND-ALONE clock, set by the CLOCK DELAY register as 6-bits of 0.5nsec steps, which can be used to scan.
The 40MHz clock is distributed to all BOC cards as 16 individual differential PECL pairs via the J3 backplane. The devices chosen for this task are the MOTOROLA MC100E111JC 1:9 PECL DIFFERENTIAL CLOCK DRIVERs, which guarantee channel-to-channel skew to be below 50 ps.
Each line of the differential pair has a 270R load resistor at the transmitter, and is terminated by 100R between the differential pair at the BOC receiver end.
The eight active-low TTC(0-7) outputs are bussed to RODs on two separate backplane buses, each for 8x RODs. The devices chosen, PHILIPS N74ABT574D, are Advanced BiCMOS Bus Interface drivers. These are clocked via the aboce ROD SETUP clock delay.

## Slide 6: TIMING ON BACKPLANE
Clock on Test Board in Slot 14
Trigger on Test Board in Slot 14
5.0nS/div
SetUp Time ~12nS
Hold Time ~ 12nS

## Slide 7: TIMING ON BACKPLANE
Clock on Test Board in Slot 21
Trigger on Test Board in Slot 21
5.0nS/div
SetUp Time ~10nS
Hold Time ~ 14nS

## Slide 8: JITTER ON BACKPLANE
SA CLOCK on TEST BOARD in Slot 19
SA CLOCK on TEST BOARD in Slot 14
500ps/div
Delay 10uS
Max.Jitter ~ 600pS p-p

## Slide 9: JITTER ON TIM
Stand-Alone PCLKB output from TIM-3
Trigger not running
200nS/div
Delay 10uS
Jitter ~ 350pS

## Slide 10: JITTER ON TIM
Stand-Alone PCLKB output from TIM-3
All TTC(n) running
200nS/div
Delay 10uS
Jitter ~ 300pS