PLDocument:  Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.doc

TITLE PAGE  Fri Dec 08 14:58:42 2000

R MACHXL6.2.0.18 - (c) Copyright MINC Incorporated 1987-1998

==============================================================================

TITLE    : HELIX DRIVER PLD2: CONTROL LOGIC

FILE     : Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test

DATE     : Fri Dec 08 14:58:42 2000

ENGINEER : Gil Nixon / John Lane / Dominic A Hayes / Matt Warren

COMPANY  : University College London

COMMENTS : Mach5 192/120-7YC

==============================================================================

MODULES  :

Document Generator     	  3.69

File Handler           	  6.2

Language Compiler      	  3.83

Architectural Optimizer	  3.110

Device Lib Scan        	  3.2

Device Library         	  3.1

Device Partition       	  3.14

Device Fusemap         	  3.88

SWITCH VALUES :

(Value in parenthesis represents batch mode switch value)

PLCOMP PRODUCT TERM LIMIT : 128

PLOPT  PRODUCT TERM LIMIT : 128

PLOPT REDUCTION  :   Espresso (1)

NODE GENERATION  :   Procedure Instantiation

Arithmetic and Relational Operators (1)

PLDocument:  Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.doc

EQUATIONS  Fri Dec 08 14:58:42 2000

EQUATIONS FOR SYSTEM

INPUT SIGNALS (38) :

db_clk

reset

pld_ck

trig

test

LOW_TRUE   writeb

read_feedback

spare[20..0]

soft_test

soft_trig

output_data_set

hsd_mode

access_data

access_sl_sent

LOW_TRUE   nres

access_tp_mask

tp_ck

access_status

OUTPUT SIGNALS (58) :

test_pulse[14..0]

trig_sd

ser_load[14..0]

nreset

db[23..0]

trigger

output_busy

REDUCED EQUATIONS:

test_pulse[14].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[13].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[12].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[11].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[10].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[9].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[8].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[7].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[6].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[5].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[4].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[3].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[2].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[1].EQN = pld_ck ;  "(1 term, 1 symbol)

test_pulse[0].EQN = pld_ck ;  "(1 term, 1 symbol)

trig_sd.EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[14].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[13].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[12].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[11].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[10].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[9].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[8].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[7].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[6].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[5].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[4].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[3].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[2].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[1].EQN = pld_ck ;  "(1 term, 1 symbol)

ser_load[0].EQN = pld_ck ;  "(1 term, 1 symbol)

nreset.EQN = pld_ck ;  "(1 term, 1 symbol)

db[23].EQN = 0 ;  "(1 term, 0 symbols)

db[23].OE = 0 ;  "(1 term, 0 symbols)

db[22].EQN = 0 ;  "(1 term, 0 symbols)

db[22].OE = 0 ;  "(1 term, 0 symbols)

db[21].EQN = 0 ;  "(1 term, 0 symbols)

db[21].OE = 0 ;  "(1 term, 0 symbols)

db[20].EQN = 0 ;  "(1 term, 0 symbols)

db[20].OE = 0 ;  "(1 term, 0 symbols)

db[19].EQN = 0 ;  "(1 term, 0 symbols)

db[19].OE = 0 ;  "(1 term, 0 symbols)

db[18].EQN = 0 ;  "(1 term, 0 symbols)

db[18].OE = 0 ;  "(1 term, 0 symbols)

db[17].EQN = 0 ;  "(1 term, 0 symbols)

db[17].OE = 0 ;  "(1 term, 0 symbols)

db[16].EQN = 0 ;  "(1 term, 0 symbols)

db[16].OE = 0 ;  "(1 term, 0 symbols)

db[15].EQN = 0 ;  "(1 term, 0 symbols)

db[15].OE = 0 ;  "(1 term, 0 symbols)

db[14].EQN = 0 ;  "(1 term, 0 symbols)

db[14].OE = 0 ;  "(1 term, 0 symbols)

db[13].EQN = 0 ;  "(1 term, 0 symbols)

db[13].OE = 0 ;  "(1 term, 0 symbols)

db[12].EQN = 0 ;  "(1 term, 0 symbols)

db[12].OE = 0 ;  "(1 term, 0 symbols)

db[11].EQN = 0 ;  "(1 term, 0 symbols)

db[11].OE = 0 ;  "(1 term, 0 symbols)

db[10].EQN = 0 ;  "(1 term, 0 symbols)

db[10].OE = 0 ;  "(1 term, 0 symbols)

db[9].EQN = 0 ;  "(1 term, 0 symbols)

db[9].OE = 0 ;  "(1 term, 0 symbols)

db[8].EQN = 0 ;  "(1 term, 0 symbols)

db[8].OE = 0 ;  "(1 term, 0 symbols)

db[7].EQN = 0 ;  "(1 term, 0 symbols)

db[7].OE = 0 ;  "(1 term, 0 symbols)

db[6].EQN = 0 ;  "(1 term, 0 symbols)

db[6].OE = 0 ;  "(1 term, 0 symbols)

db[5].EQN = 0 ;  "(1 term, 0 symbols)

db[5].OE = 0 ;  "(1 term, 0 symbols)

db[4].EQN = 0 ;  "(1 term, 0 symbols)

db[4].OE = 0 ;  "(1 term, 0 symbols)

db[3].EQN = 0 ;  "(1 term, 0 symbols)

db[3].OE = 0 ;  "(1 term, 0 symbols)

db[2].EQN = 0 ;  "(1 term, 0 symbols)

db[2].OE = 0 ;  "(1 term, 0 symbols)

db[1].EQN = 0 ;  "(1 term, 0 symbols)

db[1].OE = 0 ;  "(1 term, 0 symbols)

db[0].EQN = 0 ;  "(1 term, 0 symbols)

db[0].OE = 0 ;  "(1 term, 0 symbols)

trigger.EQN = pld_ck ;  "(1 term, 1 symbol)

output_busy.EQN = 0 ;  "(1 term, 0 symbols)

PLDocument:  Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.doc

SOLUTIONS  Fri Dec 08 14:58:42 2000

PARTITIONING CRITERIA :

WEIGHT PRICE 10 ;

TEMPLATE =  M4-32/32 OR M4-256/128;

PARTITIONING SOLUTIONS :

==> Solution  1: MV192_120

FUSEMAP FILES FOR SOLUTION 1:

Device 1 (MV192_120) : Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.j1

PLDocument:  Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.doc

PINOUT DIAGRAMS  Fri Dec 08 14:58:42 2000

Device  1 - MV192_120 -- Pinout for QFP package

+-------+------+----------------------+ +-------+------+----------------------+

|  Pin  | Type |        Signal        | |  Pin  | Type |        Signal        |

+-------+------+----------------------+ +-------+------+----------------------+

|    1  |Jtag  |                      | |   51  |GND   |                      |

|    2  |Biput |  ser_load[0]         | |   52  |Vcc   |                      |

|    3  |Biput |  test_pulse[0]       | |   53  |Biput |                      |

|    4  |Biput |  ser_load[5]         | |   54  |Biput |                      |

|    5  |Biput |  test_pulse[5]       | |   55  |Biput |                      |

|    6  |Biput |  ser_load[1]         | |   56  |Biput |                      |

|    7  |Biput |  test_pulse[1]       | |   57  |Biput |                      |

|    8  |Biput |  ser_load[6]         | |   58  |Biput |  read_feedback       |

|    9  |Biput |  test_pulse[6]       | |   59  |Vcc   |                      |

|   10  |GND   |                      | |   60  |GND   |                      |

|   11  |Biput |  ser_load[2]         | |   61  |GND   |                      |

|   12  |Biput |  test_pulse[2]       | |   62  |Vcc   |                      |

|   13  |Biput |  ser_load[7]         | |   63  |Biput |                      |

|   14  |Biput |  test_pulse[7]       | |   64  |Biput |  trig_sd             |

|   15  |Biput |  ser_load[3]         | |   65  |Biput |  trig                |

|   16  |Biput |  test_pulse[3]       | |   66  |Biput |  hsd_mode            |

|   17  |Biput |  ser_load[8]         | |   67  |Biput |  writeb              |

|   18  |Biput |  test_pulse[8]       | |   68  |Biput |                      |

|   19  |In/CLK|  pld_ck              | |   69  |Vcc   |                      |

|   20  |Vcc   |                      | |   70  |GND   |                      |

|   21  |GND   |                      | |   71  |Biput |  db[12]              |

|   22  |In/CLK|  db_clk              | |   72  |Biput |  db[6]               |

|   23  |Biput |  ser_load[4]         | |   73  |Biput |  db[2]               |

|   24  |Biput |  test_pulse[4]       | |   74  |Biput |  db[17]              |

|   25  |Biput |  ser_load[9]         | |   75  |Biput |  spare[11]           |

|   26  |Biput |  test_pulse[9]       | |   76  |Biput |  spare[10]           |

|   27  |Biput |  ser_load[10]        | |   77  |Biput |  spare[9]            |

|   28  |Biput |  test_pulse[10]      | |   78  |Biput |  spare[8]            |

|   29  |Biput |  ser_load[11]        | |   79  |Vcc   |                      |

|   30  |Biput |  test_pulse[11]      | |   80  |GND   |                      |

|   31  |GND   |                      | |   81  |Jtag  |                      |

|   32  |Biput |  ser_load[12]        | |   82  |Biput |                      |

|   33  |Biput |  test_pulse[12]      | |   83  |Biput |                      |

|   34  |Biput |  ser_load[13]        | |   84  |Biput |                      |

|   35  |Biput |  test_pulse[13]      | |   85  |Biput |                      |

|   36  |Biput |  ser_load[14]        | |   86  |Biput |  db[8]               |

|   37  |Biput |  test_pulse[14]      | |   87  |Biput |  db[7]               |

|   38  |Biput |                      | |   88  |Biput |  db[4]               |

|   39  |Biput |  spare[14]           | |   89  |Biput |  spare[12]           |

|   40  |Jtag  |                      | |   90  |GND   |                      |

|   41  |GND   |                      | |   91  |Biput |                      |

|   42  |Vcc   |                      | |   92  |Biput |  access_data         |

|   43  |Biput |                      | |   93  |Biput |  db[15]              |

|   44  |Biput |                      | |   94  |Biput |  db[18]              |

|   45  |Biput |                      | |   95  |Biput |  db[19]              |

|   46  |Biput |                      | |   96  |Biput |  db[22]              |

|   47  |Biput |                      | |   97  |Biput |  spare[13]           |

|   48  |Biput |                      | |   98  |Biput |  db[3]               |

|   49  |Biput |                      | |   99  |In/CLK|  tp_ck               |

|   50  |Biput |  output_busy         | |  100  |Vcc   |                      |

+-------+------+----------------------+ +-------+------+----------------------+

Device  1 - MV192_120 -- Pinout for QFP package (continued)

+-------+------+----------------------+ +-------+------+----------------------+

|  Pin  | Type |        Signal        | |  Pin  | Type |        Signal        |

+-------+------+----------------------+ +-------+------+----------------------+

|  101  |GND   |                      | |  131  |GND   |                      |

|  102  |In/CLK|  soft_trig           | |  132  |Vcc   |                      |

|  103  |Biput |  db[20]              | |  133  |Biput |                      |

|  104  |Biput |  spare[18]           | |  134  |Biput |                      |

|  105  |Biput |  spare[17]           | |  135  |Biput |                      |

|  106  |Biput |  spare[16]           | |  136  |Biput |                      |

|  107  |Biput |  db[14]              | |  137  |Biput |  access_sl_sent      |

|  108  |Biput |  db[16]              | |  138  |Biput |                      |

|  109  |Biput |  spare[15]           | |  139  |Vcc   |                      |

|  110  |Biput |  db[11]              | |  140  |GND   |                      |

|  111  |GND   |                      | |  141  |GND   |                      |

|  112  |Biput |  db[5]               | |  142  |Vcc   |                      |

|  113  |Biput |  spare[7]            | |  143  |Biput |                      |

|  114  |Biput |  spare[6]            | |  144  |Biput |  db[21]              |

|  115  |Biput |  spare[5]            | |  145  |Biput |  spare[3]            |

|  116  |Biput |  spare[4]            | |  146  |Biput |  spare[2]            |

|  117  |Biput |  spare[19]           | |  147  |Biput |  spare[1]            |

|  118  |Biput |  db[0]               | |  148  |Biput |  spare[0]            |

|  119  |Biput |  db[1]               | |  149  |Vcc   |                      |

|  120  |Jtag  |                      | |  150  |GND   |                      |

|  121  |GND   |                      | |  151  |Biput |  nreset              |

|  122  |Vcc   |                      | |  152  |Biput |  output_data_set     |

|  123  |Biput |  db[9]               | |  153  |Biput |  nres                |

|  124  |Biput |  db[10]              | |  154  |Biput |                      |

|  125  |Biput |  reset               | |  155  |Biput |  access_status       |

|  126  |Biput |  db[23]              | |  156  |Biput |  test                |

|  127  |Biput |  soft_test           | |  157  |Biput |  access_tp_mask      |

|  128  |Biput |  spare[20]           | |  158  |Biput |                      |

|  129  |Biput |  db[13]              | |  159  |Vcc   |                      |

|  130  |Biput |  trigger             | |  160  |GND   |                      |

+-------+------+----------------------+ +-------+------+----------------------+

DEVICE SELECTION:

Device         Man  Fam Pack Temp   ICC     TPD     Fmax    Price   User

==> M5-192/120-7YC   AMD CMOS QFP  COM   300.0ma   9.5ns 105.0MHz $ 50.56   0 0

PLDocument:  Y:\ELECTRONICS\ZEUS\HELIX\PLD\PLD2\pld2test.doc

WIRELIST  Fri Dec 08 14:58:42 2000

+------------------+-------------------+-------+

|      Signal      |       Device      |  Pin  |

+------------------+-------------------+-------+

| db_clk           | MV192_120_1       |   22  |

| reset            | MV192_120_1       |  125  |

| pld_ck           | MV192_120_1       |   19  |

| trig             | MV192_120_1       |   65  |

| test             | MV192_120_1       |  156  |

| test_pulse[14]   | MV192_120_1       |   37  |

| test_pulse[13]   | MV192_120_1       |   35  |

| test_pulse[12]   | MV192_120_1       |   33  |

| test_pulse[11]   | MV192_120_1       |   30  |

| test_pulse[10]   | MV192_120_1       |   28  |

| test_pulse[9]    | MV192_120_1       |   26  |

| test_pulse[8]    | MV192_120_1       |   18  |

| test_pulse[7]    | MV192_120_1       |   14  |

| test_pulse[6]    | MV192_120_1       |    9  |

| test_pulse[5]    | MV192_120_1       |    5  |

| test_pulse[4]    | MV192_120_1       |   24  |

| test_pulse[3]    | MV192_120_1       |   16  |

| test_pulse[2]    | MV192_120_1       |   12  |

| test_pulse[1]    | MV192_120_1       |    7  |

| test_pulse[0]    | MV192_120_1       |    3  |

| trig_sd          | MV192_120_1       |   64  |

| ser_load[14]     | MV192_120_1       |   36  |

| ser_load[13]     | MV192_120_1       |   34  |

| ser_load[12]     | MV192_120_1       |   32  |

| ser_load[11]     | MV192_120_1       |   29  |

| ser_load[10]     | MV192_120_1       |   27  |

| ser_load[9]      | MV192_120_1       |   25  |

| ser_load[8]      | MV192_120_1       |   17  |

| ser_load[7]      | MV192_120_1       |   13  |

| ser_load[6]      | MV192_120_1       |    8  |

| ser_load[5]      | MV192_120_1       |    4  |

| ser_load[4]      | MV192_120_1       |   23  |

| ser_load[3]      | MV192_120_1       |   15  |

| ser_load[2]      | MV192_120_1       |   11  |

| ser_load[1]      | MV192_120_1       |    6  |

| ser_load[0]      | MV192_120_1       |    2  |

| nreset           | MV192_120_1       |  151  |

| writeb           | MV192_120_1       |   67  |

| db[23]           | MV192_120_1       |  126  |

| db[22]           | MV192_120_1       |   96  |

| db[21]           | MV192_120_1       |  144  |

| db[20]           | MV192_120_1       |  103  |

| db[19]           | MV192_120_1       |   95  |

| db[18]           | MV192_120_1       |   94  |

| db[17]           | MV192_120_1       |   74  |

| db[16]           | MV192_120_1       |  108  |

| db[15]           | MV192_120_1       |   93  |

| db[14]           | MV192_120_1       |  107  |

| db[13]           | MV192_120_1       |  129  |

| db[12]           | MV192_120_1       |   71  |

| db[11]           | MV192_120_1       |  110  |

+------------------+-------------------+-------+

+------------------+-------------------+-------+

|      Signal      |       Device      |  Pin  |

+------------------+-------------------+-------+

| db[10]           | MV192_120_1       |  124  |

| db[9]            | MV192_120_1       |  123  |

| db[8]            | MV192_120_1       |   86  |

| db[7]            | MV192_120_1       |   87  |

| db[6]            | MV192_120_1       |   72  |

| db[5]            | MV192_120_1       |  112  |

| db[4]            | MV192_120_1       |   88  |

| db[3]            | MV192_120_1       |   98  |

| db[2]            | MV192_120_1       |   73  |

| db[1]            | MV192_120_1       |  119  |

| db[0]            | MV192_120_1       |  118  |

| read_feedback    | MV192_120_1       |   58  |

| spare[20]        | MV192_120_1       |  128  |

| spare[19]        | MV192_120_1       |  117  |

| spare[18]        | MV192_120_1       |  104  |

| spare[17]        | MV192_120_1       |  105  |

| spare[16]        | MV192_120_1       |  106  |

| spare[15]        | MV192_120_1       |  109  |

| spare[14]        | MV192_120_1       |   39  |

| spare[13]        | MV192_120_1       |   97  |

| spare[12]        | MV192_120_1       |   89  |

| spare[11]        | MV192_120_1       |   75  |

| spare[10]        | MV192_120_1       |   76  |

| spare[9]         | MV192_120_1       |   77  |

| spare[8]         | MV192_120_1       |   78  |

| spare[7]         | MV192_120_1       |  113  |

| spare[6]         | MV192_120_1       |  114  |

| spare[5]         | MV192_120_1       |  115  |

| spare[4]         | MV192_120_1       |  116  |

| spare[3]         | MV192_120_1       |  145  |

| spare[2]         | MV192_120_1       |  146  |

| spare[1]         | MV192_120_1       |  147  |

| spare[0]         | MV192_120_1       |  148  |

| soft_test        | MV192_120_1       |  127  |

| soft_trig        | MV192_120_1       |  102  |

| trigger          | MV192_120_1       |  130  |

| output_data_set  | MV192_120_1       |  152  |

| output_busy      | MV192_120_1       |   50  |

| hsd_mode         | MV192_120_1       |   66  |

| access_data      | MV192_120_1       |   92  |

| access_sl_sent   | MV192_120_1       |  137  |

| nres             | MV192_120_1       |  153  |

| access_tp_mask   | MV192_120_1       |  157  |

| tp_ck            | MV192_120_1       |   99  |

| access_status    | MV192_120_1       |  155  |

+------------------+-------------------+-------+