{"text_format":"5","workbook":"xls","n_sheets":3,"sheets":["HELIX-to-Driver","Driver-to-HELIX","Signal Summary"],"props":{"creator":"mp","last_modified_by":"Matthew Warren","company":"UCL"},"not_rendered":{"defined_names":6},"read":"whole","wrapped":"gz","date_system":"1900","formulas":"cached_only"}

{"sheet":"HELIX-to-Driver","index":0,"n_rows":103,"n_cols":37,"rows_kept":103,"headers":{"header":["","Page"]},"flags":["formulas_cached_only"]}
[]
[null,"HELIX Modules to HELIX Driver -- 18/6/01"]
[null,null,"HELIX MODULES",{"$nulls":6},"PATCHBOX",{"$nulls":11},"CABLE",{"$nulls":3},"PB Z",null,"SHORT CABLE",{"$nulls":3},"HELIX DRIVER"]
[]
[{"$nulls":3},"Cable Sig No. [for Combo Cable 'Level' add to modifier]"]
[null,null,"Lvl Mod",1,2,3,4,5,null,"Patch Box","PCB Slot","B/Plane Connect","Cable Conn. ID","Trig","Clock","Test Pulse","Not-Reset","Serial Load","Conn. ID","Conn. Type",null,"Cable Mark","Cable ID","Cable Termination",null,"Connector Position ID",null,"Cable ID","HD End Conn.","HD End Conn.  Label",null,"FP Conn.","FP Conn. Type","Slot","Driver Ser. No.","VME Base Addr hex 0000","Chan. Range"]
[]
[null,null,0,"W0 S00","W1 S00","W2 S00","W3 S00","W0 S01",null,"A","3","P1/1-15","A-3-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","A-3-1","34-way (M)",{"$nulls":3},"A-3-1","34-way","01-B2",null,"B2","34-way",5,201,"0x21","1-5"]
[null,null,5,"W1 S01","W2 S01","W3 S01","W0 S02","W1 S02",null,"A","3","P1/16-31","A-3-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","A-3-2","34-way (M)",{"$nulls":3},"A-3-2","20-way","00-C2",null,"C2","20-way",4,200,"0x20","11-15"]
[null,null,10,"W2 S02","W3 S02","X","X","X",null,"A","3","P2/1-15","A-3-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","A-3-3","34-way (M)",{"$nulls":3},"A-3-3","20-way","00-C1",null,"C1","20-way",4,200,"0x20","6-10"]
[null,null,15,"X","X","X","X","X",null,"A","3","P2/16-31","A-3-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","A-3-4","34-way (M)",{"$nulls":3},"A-3-4","34-way","00-B2",null,"B2","34-way",4,200,"0x20","1-5"]
[null,null,0,"W0 S00","W1 S00","W2 S00","W3 S00","W0 S01",null,"A","4","P1/1-15","A-4-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","A-4-1","34-way (M)",{"$nulls":3},"A-4-1","34-way","01-A1",null,"A1","34-way",5,201,"0x21","1-5"]
[null,null,5,"W1 S01","W2 S01","W3 S01","W0 S02","W1 S02",null,"A","4","P1/16-31","A-4-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","A-4-2","34-way (M)",{"$nulls":3},"A-4-2","34-way","00-B1",null,"B1","34-way",4,200,"0x20","11-15"]
[null,null,10,"W2 S02","W3 S02","X","X","X",null,"A","4","P2/1-15","A-4-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","A-4-3","34-way (M)",{"$nulls":3},"A-4-3","34-way","00-A2",null,"A2","34-way",4,200,"0x20","6-10"]
[null,null,15,"X","X","X","X","X",null,"A","4","P2/16-31","A-4-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","A-4-4","34-way (M)",{"$nulls":3},"A-4-4","34-way","00-A1",null,"A1","34-way",4,200,"0x20","1-5"]
[null,null,0,"C0 L00 M0","C0 L00 M1","C0 L00 M2","C0 L00 M3","C0 L00 M4",null,"A","9","P1/1-15","A-9-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","A-9-1","34-way (M)",{"$nulls":3},"A-9-1","20-way","02-C1",null,"C1","20-way",6,202,"0x22","6-10"]
[null,null,5,"C1 L00 M0","C1 L00 M1","C1 L00 M2","C1 L00 M3","C1 L00 M4",null,"A","9","P1/16-31","A-9-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","A-9-2","34-way (M)",{"$nulls":3},"A-9-2","34-way","02-B2",null,"B2","34-way",6,202,"0x22","1-5"]
[null,null,10,"C2 L00 M0","C2 L00 M1","C2 L00 M2","C2 L00 M3","C2 L00 M4",null,"A","9","P2/1-15","A-9-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","A-9-3","34-way (M)",{"$nulls":3},"A-9-3","20-way","01-C2",null,"C2","20-way",5,201,"0x21","11-15"]
[null,null,15,"C2 L01 M0","C2 L01 M1","C2 L01 M2","C2 L01 M3","C2 L01 M4",null,"A","9","P2/16-31","A-9-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","A-9-4","34-way (M)",{"$nulls":3},"A-9-4","20-way","01-C1",null,"C1","20-way",5,201,"0x21","6-10"]
[null,null,0,"C0 L00 M0","C0 L00 M1","C0 L00 M2","C0 L00 M3","C0 L00 M4",null,"A","10","P1/1-15","A-10-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","A-10-1","34-way (M)",{"$nulls":3},"A-10-1","34-way","02-A2",null,"A2","34-way",6,202,"0x22","6-10"]
[null,null,5,"C1 L00 M0","C1 L00 M1","C1 L00 M2","C1 L00 M3","C1 L00 M4",null,"A","10","P1/16-31","A-10-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","A-10-2","34-way (M)",{"$nulls":3},"A-10-2","34-way","02-A1",null,"A1","34-way",6,202,"0x22","1-5"]
[null,null,10,"C2 L00 M0","C2 L00 M1","C2 L00 M2","C2 L00 M3","C2 L00 M4",null,"A","10","P2/1-15","A-10-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","A-10-3","34-way (M)",{"$nulls":3},"A-10-3","34-way","01-B1",null,"B1","34-way",5,201,"0x21","11-15"]
[null,null,15,"C2 L01 M0","C2 L01 M1","C2 L01 M2","C2 L01 M3","C2 L01 M4",null,"A","10","P2/16-31","A-10-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","A-10-4","34-way (M)",{"$nulls":3},"A-10-4","34-way","01-A2",null,"A2","34-way",5,201,"0x21","6-10"]
[null,null,0,"C1 L01 M0","C1 L01 M1","C1 L01 M2","C1 L01 M3","C1 L01 M4",null,"A","15","P1/1-15","A-15-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","A-15-1","34-way (M)",{"$nulls":3},"A-15-1","20-way","03-C2",null,"C2","20-way",7,203,"0x23","11-15"]
[null,null,5,"C1 L02 M0","C1 L02 M1","C1 L02 M2","C1 L02 M3","C1 L02 M4",null,"A","15","P1/16-31","A-15-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","A-15-2","34-way (M)",{"$nulls":3},"A-15-2","20-way","03-C1",null,"C1","20-way",7,203,"0x23","6-10"]
[null,null,10,"C2 L02 M0","C2 L02 M1","C2 L02 M2","C2 L02 M3","C2 L02 M4",null,"A","15","P2/1-15","A-15-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","A-15-3","34-way (M)",{"$nulls":3},"A-15-3","34-way","03-B2",null,"B2","34-way",7,203,"0x23","1-5"]
[null,null,15,"C2 L03 M0","C2 L03 M1","C2 L03 M2","C2 L03 M3","C2 L03 M4",null,"A","15","P2/16-31","A-15-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","A-15-4","34-way (M)",{"$nulls":3},"A-15-4","20-way","02-C2",null,"C2","20-way",6,202,"0x22","11-15"]
[null,null,0,"C1 L01 M0","C1 L01 M1","C1 L01 M2","C1 L01 M3","C1 L01 M4",null,"A","16","P1/1-15","A-16-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","A-16-1","34-way (M)",{"$nulls":3},"A-16-1","34-way","03-B1",null,"B1","34-way",7,203,"0x23","11-15"]
[null,null,5,"C1 L02 M0","C1 L02 M1","C1 L02 M2","C1 L02 M3","C1 L02 M4",null,"A","16","P1/16-31","A-16-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","A-16-2","34-way (M)",{"$nulls":3},"A-16-2","34-way","03-A2",null,"A2","34-way",7,203,"0x23","6-10"]
[null,null,10,"C2 L02 M0","C2 L02 M1","C2 L02 M2","C2 L02 M3","C2 L02 M4",null,"A","16","P2/1-15","A-16-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","A-16-3","34-way (M)",{"$nulls":3},"A-16-3","34-way","03-A1",null,"A1","34-way",7,203,"0x23","1-5"]
[null,null,15,"C2 L03 M0","C2 L03 M1","C2 L03 M2","C2 L03 M3","C2 L03 M4",null,"A","16","P2/16-31","A-16-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","A-16-4","34-way (M)",{"$nulls":3},"A-16-4","34-way","02-B1",null,"B1","34-way",6,202,"0x22","11-15"]
[null,null,0,"W0 S03","W1 S03","W2 S03","W3 S03","W0 S04",null,"B","3","P1/1-15","B-3-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","B-3-1","34-way (M)",{"$nulls":3},"B-3-1","34-way","05-B2",null,"B2","34-way",9,205,"0x25","1-5"]
[null,null,5,"W1 S04","W2 S04","W3 S04","W0 S05","W1 S05",null,"B","3","P1/16-31","B-3-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","B-3-2","34-way (M)",{"$nulls":3},"B-3-2","20-way","04-C2",null,"C2","20-way",8,204,"0x24","11-15"]
[null,null,10,"W2 S05","W3 S05","W0 S06","W1 S06","W2 S06",null,"B","3","P2/1-15","B-3-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","B-3-3","34-way (M)",{"$nulls":3},"B-3-3","20-way","04-C1",null,"C1","20-way",8,204,"0x24","6-10"]
[null,null,15,"W3 S06","X","X","X","X",null,"B","3","P2/16-31","B-3-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","B-3-4","34-way (M)",{"$nulls":3},"B-3-4","34-way","04-B2",null,"B2","34-way",8,204,"0x24","1-5"]
[null,null,0,"W0 S03","W1 S03","W2 S03","W3 S03","W0 S04",null,"B","4","P1/1-15","B-4-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","B-4-1","34-way (M)",{"$nulls":3},"B-4-1","34-way","05-A1",null,"A1","34-way",9,205,"0x25","1-5"]
[null,null,5,"W1 S04","W2 S04","W3 S04","W0 S05","W1 S05",null,"B","4","P1/16-31","B-4-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","B-4-2","34-way (M)",{"$nulls":3},"B-4-2","34-way","04-B1",null,"B1","34-way",8,204,"0x24","11-15"]
[null,null,10,"W2 S05","W3 S05","W0 S06","W1 S06","W2 S06",null,"B","4","P2/1-15","B-4-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","B-4-3","34-way (M)",{"$nulls":3},"B-4-3","34-way","04-A2",null,"A2","34-way",8,204,"0x24","6-10"]
[null,null,15,"W3 S06","X","X","X","X",null,"B","4","P2/16-31","B-4-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","B-4-4","34-way (M)",{"$nulls":3},"B-4-4","34-way","04-A1",null,"A1","34-way",8,204,"0x24","1-5"]
[null,null,0,"C0 L01 M0","C0 L01 M1","C0 L01 M2","C0 L01 M3","C0 L01 M4",null,"B","9","P1/1-15","B-9-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","B-9-1","34-way (M)",{"$nulls":3},"B-9-1","20-way","06-C1",null,"C1","20-way",10,206,"0x26","6-10"]
[null,null,5,"C1 L03 M0","C1 L03 M1","C1 L03 M2","C1 L03 M3","C1 L03 M4",null,"B","9","P1/16-31","B-9-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","B-9-2","34-way (M)",{"$nulls":3},"B-9-2","34-way","06-B2",null,"B2","34-way",10,206,"0x26","1-5"]
[null,null,10,"C2 L04 M0","C2 L04 M1","C2 L04 M2","C2 L04 M3","C2 L04 M4",null,"B","9","P2/1-15","B-9-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","B-9-3","34-way (M)",{"$nulls":3},"B-9-3","20-way","05-C2",null,"C2","20-way",9,205,"0x25","11-15"]
[null,null,15,"C2 L05 M0","C2 L05 M1","C2 L05 M2","C2 L05 M3","C2 L05 M4",null,"B","9","P2/16-31","B-9-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","B-9-4","34-way (M)",{"$nulls":3},"B-9-4","20-way","05-C1",null,"C1","20-way",9,205,"0x25","6-10"]
[null,null,0,"C0 L01 M0","C0 L01 M1","C0 L01 M2","C0 L01 M3","C0 L01 M4",null,"B","10","P1/1-15","B-10-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","B-10-1","34-way (M)",{"$nulls":3},"B-10-1","34-way","06-A2",null,"A2","34-way",10,206,"0x26","6-10"]
[null,null,5,"C1 L03 M0","C1 L03 M1","C1 L03 M2","C1 L03 M3","C1 L03 M4",null,"B","10","P1/16-31","B-10-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","B-10-2","34-way (M)",{"$nulls":3},"B-10-2","34-way","06-A1",null,"A1","34-way",10,206,"0x26","1-5"]
[null,null,10,"C2 L04 M0","C2 L04 M1","C2 L04 M2","C2 L04 M3","C2 L04 M4",null,"B","10","P2/1-15","B-10-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","B-10-3","34-way (M)",{"$nulls":3},"B-10-3","34-way","05-B1",null,"B1","34-way",9,205,"0x25","11-15"]
[null,null,15,"C2 L05 M0","C2 L05 M1","C2 L05 M2","C2 L05 M3","C2 L05 M4",null,"B","10","P2/16-31","B-10-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","B-10-4","34-way (M)",{"$nulls":3},"B-10-4","34-way","05-A2",null,"A2","34-way",9,205,"0x25","6-10"]
[null,null,0,"C1 L04 M0","C1 L04 M1","C1 L04 M2","C1 L04 M3","C1 L04 M4",null,"B","15","P1/1-15","B-15-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","B-15-1","34-way (M)",{"$nulls":3},"B-15-1","20-way","07-C2",null,"C2","20-way",11,207,"0x27","11-15"]
[null,null,5,"C1 L06 M0","C1 L06 M1","C1 L06 M2","C1 L06 M3","C1 L06 M4",null,"B","15","P1/16-31","B-15-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","B-15-2","34-way (M)",{"$nulls":3},"B-15-2","20-way","07-C1",null,"C1","20-way",11,207,"0x27","6-10"]
[null,null,10,"C2 L07 M0","C2 L07 M1","C2 L07 M2","C2 L07 M3","C2 L07 M4",null,"B","15","P2/1-15","B-15-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","B-15-3","34-way (M)",{"$nulls":3},"B-15-3","34-way","07-B2",null,"B2","34-way",11,207,"0x27","1-5"]
[null,null,15,"X","X","X","X","X",null,"B","15","P2/16-31","B-15-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","B-15-4","34-way (M)",{"$nulls":3},"B-15-4","20-way","06-C2",null,"C2","20-way",10,206,"0x26","11-15"]
[null,null,0,"C1 L04 M0","C1 L04 M1","C1 L04 M2","C1 L04 M3","C1 L04 M4",null,"B","16","P1/1-15","B-16-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","B-16-1","34-way (M)",{"$nulls":3},"B-16-1","34-way","07-B1",null,"B1","34-way",11,207,"0x27","11-15"]
[null,null,5,"C1 L06 M0","C1 L06 M1","C1 L06 M2","C1 L06 M3","C1 L06 M4",null,"B","16","P1/16-31","B-16-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","B-16-2","34-way (M)",{"$nulls":3},"B-16-2","34-way","07-A2",null,"A2","34-way",11,207,"0x27","6-10"]
[null,null,10,"C2 L07 M0","C2 L07 M1","C2 L07 M2","C2 L07 M3","C2 L07 M4",null,"B","16","P2/1-15","B-16-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","B-16-3","34-way (M)",{"$nulls":3},"B-16-3","34-way","07-A1",null,"A1","34-way",11,207,"0x27","1-5"]
[null,null,15,"X","X","X","X","X",null,"B","16","P2/16-31","B-16-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","B-16-4","34-way (M)",{"$nulls":3},"B-16-4","34-way","06-B1",null,"B1","34-way",10,206,"0x26","11-15"]
[null,null,0,"W0 S07","W1 S07","W2 S07","W3 S07","W0 S08",null,"C","3","P1/1-15","C-3-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","C-3-1","34-way (M)",{"$nulls":3},"C-3-1","34-way","09-B2",null,"B2","34-way",13,209,"0x29","1-5"]
[null,null,5,"W1 S08","W2 S08","W3 S08","W0 S09","W1 S09",null,"C","3","P1/16-31","C-3-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","C-3-2","34-way (M)",{"$nulls":3},"C-3-2","20-way","08-C2",null,"C2","20-way",12,208,"0x28","11-15"]
[null,null,10,"W2 S09","W3 S09","X","X","X",null,"C","3","P2/1-15","C-3-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","C-3-3","34-way (M)",{"$nulls":3},"C-3-3","20-way","08-C1",null,"C1","20-way",12,208,"0x28","6-10"]
[null,null,15,"X","X","X","X","X",null,"C","3","P2/16-31","C-3-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","C-3-4","34-way (M)",{"$nulls":3},"C-3-4","34-way","08-B2",null,"B2","34-way",12,208,"0x28","1-5"]
[null,null,0,"W1 S08","W2 S08","W3 S08","W0 S09","W1 S09",null,"C","4","P1/1-15","C-4-2",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","C-4-2","34-way (M)",{"$nulls":3},"C-4-2","34-way","09-A1",null,"A1","34-way",13,209,"0x29","1-5"]
[null,null,5,"W0 S07","W1 S07","W2 S07","W3 S07","W0 S08",null,"C","4","P1/16-31","C-4-1",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","C-4-1","34-way (M)",{"$nulls":3},"C-4-1","34-way","08-B1",null,"B1","34-way",12,208,"0x28","11-15"]
[null,null,10,"W2 S09","W3 S09","X","X","X",null,"C","4","P2/1-15","C-4-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","C-4-3","34-way (M)",{"$nulls":3},"C-4-3","34-way","08-A2",null,"A2","34-way",12,208,"0x28","6-10"]
[null,null,15,"X","X","X","X","X",null,"C","4","P2/16-31","C-4-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","C-4-4","34-way (M)",{"$nulls":3},"C-4-4","34-way","08-A1",null,"A1","34-way",12,208,"0x28","1-5"]
[null,null,0,"C1 L05 M0","C1 L05 M1","C1 L05 M2","C1 L05 M3","C1 L05 M4",null,"C","9","P1/1-15","C-9-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","C-9-1","34-way (M)",{"$nulls":3},"C-9-1","20-way","10-C1",null,"C1","20-way",14,210,"0x2A","6-10"]
[null,null,5,"C1 L06 M0","C1 L06 M1","C1 L06 M2","C1 L06 M3","C1 L06 M4",null,"C","9","P1/16-31","C-9-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","C-9-2","34-way (M)",{"$nulls":3},"C-9-2","34-way","10-B2",null,"B2","34-way",14,210,"0x2A","1-5"]
[null,null,10,"C2 L08 M0","C2 L08 M1","C2 L08 M2","C2 L08 M3","C2 L08 M4",null,"C","9","P2/1-15","C-9-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","C-9-3","34-way (M)",{"$nulls":3},"C-9-3","20-way","09-C2",null,"C2","20-way",13,209,"0x29","11-15"]
[null,null,15,"C2 L09 M0","C2 L09 M1","C2 L09 M2","C2 L09 M3","C2 L09 M4",null,"C","9","P2/16-31","C-9-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","C-9-4","34-way (M)",{"$nulls":3},"C-9-4","20-way","09-C1",null,"C1","20-way",13,209,"0x29","6-10"]
[null,null,0,"C1 L05 M0","C1 L05 M1","C1 L05 M2","C1 L05 M3","C1 L05 M4",null,"C","10","P1/1-15","C-10-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","C-10-1","34-way (M)",{"$nulls":3},"C-10-1","34-way","10-A2",null,"A2","34-way",14,210,"0x2A","6-10"]
[null,null,5,"C1 L06 M0","C1 L06 M1","C1 L06 M2","C1 L06 M3","C1 L06 M4",null,"C","10","P1/16-31","C-10-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","C-10-2","34-way (M)",{"$nulls":3},"C-10-2","34-way","10-A1",null,"A1","34-way",14,210,"0x2A","1-5"]
[null,null,10,"C2 L08 M0","C2 L08 M1","C2 L08 M2","C2 L08 M3","C2 L08 M4",null,"C","10","P2/1-15","C-10-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","C-10-3","34-way (M)",{"$nulls":3},"C-10-3","34-way","09-B1",null,"B1","34-way",13,209,"0x29","11-15"]
[null,null,15,"C2 L09 M0","C2 L09 M1","C2 L09 M2","C2 L09 M3","C2 L09 M4",null,"C","10","P2/16-31","C-10-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","C-10-4","34-way (M)",{"$nulls":3},"C-10-4","34-way","09-A2",null,"A2","34-way",13,209,"0x29","6-10"]
[null,null,0,"C0 L02 M0","C0 L02 M1","C0 L02 M2","C0 L02 M3","C0 L02 M4",null,"C","15","P1/1-15","C-15-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","C-15-1","34-way (M)",{"$nulls":3},"C-15-1","20-way","11-C2",null,"C2","20-way",15,211,"0x2B","11-15"]
[null,null,5,"C1 L07 M0","C1 L07 M1","C1 L07 M2","C1 L07 M3","C1 L07 M4",null,"C","15","P1/16-31","C-15-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","C-15-2","34-way (M)",{"$nulls":3},"C-15-2","20-way","11-C1",null,"C1","20-way",15,211,"0x2B","6-10"]
[null,null,10,"C2 L10 M0","C2 L10 M1","C2 L10 M2","C2 L10 M3","C2 L10 M4",null,"C","15","P2/1-15","C-15-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","C-15-3","34-way (M)",{"$nulls":3},"C-15-3","34-way","11-B2",null,"B2","34-way",15,211,"0x2B","1-5"]
[null,null,15,"C3 L11 M0","C3 L11 M1","C3 L11 M2","C3 L11 M3","C3 L11 M4",null,"C","15","P2/16-31","C-15-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","C-15-4","34-way (M)",{"$nulls":3},"C-15-4","20-way","10-C2",null,"C2","20-way",14,210,"0x2A","11-15"]
[null,null,0,"C0 L02 M0","C0 L02 M1","C0 L02 M2","C0 L02 M3","C0 L02 M4",null,"C","16","P1/1-15","C-16-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","C-16-1","34-way (M)",{"$nulls":3},"C-16-1","34-way","11-B1",null,"B1","34-way",15,211,"0x2B","11-15"]
[null,null,5,"C1 L07 M0","C1 L07 M1","C1 L07 M2","C1 L07 M3","C1 L07 M4",null,"C","16","P1/16-31","C-16-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","C-16-2","34-way (M)",{"$nulls":3},"C-16-2","34-way","11-A2",null,"A2","34-way",15,211,"0x2B","6-10"]
[null,null,10,"C2 L10 M0","C2 L10 M1","C2 L10 M2","C2 L10 M3","C2 L10 M4",null,"C","16","P2/1-15","C-16-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","C-16-3","34-way (M)",{"$nulls":3},"C-16-3","34-way","11-A1",null,"A1","34-way",15,211,"0x2B","1-5"]
[null,null,15,"C3 L11 M0","C3 L11 M1","C3 L11 M2","C3 L11 M3","C3 L11 M4",null,"C","16","P2/16-31","C-16-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","C-16-4","34-way (M)",{"$nulls":3},"C-16-4","34-way","10-B1",null,"B1","34-way",14,210,"0x2A","11-15"]
[null,null,0,"W0 S10","W1 S10","W2 S10","W3 S10","W0 S11",null,"D","3","P1/1-15","D-3-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","D-3-1","34-way (M)",{"$nulls":3},"D-3-1","34-way","13-B2",null,"B2","34-way",17,213,"0x2D","1-5"]
[null,null,5,"W1 S11","W2 S11","W3 S11","W0 S12","W1 S12",null,"D","3","P1/16-31","D-3-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","D-3-2","34-way (M)",{"$nulls":3},"D-3-2","20-way","12-C2",null,"C2","20-way",16,212,"0x2C","11-15"]
[null,null,10,"W2 S12","W3 S12","W0 S13","W1 S13","W2 S13",null,"D","3","P2/1-15","D-3-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","D-3-3","34-way (M)",{"$nulls":3},"D-3-3","20-way","12-C1",null,"C1","20-way",16,212,"0x2C","6-10"]
[null,null,15,"W3 S13","X","X","X","X",null,"D","3","P2/16-31","D-3-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","D-3-4","34-way (M)",{"$nulls":3},"D-3-4","34-way","12-B2",null,"B2","34-way",16,212,"0x2C","1-5"]
[null,null,0,"W0 S10","W1 S10","W2 S10","W3 S10","W0 S11",null,"D","4","P1/1-15","D-4-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","D-4-1","34-way (M)",{"$nulls":3},"D-4-1","34-way","13-A1",null,"A1","34-way",17,213,"0x2D","1-5"]
[null,null,5,"W1 S11","W2 S11","W3 S11","W0 S12","W1 S12",null,"D","4","P1/16-31","D-4-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","D-4-2","34-way (M)",{"$nulls":3},"D-4-2","34-way","12-B1",null,"B1","34-way",16,212,"0x2C","11-15"]
[null,null,10,"W2 S12","W3 S12","X","X","X",null,"D","4","P2/1-15","D-4-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","D-4-3","34-way (M)",{"$nulls":3},"D-4-3","34-way","12-A2",null,"A2","34-way",16,212,"0x2C","6-10"]
[null,null,15,"X","X","X","X","X",null,"D","4","P2/16-31","D-4-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","D-4-4","34-way (M)",{"$nulls":3},"D-4-4","34-way","12-A1",null,"A1","34-way",16,212,"0x2C","1-5"]
[null,null,0,"C0 L03 M0","C0 L03 M1","C0 L03 M2","C0 L03 M3","C0 L03 M4",null,"D","9","P1/1-15","D-9-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","D-9-1","34-way (M)",{"$nulls":3},"D-9-1","20-way","14-C1",null,"C1","20-way",18,214,"0x2E","6-10"]
[null,null,5,"C1 L08 M0","C1 L08 M1","C1 L08 M2","C1 L08 M3","C1 L08 M4",null,"D","9","P1/16-31","D-9-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","D-9-2","34-way (M)",{"$nulls":3},"D-9-2","34-way","14-B2",null,"B2","34-way",18,214,"0x2E","1-5"]
[null,null,10,"C2 L12 M0","C2 L12 M1","C2 L12 M2","C2 L12 M3","C2 L12 M4",null,"D","9","P2/1-15","D-9-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","D-9-3","34-way (M)",{"$nulls":3},"D-9-3","20-way","13-C2",null,"C2","20-way",17,213,"0x2D","11-15"]
[null,null,15,"C2 L13 M0","C2 L13 M1","C2 L13 M2","C2 L13 M3","C2 L13 M4",null,"D","9","P2/16-31","D-9-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","D-9-4","34-way (M)",{"$nulls":3},"D-9-4","20-way","13-C1",null,"C1","20-way",17,213,"0x2D","6-10"]
[null,null,0,"C0 L03 M0","C0 L03 M1","C0 L03 M2","C0 L03 M3","C0 L03 M4",null,"D","10","P1/1-15","D-10-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","D-10-1","34-way (M)",{"$nulls":3},"D-10-1","34-way","14-A2",null,"A2","34-way",18,214,"0x2E","6-10"]
[null,null,5,"C1 L08 M0","C1 L08 M1","C1 L08 M2","C1 L08 M3","C1 L08 M4",null,"D","10","P1/16-31","D-10-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","D-10-2","34-way (M)",{"$nulls":3},"D-10-2","34-way","14-A1",null,"A1","34-way",18,214,"0x2E","1-5"]
[null,null,10,"C2 L12 M0","C2 L12 M1","C2 L12 M2","C2 L12 M3","C2 L12 M4",null,"D","10","P2/1-15","D-10-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","D-10-3","34-way (M)",{"$nulls":3},"D-10-3","34-way","13-B1",null,"B1","34-way",17,213,"0x2D","11-15"]
[null,null,15,"C2 L13 M0","C2 L13 M1","C2 L13 M2","C2 L13 M3","C2 L13 M4",null,"D","10","P2/16-31","D-10-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","D-10-4","34-way (M)",{"$nulls":3},"D-10-4","34-way","13-A2",null,"A2","34-way",17,213,"0x2D","6-10"]
[null,null,0,"C1 L09 M0","C1 L09 M1","C1 L09 M2","C1 L09 M3","C1 L09 M4",null,"D","15","P1/1-15","D-15-1","TRG   (1-5)","CLK     (1-5)",{"$nulls":3},"Clk-1","20-way",null,"RED","D-15-1","34-way (M)",{"$nulls":3},"D-15-1","20-way","15-C2",null,"C2","20-way",19,215,"0x2F","11-15"]
[null,null,5,"C2 L14 M0","C2 L14 M1","C2 L14 M2","C2 L14 M3","C2 L14 M4",null,"D","15","P1/16-31","D-15-2","TRG   (6-10)","CLK     (6-10)",{"$nulls":3},"Clk-2","20-way",null,"RED","D-15-2","34-way (M)",{"$nulls":3},"D-15-2","20-way","15-C1",null,"C1","20-way",19,215,"0x2F","6-10"]
[null,null,10,"C2 L15 M0","C2 L15 M1","C2 L15 M2","C2 L15 M3","C2 L15 M4",null,"D","15","P2/1-15","D-15-3","TRG   (11-15)","CLK     (11-15)",{"$nulls":3},"Clk-3","20-way",null,"RED","D-15-3","34-way (M)",{"$nulls":3},"D-15-3","34-way","15-B2",null,"B2","34-way",19,215,"0x2F","1-5"]
[null,null,15,"X","X","X","X","X",null,"D","15","P2/16-31","D-15-4","TRG   (16-20)","CLK     (16-20)",{"$nulls":3},"Clk-4","20-way",null,"RED","D-15-4","34-way (M)",{"$nulls":3},"D-15-4","20-way","14-C2",null,"C2","20-way",18,214,"0x2E","11-15"]
[null,null,0,"C1 L09 M0","C1 L09 M1","C1 L09 M2","C1 L09 M3","C1 L09 M4",null,"D","16","P1/1-15","D-16-1",null,null,"TP      (1-5)","RS     (1-5)","LD      (1-5)","Con-1","34-way",null,"BLUE","D-16-1","34-way (M)",{"$nulls":3},"D-16-1","34-way","15-B1",null,"B1","34-way",19,215,"0x2F","11-15"]
[null,null,5,"C2 L14 M0","C2 L14 M1","C2 L14 M2","C2 L14 M3","C2 L14 M4",null,"D","16","P1/16-31","D-16-2",null,null,"TP      (6-10)","RS     (6-10)","LD      (6-10)","Con-2","34-way",null,"BLUE","D-16-2","34-way (M)",{"$nulls":3},"D-16-2","34-way","15-A2",null,"A2","34-way",19,215,"0x2F","6-10"]
[null,null,10,"C2 L15 M0","C2 L15 M1","C2 L15 M2","C2 L15 M3","C2 L15 M4",null,"D","16","P2/1-15","D-16-3",null,null,"TP      (11-15)","RS     (11-15)","LD      (11-15)","Con-3","34-way",null,"BLUE","D-16-3","34-way (M)",{"$nulls":3},"D-16-3","34-way","15-A1",null,"A1","34-way",19,215,"0x2F","1-5"]
[null,null,15,"X","X","X","X","X",null,"D","16","P2/16-31","D-16-4",null,null,"TP      (16-20)","RS     (16-20)","LD      (16-20)","Con-4","34-way",null,"BLUE","D-16-4","34-way (M)",{"$nulls":3},"D-16-4","34-way","14-B1",null,"B1","34-way",18,214,"0x2E","11-15"]

{"sheet":"Driver-to-HELIX","index":1,"n_rows":103,"n_cols":36,"rows_kept":103,"flags":["formulas_cached_only"]}
[]
[null,"HELIX Driver to HELIX Module -- 18/6/01"]
[null,"HELIX DRIVER",{"$nulls":6},"SHORT CABLE",{"$nulls":3},"PB Z",null,"CABLE",{"$nulls":3},"PATCHBOX",{"$nulls":11},"HELIX MODULES"]
[]
[{"$nulls":30},"Combo Cable 'Level' (add to modifier)"]
[null,"Chan. Range","VME Base Addr hex 0000","Driver Ser. No.","Slot","FP Conn. Type","FP Conn.",null,"HD End Conn.  Label","HD End Conn.","Cable ID",0,"Connector Position ID",0,"Cable Termination","Cable ID","Cable Mark",0,"Conn. Type","Conn. ID","Serial Load","Not-Reset","Test Pulse","Clock","Trig","Cable Conn. ID","B/Plane Connect","PCB Slot","Patch Box",0,5,4,3,2,1,"Lvl Mod"]
[]
[null,"1-5","0x20",200,4,"34-way","A1",null,"00-A1","34-way","A-4-4",0,0,0,"34-way (M)","A-4-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"A-4-4","P2/16-31","4","A",0,"X","X","X","X","X",15]
[null,"6-10","0x20",200,4,"34-way","A2",null,"00-A2","34-way","A-4-3",0,0,0,"34-way (M)","A-4-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"A-4-3","P2/1-15","4","A",0,"X","X","X","W3 S02","W2 S02",10]
[null,"11-15","0x20",200,4,"34-way","B1",null,"00-B1","34-way","A-4-2",0,0,0,"34-way (M)","A-4-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"A-4-2","P1/16-31","4","A",0,"W1 S02","W0 S02","W3 S01","W2 S01","W1 S01",5]
[null,"1-5","0x20",200,4,"34-way","B2",null,"00-B2","34-way","A-3-4",0,0,0,"34-way (M)","A-3-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","A-3-4","P2/16-31","3","A",0,"X","X","X","X","X",15]
[null,"6-10","0x20",200,4,"20-way","C1",null,"00-C1","20-way","A-3-3",0,0,0,"34-way (M)","A-3-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","A-3-3","P2/1-15","3","A",0,"X","X","X","W3 S02","W2 S02",10]
[null,"11-15","0x20",200,4,"20-way","C2",null,"00-C2","20-way","A-3-2",0,0,0,"34-way (M)","A-3-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","A-3-2","P1/16-31","3","A",0,"W1 S02","W0 S02","W3 S01","W2 S01","W1 S01",5]
[null,"1-5","0x21",201,5,"34-way","A1",null,"01-A1","34-way","A-4-1",0,0,0,"34-way (M)","A-4-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"A-4-1","P1/1-15","4","A",0,"W0 S01","W3 S00","W2 S00","W1 S00","W0 S00",0]
[null,"6-10","0x21",201,5,"34-way","A2",null,"01-A2","34-way","A-10-4",0,0,0,"34-way (M)","A-10-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"A-10-4","P2/16-31","10","A",0,"C2 L01 M4","C2 L01 M3","C2 L01 M2","C2 L01 M1","C2 L01 M0",15]
[null,"11-15","0x21",201,5,"34-way","B1",null,"01-B1","34-way","A-10-3",0,0,0,"34-way (M)","A-10-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"A-10-3","P2/1-15","10","A",0,"C2 L00 M4","C2 L00 M3","C2 L00 M2","C2 L00 M1","C2 L00 M0",10]
[null,"1-5","0x21",201,5,"34-way","B2",null,"01-B2","34-way","A-3-1",0,0,0,"34-way (M)","A-3-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","A-3-1","P1/1-15","3","A",0,"W0 S01","W3 S00","W2 S00","W1 S00","W0 S00",0]
[null,"6-10","0x21",201,5,"20-way","C1",null,"01-C1","20-way","A-9-4",0,0,0,"34-way (M)","A-9-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","A-9-4","P2/16-31","9","A",0,"C2 L01 M4","C2 L01 M3","C2 L01 M2","C2 L01 M1","C2 L01 M0",15]
[null,"11-15","0x21",201,5,"20-way","C2",null,"01-C2","20-way","A-9-3",0,0,0,"34-way (M)","A-9-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","A-9-3","P2/1-15","9","A",0,"C2 L00 M4","C2 L00 M3","C2 L00 M2","C2 L00 M1","C2 L00 M0",10]
[null,"1-5","0x22",202,6,"34-way","A1",null,"02-A1","34-way","A-10-2",0,0,0,"34-way (M)","A-10-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"A-10-2","P1/16-31","10","A",0,"C1 L00 M4","C1 L00 M3","C1 L00 M2","C1 L00 M1","C1 L00 M0",5]
[null,"6-10","0x22",202,6,"34-way","A2",null,"02-A2","34-way","A-10-1",0,0,0,"34-way (M)","A-10-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"A-10-1","P1/1-15","10","A",0,"C0 L00 M4","C0 L00 M3","C0 L00 M2","C0 L00 M1","C0 L00 M0",0]
[null,"11-15","0x22",202,6,"34-way","B1",null,"02-B1","34-way","A-16-4",0,0,0,"34-way (M)","A-16-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"A-16-4","P2/16-31","16","A",0,"C2 L03 M4","C2 L03 M3","C2 L03 M2","C2 L03 M1","C2 L03 M0",15]
[null,"1-5","0x22",202,6,"34-way","B2",null,"02-B2","34-way","A-9-2",0,0,0,"34-way (M)","A-9-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","A-9-2","P1/16-31","9","A",0,"C1 L00 M4","C1 L00 M3","C1 L00 M2","C1 L00 M1","C1 L00 M0",5]
[null,"6-10","0x22",202,6,"20-way","C1",null,"02-C1","20-way","A-9-1",0,0,0,"34-way (M)","A-9-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","A-9-1","P1/1-15","9","A",0,"C0 L00 M4","C0 L00 M3","C0 L00 M2","C0 L00 M1","C0 L00 M0",0]
[null,"11-15","0x22",202,6,"20-way","C2",null,"02-C2","20-way","A-15-4",0,0,0,"34-way (M)","A-15-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","A-15-4","P2/16-31","15","A",0,"C2 L03 M4","C2 L03 M3","C2 L03 M2","C2 L03 M1","C2 L03 M0",15]
[null,"1-5","0x23",203,7,"34-way","A1",null,"03-A1","34-way","A-16-3",0,0,0,"34-way (M)","A-16-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"A-16-3","P2/1-15","16","A",0,"C2 L02 M4","C2 L02 M3","C2 L02 M2","C2 L02 M1","C2 L02 M0",10]
[null,"6-10","0x23",203,7,"34-way","A2",null,"03-A2","34-way","A-16-2",0,0,0,"34-way (M)","A-16-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"A-16-2","P1/16-31","16","A",0,"C1 L02 M4","C1 L02 M3","C1 L02 M2","C1 L02 M1","C1 L02 M0",5]
[null,"11-15","0x23",203,7,"34-way","B1",null,"03-B1","34-way","A-16-1",0,0,0,"34-way (M)","A-16-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"A-16-1","P1/1-15","16","A",0,"C1 L01 M4","C1 L01 M3","C1 L01 M2","C1 L01 M1","C1 L01 M0",0]
[null,"1-5","0x23",203,7,"34-way","B2",null,"03-B2","34-way","A-15-3",0,0,0,"34-way (M)","A-15-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","A-15-3","P2/1-15","15","A",0,"C2 L02 M4","C2 L02 M3","C2 L02 M2","C2 L02 M1","C2 L02 M0",10]
[null,"6-10","0x23",203,7,"20-way","C1",null,"03-C1","20-way","A-15-2",0,0,0,"34-way (M)","A-15-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","A-15-2","P1/16-31","15","A",0,"C1 L02 M4","C1 L02 M3","C1 L02 M2","C1 L02 M1","C1 L02 M0",5]
[null,"11-15","0x23",203,7,"20-way","C2",null,"03-C2","20-way","A-15-1",0,0,0,"34-way (M)","A-15-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","A-15-1","P1/1-15","15","A",0,"C1 L01 M4","C1 L01 M3","C1 L01 M2","C1 L01 M1","C1 L01 M0",0]
[null,"1-5","0x24",204,8,"34-way","A1",null,"04-A1","34-way","B-4-4",0,0,0,"34-way (M)","B-4-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"B-4-4","P2/16-31","4","B",0,"X","X","X","X","W3 S06",15]
[null,"6-10","0x24",204,8,"34-way","A2",null,"04-A2","34-way","B-4-3",0,0,0,"34-way (M)","B-4-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"B-4-3","P2/1-15","4","B",0,"W2 S06","W1 S06","W0 S06","W3 S05","W2 S05",10]
[null,"11-15","0x24",204,8,"34-way","B1",null,"04-B1","34-way","B-4-2",0,0,0,"34-way (M)","B-4-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"B-4-2","P1/16-31","4","B",0,"W1 S05","W0 S05","W3 S04","W2 S04","W1 S04",5]
[null,"1-5","0x24",204,8,"34-way","B2",null,"04-B2","34-way","B-3-4",0,0,0,"34-way (M)","B-3-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","B-3-4","P2/16-31","3","B",0,"X","X","X","X","W3 S06",15]
[null,"6-10","0x24",204,8,"20-way","C1",null,"04-C1","20-way","B-3-3",0,0,0,"34-way (M)","B-3-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","B-3-3","P2/1-15","3","B",0,"W2 S06","W1 S06","W0 S06","W3 S05","W2 S05",10]
[null,"11-15","0x24",204,8,"20-way","C2",null,"04-C2","20-way","B-3-2",0,0,0,"34-way (M)","B-3-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","B-3-2","P1/16-31","3","B",0,"W1 S05","W0 S05","W3 S04","W2 S04","W1 S04",5]
[null,"1-5","0x25",205,9,"34-way","A1",null,"05-A1","34-way","B-4-1",0,0,0,"34-way (M)","B-4-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"B-4-1","P1/1-15","4","B",0,"W0 S04","W3 S03","W2 S03","W1 S03","W0 S03",0]
[null,"6-10","0x25",205,9,"34-way","A2",null,"05-A2","34-way","B-10-4",0,0,0,"34-way (M)","B-10-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"B-10-4","P2/16-31","10","B",0,"C2 L05 M4","C2 L05 M3","C2 L05 M2","C2 L05 M1","C2 L05 M0",15]
[null,"11-15","0x25",205,9,"34-way","B1",null,"05-B1","34-way","B-10-3",0,0,0,"34-way (M)","B-10-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"B-10-3","P2/1-15","10","B",0,"C2 L04 M4","C2 L04 M3","C2 L04 M2","C2 L04 M1","C2 L04 M0",10]
[null,"1-5","0x25",205,9,"34-way","B2",null,"05-B2","34-way","B-3-1",0,0,0,"34-way (M)","B-3-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","B-3-1","P1/1-15","3","B",0,"W0 S04","W3 S03","W2 S03","W1 S03","W0 S03",0]
[null,"6-10","0x25",205,9,"20-way","C1",null,"05-C1","20-way","B-9-4",0,0,0,"34-way (M)","B-9-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","B-9-4","P2/16-31","9","B",0,"C2 L05 M4","C2 L05 M3","C2 L05 M2","C2 L05 M1","C2 L05 M0",15]
[null,"11-15","0x25",205,9,"20-way","C2",null,"05-C2","20-way","B-9-3",0,0,0,"34-way (M)","B-9-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","B-9-3","P2/1-15","9","B",0,"C2 L04 M4","C2 L04 M3","C2 L04 M2","C2 L04 M1","C2 L04 M0",10]
[null,"1-5","0x26",206,10,"34-way","A1",null,"06-A1","34-way","B-10-2",0,0,0,"34-way (M)","B-10-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"B-10-2","P1/16-31","10","B",0,"C1 L03 M4","C1 L03 M3","C1 L03 M2","C1 L03 M1","C1 L03 M0",5]
[null,"6-10","0x26",206,10,"34-way","A2",null,"06-A2","34-way","B-10-1",0,0,0,"34-way (M)","B-10-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"B-10-1","P1/1-15","10","B",0,"C0 L01 M4","C0 L01 M3","C0 L01 M2","C0 L01 M1","C0 L01 M0",0]
[null,"11-15","0x26",206,10,"34-way","B1",null,"06-B1","34-way","B-16-4",0,0,0,"34-way (M)","B-16-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"B-16-4","P2/16-31","16","B",0,"X","X","X","X","X",15]
[null,"1-5","0x26",206,10,"34-way","B2",null,"06-B2","34-way","B-9-2",0,0,0,"34-way (M)","B-9-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","B-9-2","P1/16-31","9","B",0,"C1 L03 M4","C1 L03 M3","C1 L03 M2","C1 L03 M1","C1 L03 M0",5]
[null,"6-10","0x26",206,10,"20-way","C1",null,"06-C1","20-way","B-9-1",0,0,0,"34-way (M)","B-9-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","B-9-1","P1/1-15","9","B",0,"C0 L01 M4","C0 L01 M3","C0 L01 M2","C0 L01 M1","C0 L01 M0",0]
[null,"11-15","0x26",206,10,"20-way","C2",null,"06-C2","20-way","B-15-4",0,0,0,"34-way (M)","B-15-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","B-15-4","P2/16-31","15","B",0,"X","X","X","X","X",15]
[null,"1-5","0x27",207,11,"34-way","A1",null,"07-A1","34-way","B-16-3",0,0,0,"34-way (M)","B-16-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"B-16-3","P2/1-15","16","B",0,"C2 L07 M4","C2 L07 M3","C2 L07 M2","C2 L07 M1","C2 L07 M0",10]
[null,"6-10","0x27",207,11,"34-way","A2",null,"07-A2","34-way","B-16-2",0,0,0,"34-way (M)","B-16-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"B-16-2","P1/16-31","16","B",0,"C1 L06 M4","C1 L06 M3","C1 L06 M2","C1 L06 M1","C1 L06 M0",5]
[null,"11-15","0x27",207,11,"34-way","B1",null,"07-B1","34-way","B-16-1",0,0,0,"34-way (M)","B-16-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"B-16-1","P1/1-15","16","B",0,"C1 L04 M4","C1 L04 M3","C1 L04 M2","C1 L04 M1","C1 L04 M0",0]
[null,"1-5","0x27",207,11,"34-way","B2",null,"07-B2","34-way","B-15-3",0,0,0,"34-way (M)","B-15-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","B-15-3","P2/1-15","15","B",0,"C2 L07 M4","C2 L07 M3","C2 L07 M2","C2 L07 M1","C2 L07 M0",10]
[null,"6-10","0x27",207,11,"20-way","C1",null,"07-C1","20-way","B-15-2",0,0,0,"34-way (M)","B-15-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","B-15-2","P1/16-31","15","B",0,"C1 L06 M4","C1 L06 M3","C1 L06 M2","C1 L06 M1","C1 L06 M0",5]
[null,"11-15","0x27",207,11,"20-way","C2",null,"07-C2","20-way","B-15-1",0,0,0,"34-way (M)","B-15-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","B-15-1","P1/1-15","15","B",0,"C1 L04 M4","C1 L04 M3","C1 L04 M2","C1 L04 M1","C1 L04 M0",0]
[null,"1-5","0x28",208,12,"34-way","A1",null,"08-A1","34-way","C-4-4",0,0,0,"34-way (M)","C-4-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"C-4-4","P2/16-31","4","C",0,"X","X","X","X","X",15]
[null,"6-10","0x28",208,12,"34-way","A2",null,"08-A2","34-way","C-4-3",0,0,0,"34-way (M)","C-4-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"C-4-3","P2/1-15","4","C",0,"X","X","X","W3 S09","W2 S09",10]
[null,"1-5","0x29",209,13,"34-way","A1",null,"09-A1","34-way","C-4-2",0,0,0,"34-way (M)","C-4-2","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"C-4-2","P1/1-15","4","C",0,"W1 S09","W0 S09","W3 S08","W2 S08","W1 S08",0]
[null,"1-5","0x28",208,12,"34-way","B2",null,"08-B2","34-way","C-3-4",0,0,0,"34-way (M)","C-3-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","C-3-4","P2/16-31","3","C",0,"X","X","X","X","X",15]
[null,"6-10","0x28",208,12,"20-way","C1",null,"08-C1","20-way","C-3-3",0,0,0,"34-way (M)","C-3-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","C-3-3","P2/1-15","3","C",0,"X","X","X","W3 S09","W2 S09",10]
[null,"11-15","0x28",208,12,"20-way","C2",null,"08-C2","20-way","C-3-2",0,0,0,"34-way (M)","C-3-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","C-3-2","P1/16-31","3","C",0,"W1 S09","W0 S09","W3 S08","W2 S08","W1 S08",5]
[null,"11-15","0x28",208,12,"34-way","B1",null,"08-B1","34-way","C-4-1",0,0,0,"34-way (M)","C-4-1","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"C-4-1","P1/16-31","4","C",0,"W0 S08","W3 S07","W2 S07","W1 S07","W0 S07",5]
[null,"6-10","0x29",209,13,"34-way","A2",null,"09-A2","34-way","C-10-4",0,0,0,"34-way (M)","C-10-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"C-10-4","P2/16-31","10","C",0,"C2 L09 M4","C2 L09 M3","C2 L09 M2","C2 L09 M1","C2 L09 M0",15]
[null,"11-15","0x29",209,13,"34-way","B1",null,"09-B1","34-way","C-10-3",0,0,0,"34-way (M)","C-10-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"C-10-3","P2/1-15","10","C",0,"C2 L08 M4","C2 L08 M3","C2 L08 M2","C2 L08 M1","C2 L08 M0",10]
[null,"1-5","0x29",209,13,"34-way","B2",null,"09-B2","34-way","C-3-1",0,0,0,"34-way (M)","C-3-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","C-3-1","P1/1-15","3","C",0,"W0 S08","W3 S07","W2 S07","W1 S07","W0 S07",0]
[null,"6-10","0x29",209,13,"20-way","C1",null,"09-C1","20-way","C-9-4",0,0,0,"34-way (M)","C-9-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","C-9-4","P2/16-31","9","C",0,"C2 L09 M4","C2 L09 M3","C2 L09 M2","C2 L09 M1","C2 L09 M0",15]
[null,"11-15","0x29",209,13,"20-way","C2",null,"09-C2","20-way","C-9-3",0,0,0,"34-way (M)","C-9-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","C-9-3","P2/1-15","9","C",0,"C2 L08 M4","C2 L08 M3","C2 L08 M2","C2 L08 M1","C2 L08 M0",10]
[null,"1-5","0x2A",210,14,"34-way","A1",null,"10-A1","34-way","C-10-2",0,0,0,"34-way (M)","C-10-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"C-10-2","P1/16-31","10","C",0,"C1 L06 M4","C1 L06 M3","C1 L06 M2","C1 L06 M1","C1 L06 M0",5]
[null,"6-10","0x2A",210,14,"34-way","A2",null,"10-A2","34-way","C-10-1",0,0,0,"34-way (M)","C-10-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"C-10-1","P1/1-15","10","C",0,"C1 L05 M4","C1 L05 M3","C1 L05 M2","C1 L05 M1","C1 L05 M0",0]
[null,"11-15","0x2A",210,14,"34-way","B1",null,"10-B1","34-way","C-16-4",0,0,0,"34-way (M)","C-16-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"C-16-4","P2/16-31","16","C",0,"C3 L11 M4","C3 L11 M3","C3 L11 M2","C3 L11 M1","C3 L11 M0",15]
[null,"1-5","0x2A",210,14,"34-way","B2",null,"10-B2","34-way","C-9-2",0,0,0,"34-way (M)","C-9-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","C-9-2","P1/16-31","9","C",0,"C1 L06 M4","C1 L06 M3","C1 L06 M2","C1 L06 M1","C1 L06 M0",5]
[null,"6-10","0x2A",210,14,"20-way","C1",null,"10-C1","20-way","C-9-1",0,0,0,"34-way (M)","C-9-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","C-9-1","P1/1-15","9","C",0,"C1 L05 M4","C1 L05 M3","C1 L05 M2","C1 L05 M1","C1 L05 M0",0]
[null,"11-15","0x2A",210,14,"20-way","C2",null,"10-C2","20-way","C-15-4",0,0,0,"34-way (M)","C-15-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","C-15-4","P2/16-31","15","C",0,"C3 L11 M4","C3 L11 M3","C3 L11 M2","C3 L11 M1","C3 L11 M0",15]
[null,"1-5","0x2B",211,15,"34-way","A1",null,"11-A1","34-way","C-16-3",0,0,0,"34-way (M)","C-16-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"C-16-3","P2/1-15","16","C",0,"C2 L10 M4","C2 L10 M3","C2 L10 M2","C2 L10 M1","C2 L10 M0",10]
[null,"6-10","0x2B",211,15,"34-way","A2",null,"11-A2","34-way","C-16-2",0,0,0,"34-way (M)","C-16-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"C-16-2","P1/16-31","16","C",0,"C1 L07 M4","C1 L07 M3","C1 L07 M2","C1 L07 M1","C1 L07 M0",5]
[null,"11-15","0x2B",211,15,"34-way","B1",null,"11-B1","34-way","C-16-1",0,0,0,"34-way (M)","C-16-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"C-16-1","P1/1-15","16","C",0,"C0 L02 M4","C0 L02 M3","C0 L02 M2","C0 L02 M1","C0 L02 M0",0]
[null,"1-5","0x2B",211,15,"34-way","B2",null,"11-B2","34-way","C-15-3",0,0,0,"34-way (M)","C-15-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","C-15-3","P2/1-15","15","C",0,"C2 L10 M4","C2 L10 M3","C2 L10 M2","C2 L10 M1","C2 L10 M0",10]
[null,"6-10","0x2B",211,15,"20-way","C1",null,"11-C1","20-way","C-15-2",0,0,0,"34-way (M)","C-15-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","C-15-2","P1/16-31","15","C",0,"C1 L07 M4","C1 L07 M3","C1 L07 M2","C1 L07 M1","C1 L07 M0",5]
[null,"11-15","0x2B",211,15,"20-way","C2",null,"11-C2","20-way","C-15-1",0,0,0,"34-way (M)","C-15-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","C-15-1","P1/1-15","15","C",0,"C0 L02 M4","C0 L02 M3","C0 L02 M2","C0 L02 M1","C0 L02 M0",0]
[null,"1-5","0x2C",212,16,"34-way","A1",null,"12-A1","34-way","D-4-4",0,0,0,"34-way (M)","D-4-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"D-4-4","P2/16-31","4","D",0,"X","X","X","X","X",15]
[null,"6-10","0x2C",212,16,"34-way","A2",null,"12-A2","34-way","D-4-3",0,0,0,"34-way (M)","D-4-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"D-4-3","P2/1-15","4","D",0,"X","X","X","W3 S12","W2 S12",10]
[null,"11-15","0x2C",212,16,"34-way","B1",null,"12-B1","34-way","D-4-2",0,0,0,"34-way (M)","D-4-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"D-4-2","P1/16-31","4","D",0,"W1 S12","W0 S12","W3 S11","W2 S11","W1 S11",5]
[null,"1-5","0x2C",212,16,"34-way","B2",null,"12-B2","34-way","D-3-4",0,0,0,"34-way (M)","D-3-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","D-3-4","P2/16-31","3","D",0,"X","X","X","X","W3 S13",15]
[null,"6-10","0x2C",212,16,"20-way","C1",null,"12-C1","20-way","D-3-3",0,0,0,"34-way (M)","D-3-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","D-3-3","P2/1-15","3","D",0,"W2 S13","W1 S13","W0 S13","W3 S12","W2 S12",10]
[null,"11-15","0x2C",212,16,"20-way","C2",null,"12-C2","20-way","D-3-2",0,0,0,"34-way (M)","D-3-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","D-3-2","P1/16-31","3","D",0,"W1 S12","W0 S12","W3 S11","W2 S11","W1 S11",5]
[null,"1-5","0x2D",213,17,"34-way","A1",null,"13-A1","34-way","D-4-1",0,0,0,"34-way (M)","D-4-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"D-4-1","P1/1-15","4","D",0,"W0 S11","W3 S10","W2 S10","W1 S10","W0 S10",0]
[null,"6-10","0x2D",213,17,"34-way","A2",null,"13-A2","34-way","D-10-4",0,0,0,"34-way (M)","D-10-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"D-10-4","P2/16-31","10","D",0,"C2 L13 M4","C2 L13 M3","C2 L13 M2","C2 L13 M1","C2 L13 M0",15]
[null,"11-15","0x2D",213,17,"34-way","B1",null,"13-B1","34-way","D-10-3",0,0,0,"34-way (M)","D-10-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"D-10-3","P2/1-15","10","D",0,"C2 L12 M4","C2 L12 M3","C2 L12 M2","C2 L12 M1","C2 L12 M0",10]
[null,"1-5","0x2D",213,17,"34-way","B2",null,"13-B2","34-way","D-3-1",0,0,0,"34-way (M)","D-3-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","D-3-1","P1/1-15","3","D",0,"W0 S11","W3 S10","W2 S10","W1 S10","W0 S10",0]
[null,"6-10","0x2D",213,17,"20-way","C1",null,"13-C1","20-way","D-9-4",0,0,0,"34-way (M)","D-9-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","D-9-4","P2/16-31","9","D",0,"C2 L13 M4","C2 L13 M3","C2 L13 M2","C2 L13 M1","C2 L13 M0",15]
[null,"11-15","0x2D",213,17,"20-way","C2",null,"13-C2","20-way","D-9-3",0,0,0,"34-way (M)","D-9-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","D-9-3","P2/1-15","9","D",0,"C2 L12 M4","C2 L12 M3","C2 L12 M2","C2 L12 M1","C2 L12 M0",10]
[null,"1-5","0x2E",214,18,"34-way","A1",null,"14-A1","34-way","D-10-2",0,0,0,"34-way (M)","D-10-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"D-10-2","P1/16-31","10","D",0,"C1 L08 M4","C1 L08 M3","C1 L08 M2","C1 L08 M1","C1 L08 M0",5]
[null,"6-10","0x2E",214,18,"34-way","A2",null,"14-A2","34-way","D-10-1",0,0,0,"34-way (M)","D-10-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"D-10-1","P1/1-15","10","D",0,"C0 L03 M4","C0 L03 M3","C0 L03 M2","C0 L03 M1","C0 L03 M0",0]
[null,"11-15","0x2E",214,18,"34-way","B1",null,"14-B1","34-way","D-16-4",0,0,0,"34-way (M)","D-16-4","BLUE",0,"34-way","Con-4","LD      (16-20)","RS     (16-20)","TP      (16-20)",null,null,"D-16-4","P2/16-31","16","D",0,"X","X","X","X","X",15]
[null,"1-5","0x2E",214,18,"34-way","B2",null,"14-B2","34-way","D-9-2",0,0,0,"34-way (M)","D-9-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","D-9-2","P1/16-31","9","D",0,"C1 L08 M4","C1 L08 M3","C1 L08 M2","C1 L08 M1","C1 L08 M0",5]
[null,"6-10","0x2E",214,18,"20-way","C1",null,"14-C1","20-way","D-9-1",0,0,0,"34-way (M)","D-9-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","D-9-1","P1/1-15","9","D",0,"C0 L03 M4","C0 L03 M3","C0 L03 M2","C0 L03 M1","C0 L03 M0",0]
[null,"11-15","0x2E",214,18,"20-way","C2",null,"14-C2","20-way","D-15-4",0,0,0,"34-way (M)","D-15-4","RED",0,"20-way","Clk-4",{"$nulls":3},"CLK     (16-20)","TRG   (16-20)","D-15-4","P2/16-31","15","D",0,"X","X","X","X","X",15]
[null,"1-5","0x2F",215,19,"34-way","A1",null,"15-A1","34-way","D-16-3",0,0,0,"34-way (M)","D-16-3","BLUE",0,"34-way","Con-3","LD      (11-15)","RS     (11-15)","TP      (11-15)",null,null,"D-16-3","P2/1-15","16","D",0,"C2 L15 M4","C2 L15 M3","C2 L15 M2","C2 L15 M1","C2 L15 M0",10]
[null,"6-10","0x2F",215,19,"34-way","A2",null,"15-A2","34-way","D-16-2",0,0,0,"34-way (M)","D-16-2","BLUE",0,"34-way","Con-2","LD      (6-10)","RS     (6-10)","TP      (6-10)",null,null,"D-16-2","P1/16-31","16","D",0,"C2 L14 M4","C2 L14 M3","C2 L14 M2","C2 L14 M1","C2 L14 M0",5]
[null,"11-15","0x2F",215,19,"34-way","B1",null,"15-B1","34-way","D-16-1",0,0,0,"34-way (M)","D-16-1","BLUE",0,"34-way","Con-1","LD      (1-5)","RS     (1-5)","TP      (1-5)",null,null,"D-16-1","P1/1-15","16","D",0,"C1 L09 M4","C1 L09 M3","C1 L09 M2","C1 L09 M1","C1 L09 M0",0]
[null,"1-5","0x2F",215,19,"34-way","B2",null,"15-B2","34-way","D-15-3",0,0,0,"34-way (M)","D-15-3","RED",0,"20-way","Clk-3",{"$nulls":3},"CLK     (11-15)","TRG   (11-15)","D-15-3","P2/1-15","15","D",0,"C2 L15 M4","C2 L15 M3","C2 L15 M2","C2 L15 M1","C2 L15 M0",10]
[null,"6-10","0x2F",215,19,"20-way","C1",null,"15-C1","20-way","D-15-2",0,0,0,"34-way (M)","D-15-2","RED",0,"20-way","Clk-2",{"$nulls":3},"CLK     (6-10)","TRG   (6-10)","D-15-2","P1/16-31","15","D",0,"C2 L14 M4","C2 L14 M3","C2 L14 M2","C2 L14 M1","C2 L14 M0",5]
[null,"11-15","0x2F",215,19,"20-way","C2",null,"15-C2","20-way","D-15-1",0,0,0,"34-way (M)","D-15-1","RED",0,"20-way","Clk-1",{"$nulls":3},"CLK     (1-5)","TRG   (1-5)","D-15-1","P1/1-15","15","D",0,"C1 L09 M4","C1 L09 M3","C1 L09 M2","C1 L09 M1","C1 L09 M0",0]

{"sheet":"Signal Summary","index":2,"n_rows":246,"n_cols":14,"rows_kept":246,"headers":{"header":["","","Page"]},"flags":["formulas_cached_only"]}
[]
[null,"HELIX Driver to HELIX Module channel-by-channel List -- 18/6/01"]
[]
[null,null,"HELIX Module",null,"HELIX Driver",null,"Cable/PatchBox",{"$nulls":3},"HELIX Driver"]
[]
[null,null,"HELIX Module ID",null,"Quick Ref Summary",null,"Control Cable","Clock Cable","Cable Channel",null,"Serial Number","VME Base Address","FP Port CON, CLK","Channel Number"]
[null,null,"C0 L00 M0",null,"0x22-6",null,"A-10-1","A-9-1",1,null,202,"0x22","A2, C1",6]
[null,null,"C0 L00 M1",null,"0x22-7",null,"A-10-1","A-9-1",2,null,202,"0x22","A2, C1",7]
[null,null,"C0 L00 M2",null,"0x22-8",null,"A-10-1","A-9-1",3,null,202,"0x22","A2, C1",8]
[null,null,"C0 L00 M3",null,"0x22-9",null,"A-10-1","A-9-1",4,null,202,"0x22","A2, C1",9]
[null,null,"C0 L00 M4",null,"0x22-10",null,"A-10-1","A-9-1",5,null,202,"0x22","A2, C1",10]
[null,null,"C0 L01 M0",null,"0x26-6",null,"B-10-1","B-9-1",1,null,206,"0x26","A2, C1",6]
[null,null,"C0 L01 M1",null,"0x26-7",null,"B-10-1","B-9-1",2,null,206,"0x26","A2, C1",7]
[null,null,"C0 L01 M2",null,"0x26-8",null,"B-10-1","B-9-1",3,null,206,"0x26","A2, C1",8]
[null,null,"C0 L01 M3",null,"0x26-9",null,"B-10-1","B-9-1",4,null,206,"0x26","A2, C1",9]
[null,null,"C0 L01 M4",null,"0x26-10",null,"B-10-1","B-9-1",5,null,206,"0x26","A2, C1",10]
[null,null,"C0 L02 M0",null,"0x2B-11",null,"C-16-1","C-15-1",1,null,211,"0x2B","B1, C2",11]
[null,null,"C0 L02 M1",null,"0x2B-12",null,"C-16-1","C-15-1",2,null,211,"0x2B","B1, C2",12]
[null,null,"C0 L02 M2",null,"0x2B-13",null,"C-16-1","C-15-1",3,null,211,"0x2B","B1, C2",13]
[null,null,"C0 L02 M3",null,"0x2B-14",null,"C-16-1","C-15-1",4,null,211,"0x2B","B1, C2",14]
[null,null,"C0 L02 M4",null,"0x2B-15",null,"C-16-1","C-15-1",5,null,211,"0x2B","B1, C2",15]
[null,null,"C0 L03 M0",null,"0x2E-6",null,"D-10-1","D-9-1",1,null,214,"0x2E","A2, C1",6]
[null,null,"C0 L03 M1",null,"0x2E-7",null,"D-10-1","D-9-1",2,null,214,"0x2E","A2, C1",7]
[null,null,"C0 L03 M2",null,"0x2E-8",null,"D-10-1","D-9-1",3,null,214,"0x2E","A2, C1",8]
[null,null,"C0 L03 M3",null,"0x2E-9",null,"D-10-1","D-9-1",4,null,214,"0x2E","A2, C1",9]
[null,null,"C0 L03 M4",null,"0x2E-10",null,"D-10-1","D-9-1",5,null,214,"0x2E","A2, C1",10]
[null,null,"C1 L00 M0",null,"0x22-1",null,"A-10-2","A-9-2",1,null,202,"0x22","A1, B2",1]
[null,null,"C1 L00 M1",null,"0x22-2",null,"A-10-2","A-9-2",2,null,202,"0x22","A1, B2",2]
[null,null,"C1 L00 M2",null,"0x22-3",null,"A-10-2","A-9-2",3,null,202,"0x22","A1, B2",3]
[null,null,"C1 L00 M3",null,"0x22-4",null,"A-10-2","A-9-2",4,null,202,"0x22","A1, B2",4]
[null,null,"C1 L00 M4",null,"0x22-5",null,"A-10-2","A-9-2",5,null,202,"0x22","A1, B2",5]
[null,null,"C1 L01 M0",null,"0x23-11",null,"A-16-1","A-15-1",1,null,203,"0x23","B1, C2",11]
[null,null,"C1 L01 M1",null,"0x23-12",null,"A-16-1","A-15-1",2,null,203,"0x23","B1, C2",12]
[null,null,"C1 L01 M2",null,"0x23-13",null,"A-16-1","A-15-1",3,null,203,"0x23","B1, C2",13]
[null,null,"C1 L01 M3",null,"0x23-14",null,"A-16-1","A-15-1",4,null,203,"0x23","B1, C2",14]
[null,null,"C1 L01 M4",null,"0x23-15",null,"A-16-1","A-15-1",5,null,203,"0x23","B1, C2",15]
[null,null,"C1 L02 M0",null,"0x23-6",null,"A-16-2","A-15-2",1,null,203,"0x23","A2, C1",6]
[null,null,"C1 L02 M1",null,"0x23-7",null,"A-16-2","A-15-2",2,null,203,"0x23","A2, C1",7]
[null,null,"C1 L02 M2",null,"0x23-8",null,"A-16-2","A-15-2",3,null,203,"0x23","A2, C1",8]
[null,null,"C1 L02 M3",null,"0x23-9",null,"A-16-2","A-15-2",4,null,203,"0x23","A2, C1",9]
[null,null,"C1 L02 M4",null,"0x23-10",null,"A-16-2","A-15-2",5,null,203,"0x23","A2, C1",10]
[null,null,"C1 L03 M0",null,"0x26-1",null,"B-10-2","B-9-2",1,null,206,"0x26","A1, B2",1]
[null,null,"C1 L03 M1",null,"0x26-2",null,"B-10-2","B-9-2",2,null,206,"0x26","A1, B2",2]
[null,null,"C1 L03 M2",null,"0x26-3",null,"B-10-2","B-9-2",3,null,206,"0x26","A1, B2",3]
[null,null,"C1 L03 M3",null,"0x26-4",null,"B-10-2","B-9-2",4,null,206,"0x26","A1, B2",4]
[null,null,"C1 L03 M4",null,"0x26-5",null,"B-10-2","B-9-2",5,null,206,"0x26","A1, B2",5]
[null,null,"C1 L04 M0",null,"0x27-11",null,"B-16-1","B-15-1",1,null,207,"0x27","B1, C2",11]
[null,null,"C1 L04 M1",null,"0x27-12",null,"B-16-1","B-15-1",2,null,207,"0x27","B1, C2",12]
[null,null,"C1 L04 M2",null,"0x27-13",null,"B-16-1","B-15-1",3,null,207,"0x27","B1, C2",13]
[null,null,"C1 L04 M3",null,"0x27-14",null,"B-16-1","B-15-1",4,null,207,"0x27","B1, C2",14]
[null,null,"C1 L04 M4",null,"0x27-15",null,"B-16-1","B-15-1",5,null,207,"0x27","B1, C2",15]
[null,null,"C1 L05 M0",null,"0x2A-6",null,"C-10-1","C-9-1",1,null,210,"0x2A","A2, C1",6]
[null,null,"C1 L05 M1",null,"0x2A-7",null,"C-10-1","C-9-1",2,null,210,"0x2A","A2, C1",7]
[null,null,"C1 L05 M2",null,"0x2A-8",null,"C-10-1","C-9-1",3,null,210,"0x2A","A2, C1",8]
[null,null,"C1 L05 M3",null,"0x2A-9",null,"C-10-1","C-9-1",4,null,210,"0x2A","A2, C1",9]
[null,null,"C1 L05 M4",null,"0x2A-10",null,"C-10-1","C-9-1",5,null,210,"0x2A","A2, C1",10]
[null,null,"C1 L06 M0",null,"0x27-6",null,"B-16-2","B-15-2",1,null,207,"0x27","A2, C1",6]
[null,null,"C1 L06 M0",null,"0x2A-1",null,"C-10-2","C-9-2",1,null,210,"0x2A","A1, B2",1]
[null,null,"C1 L06 M1",null,"0x27-7",null,"B-16-2","B-15-2",2,null,207,"0x27","A2, C1",7]
[null,null,"C1 L06 M1",null,"0x2A-2",null,"C-10-2","C-9-2",2,null,210,"0x2A","A1, B2",2]
[null,null,"C1 L06 M2",null,"0x27-8",null,"B-16-2","B-15-2",3,null,207,"0x27","A2, C1",8]
[null,null,"C1 L06 M2",null,"0x2A-3",null,"C-10-2","C-9-2",3,null,210,"0x2A","A1, B2",3]
[null,null,"C1 L06 M3",null,"0x27-9",null,"B-16-2","B-15-2",4,null,207,"0x27","A2, C1",9]
[null,null,"C1 L06 M3",null,"0x2A-4",null,"C-10-2","C-9-2",4,null,210,"0x2A","A1, B2",4]
[null,null,"C1 L06 M4",null,"0x27-10",null,"B-16-2","B-15-2",5,null,207,"0x27","A2, C1",10]
[null,null,"C1 L06 M4",null,"0x2A-5",null,"C-10-2","C-9-2",5,null,210,"0x2A","A1, B2",5]
[null,null,"C1 L07 M0",null,"0x2B-6",null,"C-16-2","C-15-2",1,null,211,"0x2B","A2, C1",6]
[null,null,"C1 L07 M1",null,"0x2B-7",null,"C-16-2","C-15-2",2,null,211,"0x2B","A2, C1",7]
[null,null,"C1 L07 M2",null,"0x2B-8",null,"C-16-2","C-15-2",3,null,211,"0x2B","A2, C1",8]
[null,null,"C1 L07 M3",null,"0x2B-9",null,"C-16-2","C-15-2",4,null,211,"0x2B","A2, C1",9]
[null,null,"C1 L07 M4",null,"0x2B-10",null,"C-16-2","C-15-2",5,null,211,"0x2B","A2, C1",10]
[null,null,"C1 L08 M0",null,"0x2E-1",null,"D-10-2","D-9-2",1,null,214,"0x2E","A1, B2",1]
[null,null,"C1 L08 M1",null,"0x2E-2",null,"D-10-2","D-9-2",2,null,214,"0x2E","A1, B2",2]
[null,null,"C1 L08 M2",null,"0x2E-3",null,"D-10-2","D-9-2",3,null,214,"0x2E","A1, B2",3]
[null,null,"C1 L08 M3",null,"0x2E-4",null,"D-10-2","D-9-2",4,null,214,"0x2E","A1, B2",4]
[null,null,"C1 L08 M4",null,"0x2E-5",null,"D-10-2","D-9-2",5,null,214,"0x2E","A1, B2",5]
[null,null,"C1 L09 M0",null,"0x2F-11",null,"D-16-1","D-15-1",1,null,215,"0x2F","B1, C2",11]
[null,null,"C1 L09 M1",null,"0x2F-12",null,"D-16-1","D-15-1",2,null,215,"0x2F","B1, C2",12]
[null,null,"C1 L09 M2",null,"0x2F-13",null,"D-16-1","D-15-1",3,null,215,"0x2F","B1, C2",13]
[null,null,"C1 L09 M3",null,"0x2F-14",null,"D-16-1","D-15-1",4,null,215,"0x2F","B1, C2",14]
[null,null,"C1 L09 M4",null,"0x2F-15",null,"D-16-1","D-15-1",5,null,215,"0x2F","B1, C2",15]
[null,null,"C2 L00 M0",null,"0x21-11",null,"A-10-3","A-9-3",1,null,201,"0x21","B1, C2",11]
[null,null,"C2 L00 M1",null,"0x21-12",null,"A-10-3","A-9-3",2,null,201,"0x21","B1, C2",12]
[null,null,"C2 L00 M2",null,"0x21-13",null,"A-10-3","A-9-3",3,null,201,"0x21","B1, C2",13]
[null,null,"C2 L00 M3",null,"0x21-14",null,"A-10-3","A-9-3",4,null,201,"0x21","B1, C2",14]
[null,null,"C2 L00 M4",null,"0x21-15",null,"A-10-3","A-9-3",5,null,201,"0x21","B1, C2",15]
[null,null,"C2 L01 M0",null,"0x21-6",null,"A-10-4","A-9-4",1,null,201,"0x21","A2, C1",6]
[null,null,"C2 L01 M1",null,"0x21-7",null,"A-10-4","A-9-4",2,null,201,"0x21","A2, C1",7]
[null,null,"C2 L01 M2",null,"0x21-8",null,"A-10-4","A-9-4",3,null,201,"0x21","A2, C1",8]
[null,null,"C2 L01 M3",null,"0x21-9",null,"A-10-4","A-9-4",4,null,201,"0x21","A2, C1",9]
[null,null,"C2 L01 M4",null,"0x21-10",null,"A-10-4","A-9-4",5,null,201,"0x21","A2, C1",10]
[null,null,"C2 L02 M0",null,"0x23-1",null,"A-16-3","A-15-3",1,null,203,"0x23","A1, B2",1]
[null,null,"C2 L02 M1",null,"0x23-2",null,"A-16-3","A-15-3",2,null,203,"0x23","A1, B2",2]
[null,null,"C2 L02 M2",null,"0x23-3",null,"A-16-3","A-15-3",3,null,203,"0x23","A1, B2",3]
[null,null,"C2 L02 M3",null,"0x23-4",null,"A-16-3","A-15-3",4,null,203,"0x23","A1, B2",4]
[null,null,"C2 L02 M4",null,"0x23-5",null,"A-16-3","A-15-3",5,null,203,"0x23","A1, B2",5]
[null,null,"C2 L03 M0",null,"0x22-11",null,"A-16-4","A-15-4",1,null,202,"0x22","B1, C2",11]
[null,null,"C2 L03 M1",null,"0x22-12",null,"A-16-4","A-15-4",2,null,202,"0x22","B1, C2",12]
[null,null,"C2 L03 M2",null,"0x22-13",null,"A-16-4","A-15-4",3,null,202,"0x22","B1, C2",13]
[null,null,"C2 L03 M3",null,"0x22-14",null,"A-16-4","A-15-4",4,null,202,"0x22","B1, C2",14]
[null,null,"C2 L03 M4",null,"0x22-15",null,"A-16-4","A-15-4",5,null,202,"0x22","B1, C2",15]
[null,null,"C2 L04 M0",null,"0x25-11",null,"B-10-3","B-9-3",1,null,205,"0x25","B1, C2",11]
[null,null,"C2 L04 M1",null,"0x25-12",null,"B-10-3","B-9-3",2,null,205,"0x25","B1, C2",12]
[null,null,"C2 L04 M2",null,"0x25-13",null,"B-10-3","B-9-3",3,null,205,"0x25","B1, C2",13]
[null,null,"C2 L04 M3",null,"0x25-14",null,"B-10-3","B-9-3",4,null,205,"0x25","B1, C2",14]
[null,null,"C2 L04 M4",null,"0x25-15",null,"B-10-3","B-9-3",5,null,205,"0x25","B1, C2",15]
[null,null,"C2 L05 M0",null,"0x25-6",null,"B-10-4","B-9-4",1,null,205,"0x25","A2, C1",6]
[null,null,"C2 L05 M1",null,"0x25-7",null,"B-10-4","B-9-4",2,null,205,"0x25","A2, C1",7]
[null,null,"C2 L05 M2",null,"0x25-8",null,"B-10-4","B-9-4",3,null,205,"0x25","A2, C1",8]
[null,null,"C2 L05 M3",null,"0x25-9",null,"B-10-4","B-9-4",4,null,205,"0x25","A2, C1",9]
[null,null,"C2 L05 M4",null,"0x25-10",null,"B-10-4","B-9-4",5,null,205,"0x25","A2, C1",10]
[null,null,"C2 L07 M0",null,"0x27-1",null,"B-16-3","B-15-3",1,null,207,"0x27","A1, B2",1]
[null,null,"C2 L07 M1",null,"0x27-2",null,"B-16-3","B-15-3",2,null,207,"0x27","A1, B2",2]
[null,null,"C2 L07 M2",null,"0x27-3",null,"B-16-3","B-15-3",3,null,207,"0x27","A1, B2",3]
[null,null,"C2 L07 M3",null,"0x27-4",null,"B-16-3","B-15-3",4,null,207,"0x27","A1, B2",4]
[null,null,"C2 L07 M4",null,"0x27-5",null,"B-16-3","B-15-3",5,null,207,"0x27","A1, B2",5]
[null,null,"C2 L08 M0",null,"0x29-11",null,"C-10-3","C-9-3",1,null,209,"0x29","B1, C2",11]
[null,null,"C2 L08 M1",null,"0x29-12",null,"C-10-3","C-9-3",2,null,209,"0x29","B1, C2",12]
[null,null,"C2 L08 M2",null,"0x29-13",null,"C-10-3","C-9-3",3,null,209,"0x29","B1, C2",13]
[null,null,"C2 L08 M3",null,"0x29-14",null,"C-10-3","C-9-3",4,null,209,"0x29","B1, C2",14]
[null,null,"C2 L08 M4",null,"0x29-15",null,"C-10-3","C-9-3",5,null,209,"0x29","B1, C2",15]
[null,null,"C2 L09 M0",null,"0x29-6",null,"C-10-4","C-9-4",1,null,209,"0x29","A2, C1",6]
[null,null,"C2 L09 M1",null,"0x29-7",null,"C-10-4","C-9-4",2,null,209,"0x29","A2, C1",7]
[null,null,"C2 L09 M2",null,"0x29-8",null,"C-10-4","C-9-4",3,null,209,"0x29","A2, C1",8]
[null,null,"C2 L09 M3",null,"0x29-9",null,"C-10-4","C-9-4",4,null,209,"0x29","A2, C1",9]
[null,null,"C2 L09 M4",null,"0x29-10",null,"C-10-4","C-9-4",5,null,209,"0x29","A2, C1",10]
[null,null,"C2 L10 M0",null,"0x2B-1",null,"C-16-3","C-15-3",1,null,211,"0x2B","A1, B2",1]
[null,null,"C2 L10 M1",null,"0x2B-2",null,"C-16-3","C-15-3",2,null,211,"0x2B","A1, B2",2]
[null,null,"C2 L10 M2",null,"0x2B-3",null,"C-16-3","C-15-3",3,null,211,"0x2B","A1, B2",3]
[null,null,"C2 L10 M3",null,"0x2B-4",null,"C-16-3","C-15-3",4,null,211,"0x2B","A1, B2",4]
[null,null,"C2 L10 M4",null,"0x2B-5",null,"C-16-3","C-15-3",5,null,211,"0x2B","A1, B2",5]
[null,null,"C2 L12 M0",null,"0x2D-11",null,"D-10-3","D-9-3",1,null,213,"0x2D","B1, C2",11]
[null,null,"C2 L12 M1",null,"0x2D-12",null,"D-10-3","D-9-3",2,null,213,"0x2D","B1, C2",12]
[null,null,"C2 L12 M2",null,"0x2D-13",null,"D-10-3","D-9-3",3,null,213,"0x2D","B1, C2",13]
[null,null,"C2 L12 M3",null,"0x2D-14",null,"D-10-3","D-9-3",4,null,213,"0x2D","B1, C2",14]
[null,null,"C2 L12 M4",null,"0x2D-15",null,"D-10-3","D-9-3",5,null,213,"0x2D","B1, C2",15]
[null,null,"C2 L13 M0",null,"0x2D-6",null,"D-10-4","D-9-4",1,null,213,"0x2D","A2, C1",6]
[null,null,"C2 L13 M1",null,"0x2D-7",null,"D-10-4","D-9-4",2,null,213,"0x2D","A2, C1",7]
[null,null,"C2 L13 M2",null,"0x2D-8",null,"D-10-4","D-9-4",3,null,213,"0x2D","A2, C1",8]
[null,null,"C2 L13 M3",null,"0x2D-9",null,"D-10-4","D-9-4",4,null,213,"0x2D","A2, C1",9]
[null,null,"C2 L13 M4",null,"0x2D-10",null,"D-10-4","D-9-4",5,null,213,"0x2D","A2, C1",10]
[null,null,"C2 L14 M0",null,"0x2F-6",null,"D-16-2","D-15-2",1,null,215,"0x2F","A2, C1",6]
[null,null,"C2 L14 M1",null,"0x2F-7",null,"D-16-2","D-15-2",2,null,215,"0x2F","A2, C1",7]
[null,null,"C2 L14 M2",null,"0x2F-8",null,"D-16-2","D-15-2",3,null,215,"0x2F","A2, C1",8]
[null,null,"C2 L14 M3",null,"0x2F-9",null,"D-16-2","D-15-2",4,null,215,"0x2F","A2, C1",9]
[null,null,"C2 L14 M4",null,"0x2F-10",null,"D-16-2","D-15-2",5,null,215,"0x2F","A2, C1",10]
[null,null,"C2 L15 M0",null,"0x2F-1",null,"D-16-3","D-15-3",1,null,215,"0x2F","A1, B2",1]
[null,null,"C2 L15 M1",null,"0x2F-2",null,"D-16-3","D-15-3",2,null,215,"0x2F","A1, B2",2]
[null,null,"C2 L15 M2",null,"0x2F-3",null,"D-16-3","D-15-3",3,null,215,"0x2F","A1, B2",3]
[null,null,"C2 L15 M3",null,"0x2F-4",null,"D-16-3","D-15-3",4,null,215,"0x2F","A1, B2",4]
[null,null,"C2 L15 M4",null,"0x2F-5",null,"D-16-3","D-15-3",5,null,215,"0x2F","A1, B2",5]
[null,null,"C3 L11 M0",null,"0x2A-11",null,"C-16-4","C-15-4",1,null,210,"0x2A","B1, C2",11]
[null,null,"C3 L11 M1",null,"0x2A-12",null,"C-16-4","C-15-4",2,null,210,"0x2A","B1, C2",12]
[null,null,"C3 L11 M2",null,"0x2A-13",null,"C-16-4","C-15-4",3,null,210,"0x2A","B1, C2",13]
[null,null,"C3 L11 M3",null,"0x2A-14",null,"C-16-4","C-15-4",4,null,210,"0x2A","B1, C2",14]
[null,null,"C3 L11 M4",null,"0x2A-15",null,"C-16-4","C-15-4",5,null,210,"0x2A","B1, C2",15]
[null,null,"W0 S00",null,"0x21-1",null,"A-4-1","A-3-1",1,null,201,"0x21","A1, B2",1]
[null,null,"W0 S01",null,"0x21-5",null,"A-4-1","A-3-1",5,null,201,"0x21","A1, B2",5]
[null,null,"W0 S02",null,"0x20-14",null,"A-4-2","A-3-2",4,null,200,"0x20","B1, C2",14]
[null,null,"W0 S03",null,"0x25-1",null,"B-4-1","B-3-1",1,null,205,"0x25","A1, B2",1]
[null,null,"W0 S04",null,"0x25-5",null,"B-4-1","B-3-1",5,null,205,"0x25","A1, B2",5]
[null,null,"W0 S05",null,"0x24-14",null,"B-4-2","B-3-2",4,null,204,"0x24","B1, C2",14]
[null,null,"W0 S06",null,"0x24-8",null,"B-4-3","B-3-3",3,null,204,"0x24","A2, C1",8]
[null,null,"W0 S07",null,"0x28--4",null,"C-4-1","C-3-1",1,null,208,"0x28","B1, B2",-4]
[null,null,"W0 S08",null,"0x28-0",null,"C-4-1","C-3-1",5,null,208,"0x28","B1, B2",0]
[null,null,"W0 S09",null,"0x29--1",null,"C-4-2","C-3-2",4,null,209,"0x29","A1, C2",-1]
[null,null,"W0 S10",null,"0x2D-1",null,"D-4-1","D-3-1",1,null,213,"0x2D","A1, B2",1]
[null,null,"W0 S11",null,"0x2D-5",null,"D-4-1","D-3-1",5,null,213,"0x2D","A1, B2",5]
[null,null,"W0 S12",null,"0x2C-14",null,"D-4-2","D-3-2",4,null,212,"0x2C","B1, C2",14]
[null,null,"W1 S00",null,"0x21-2",null,"A-4-1","A-3-1",2,null,201,"0x21","A1, B2",2]
[null,null,"W1 S01",null,"0x20-11",null,"A-4-2","A-3-2",1,null,200,"0x20","B1, C2",11]
[null,null,"W1 S02",null,"0x20-15",null,"A-4-2","A-3-2",5,null,200,"0x20","B1, C2",15]
[null,null,"W1 S03",null,"0x25-2",null,"B-4-1","B-3-1",2,null,205,"0x25","A1, B2",2]
[null,null,"W1 S04",null,"0x24-11",null,"B-4-2","B-3-2",1,null,204,"0x24","B1, C2",11]
[null,null,"W1 S05",null,"0x24-15",null,"B-4-2","B-3-2",5,null,204,"0x24","B1, C2",15]
[null,null,"W1 S06",null,"0x24-9",null,"B-4-3","B-3-3",4,null,204,"0x24","A2, C1",9]
[null,null,"W1 S07",null,"0x28--3",null,"C-4-1","C-3-1",2,null,208,"0x28","B1, B2",-3]
[null,null,"W1 S08",null,"0x29--4",null,"C-4-2","C-3-2",1,null,209,"0x29","A1, C2",-4]
[null,null,"W1 S09",null,"0x29-0",null,"C-4-2","C-3-2",5,null,209,"0x29","A1, C2",0]
[null,null,"W1 S10",null,"0x2D-2",null,"D-4-1","D-3-1",2,null,213,"0x2D","A1, B2",2]
[null,null,"W1 S11",null,"0x2C-11",null,"D-4-2","D-3-2",1,null,212,"0x2C","B1, C2",11]
[null,null,"W1 S12",null,"0x2C-15",null,"D-4-2","D-3-2",5,null,212,"0x2C","B1, C2",15]
[null,null,"W2 S00",null,"0x21-3",null,"A-4-1","A-3-1",3,null,201,"0x21","A1, B2",3]
[null,null,"W2 S01",null,"0x20-12",null,"A-4-2","A-3-2",2,null,200,"0x20","B1, C2",12]
[null,null,"W2 S02",null,"0x20-6",null,"A-4-3","A-3-3",1,null,200,"0x20","A2, C1",6]
[null,null,"W2 S03",null,"0x25-3",null,"B-4-1","B-3-1",3,null,205,"0x25","A1, B2",3]
[null,null,"W2 S04",null,"0x24-12",null,"B-4-2","B-3-2",2,null,204,"0x24","B1, C2",12]
[null,null,"W2 S05",null,"0x24-6",null,"B-4-3","B-3-3",1,null,204,"0x24","A2, C1",6]
[null,null,"W2 S06",null,"0x24-10",null,"B-4-3","B-3-3",5,null,204,"0x24","A2, C1",10]
[null,null,"W2 S07",null,"0x28--2",null,"C-4-1","C-3-1",3,null,208,"0x28","B1, B2",-2]
[null,null,"W2 S08",null,"0x29--3",null,"C-4-2","C-3-2",2,null,209,"0x29","A1, C2",-3]
[null,null,"W2 S09",null,"0x28-6",null,"C-4-3","C-3-3",1,null,208,"0x28","A2, C1",6]
[null,null,"W2 S10",null,"0x2D-3",null,"D-4-1","D-3-1",3,null,213,"0x2D","A1, B2",3]
[null,null,"W2 S11",null,"0x2C-12",null,"D-4-2","D-3-2",2,null,212,"0x2C","B1, C2",12]
[null,null,"W2 S12",null,"0x2C-6",null,"D-4-3","D-3-3",1,null,212,"0x2C","A2, C1",6]
[null,null,"W3 S00",null,"0x21-4",null,"A-4-1","A-3-1",4,null,201,"0x21","A1, B2",4]
[null,null,"W3 S01",null,"0x20-13",null,"A-4-2","A-3-2",3,null,200,"0x20","B1, C2",13]
[null,null,"W3 S02",null,"0x20-7",null,"A-4-3","A-3-3",2,null,200,"0x20","A2, C1",7]
[null,null,"W3 S03",null,"0x25-4",null,"B-4-1","B-3-1",4,null,205,"0x25","A1, B2",4]
[null,null,"W3 S04",null,"0x24-13",null,"B-4-2","B-3-2",3,null,204,"0x24","B1, C2",13]
[null,null,"W3 S05",null,"0x24-7",null,"B-4-3","B-3-3",2,null,204,"0x24","A2, C1",7]
[null,null,"W3 S06",null,"0x24-1",null,"B-4-4","B-3-4",1,null,204,"0x24","A1, B2",1]
[null,null,"W3 S07",null,"0x28--1",null,"C-4-1","C-3-1",4,null,208,"0x28","B1, B2",-1]
[null,null,"W3 S08",null,"0x29--2",null,"C-4-2","C-3-2",3,null,209,"0x29","A1, C2",-2]
[null,null,"W3 S09",null,"0x28-7",null,"C-4-3","C-3-3",2,null,208,"0x28","A2, C1",7]
[null,null,"W3 S10",null,"0x2D-4",null,"D-4-1","D-3-1",4,null,213,"0x2D","A1, B2",4]
[null,null,"W3 S11",null,"0x2C-13",null,"D-4-2","D-3-2",3,null,212,"0x2C","B1, C2",13]
[null,null,"W3 S12",null,"0x2C-7",null,"D-4-3","D-3-3",2,null,212,"0x2C","A2, C1",7]
[null,null,"X",null,"0x20-1",null,"A-4-4","A-3-4",1,null,200,"0x20","A1, B2",1]
[null,null,"X",null,"0x20-2",null,"A-4-4","A-3-4",2,null,200,"0x20","A1, B2",2]
[null,null,"X",null,"0x20-3",null,"A-4-4","A-3-4",3,null,200,"0x20","A1, B2",3]
[null,null,"X",null,"0x20-4",null,"A-4-4","A-3-4",4,null,200,"0x20","A1, B2",4]
[null,null,"X",null,"0x20-5",null,"A-4-4","A-3-4",5,null,200,"0x20","A1, B2",5]
[null,null,"X",null,"0x20-8",null,"A-4-3","A-3-3",3,null,200,"0x20","A2, C1",8]
[null,null,"X",null,"0x20-9",null,"A-4-3","A-3-3",4,null,200,"0x20","A2, C1",9]
[null,null,"X",null,"0x20-10",null,"A-4-3","A-3-3",5,null,200,"0x20","A2, C1",10]
[null,null,"X",null,"0x24-2",null,"B-4-4","B-3-4",2,null,204,"0x24","A1, B2",2]
[null,null,"X",null,"0x24-3",null,"B-4-4","B-3-4",3,null,204,"0x24","A1, B2",3]
[null,null,"X",null,"0x24-4",null,"B-4-4","B-3-4",4,null,204,"0x24","A1, B2",4]
[null,null,"X",null,"0x24-5",null,"B-4-4","B-3-4",5,null,204,"0x24","A1, B2",5]
[null,null,"X",null,"0x26-11",null,"B-16-4","B-15-4",1,null,206,"0x26","B1, C2",11]
[null,null,"X",null,"0x26-12",null,"B-16-4","B-15-4",2,null,206,"0x26","B1, C2",12]
[null,null,"X",null,"0x26-13",null,"B-16-4","B-15-4",3,null,206,"0x26","B1, C2",13]
[null,null,"X",null,"0x26-14",null,"B-16-4","B-15-4",4,null,206,"0x26","B1, C2",14]
[null,null,"X",null,"0x26-15",null,"B-16-4","B-15-4",5,null,206,"0x26","B1, C2",15]
[null,null,"X",null,"0x28-1",null,"C-4-4","C-3-4",1,null,208,"0x28","A1, B2",1]
[null,null,"X",null,"0x28-2",null,"C-4-4","C-3-4",2,null,208,"0x28","A1, B2",2]
[null,null,"X",null,"0x28-3",null,"C-4-4","C-3-4",3,null,208,"0x28","A1, B2",3]
[null,null,"X",null,"0x28-4",null,"C-4-4","C-3-4",4,null,208,"0x28","A1, B2",4]
[null,null,"X",null,"0x28-5",null,"C-4-4","C-3-4",5,null,208,"0x28","A1, B2",5]
[null,null,"X",null,"0x28-8",null,"C-4-3","C-3-3",3,null,208,"0x28","A2, C1",8]
[null,null,"X",null,"0x28-9",null,"C-4-3","C-3-3",4,null,208,"0x28","A2, C1",9]
[null,null,"X",null,"0x28-10",null,"C-4-3","C-3-3",5,null,208,"0x28","A2, C1",10]
[null,null,"X",null,"0x2C-1",null,"D-4-4","D-3-4",1,null,212,"0x2C","A1, B2",1]
[null,null,"X",null,"0x2C-2",null,"D-4-4","D-3-4",2,null,212,"0x2C","A1, B2",2]
[null,null,"X",null,"0x2C-3",null,"D-4-4","D-3-4",3,null,212,"0x2C","A1, B2",3]
[null,null,"X",null,"0x2C-4",null,"D-4-4","D-3-4",4,null,212,"0x2C","A1, B2",4]
[null,null,"X",null,"0x2C-5",null,"D-4-4","D-3-4",5,null,212,"0x2C","A1, B2",5]
[null,null,"X",null,"0x2C-8",null,"D-4-3","D-3-3",3,null,212,"0x2C","A2, C1",8]
[null,null,"X",null,"0x2C-9",null,"D-4-3","D-3-3",4,null,212,"0x2C","A2, C1",9]
[null,null,"X",null,"0x2C-10",null,"D-4-3","D-3-3",5,null,212,"0x2C","A2, C1",10]
[null,null,"X",null,"0x2E-11",null,"D-16-4","D-15-4",1,null,214,"0x2E","B1, C2",11]
[null,null,"X",null,"0x2E-12",null,"D-16-4","D-15-4",2,null,214,"0x2E","B1, C2",12]
[null,null,"X",null,"0x2E-13",null,"D-16-4","D-15-4",3,null,214,"0x2E","B1, C2",13]
[null,null,"X",null,"0x2E-14",null,"D-16-4","D-15-4",4,null,214,"0x2E","B1, C2",14]
[null,null,"X",null,"0x2E-15",null,"D-16-4","D-15-4",5,null,214,"0x2E","B1, C2",15]