FFTV test results
[image: image1.emf]Effect of Trigger Rate on FFTV 

1.00E-10

1.00E-09

1.00E-08

1.00E-07

1.00E-06

1.00E-05

1.00E-04

1.00E-03

1.00E-02

1.00E-01

1 2 3 4 5 6 7 8 9 10

Number of Periods Matched to Generate Veto

Probabity of Vetoing a Trigger

TIM Random2 38kHz BunchPeriod=1 Pmin=85

TIM Random2 77kHz BunchPeriod=1 Pmin=85

TIM Random2 154kHz BunchPeriod=1 Pmin=85


Figure 1
.  Effect of trigger rate on FFTV performance. This highlights the difficulties in comparing like with like. The randomiser implementation used provides no way of a finer grained variation without compromising the randomness.

[image: image2.emf]Randomiser Frequency Scans

1.0E-02

1.0E-01

1.0E+00

1.0E+01

1.0E+02

1.0E+03

1.0E+04

1.0E+05

1.0E+06

1.0E+07

0 1 2 3 4 5 6 7 8 9 101112131415161718192021222324

Randomiser Frequency Setting

Trigger Frequency

Bunch Period 82 (43 in machine)

Bunch Period 22 (156 in machine)

Bunch Period 1


Figure 2
.  Randomiser Performance. By scanning over the randomiser frequency settings, the trigger rates are confirmed. The effect of various bunch spacings is also easily understood.

[image: image3.emf]Monte-Carlo vs. TIM Measured FFTV Performance

1.00E-09

1.00E-08

1.00E-07

1.00E-06

1.00E-05

1.00E-04

1.00E-03

1.00E-02

1.00E-01

1 2 3 4 5 6 7 8 9 10

Number of Periods Matched to Generate Veto

Probability of Vetoing a Trigger

MC2 56kHz LFSR BunchPeriod=1 Pmin=80

TIM Random2 77kHz BunchPeriod=1 Pmin=80


Figure 3
  TIM vs. M-C performance. A software version of the randomiser algorithm used on in TIM firmware (i.e.  LFSR) was coded in the Monte-Carlo to verify accuracy. Unfortunately the M-C runs a factor of 2-4 slower than the real-life (on our fastest machine), so the TIM is still the best test tool.
[image: image4.emf]FFTV Performance

1.0E-10

1.0E-09

1.0E-08

1.0E-07

1.0E-06

1.0E-05

1.0E-04

1.0E-03

1.0E-02

1.0E-01

1 2 3 4 5 6 7 8 9 10

Number of Trigger Periods Matched

Probability of Vetoing a Trigger

TIM Random2 77kHz BunchPeriod=1 Pmin=80

TIM Random2 77kHz BunchPeriod=1 Pmin=85

TIM Random2 56kHz BunchPeriod=22 Pmin=80

TIM Random2 56kHz BunchPeriod=22 Pmin=85

TIM Random2 61kHz BunchPeriod=82 Pmin=80

TIM Random2 61kHz BunchPeriod=82 Pmin=85


Figure 4
.  Overall FFTV Performance. Period-minimum (Pmin) is the upper frequency cut-off. The input trigger rate is increased to compensate for the decreased randomiser rate at a particular bunch-period setting (see Figure 2).  The (lack of) variation in the results for bunch-period=82 are detailed below.

[image: image5.emf]FFTV Performance (Bunch Period = 82 only)

1.0E-10

1.0E-09

1.0E-08

1.0E-07

1.0E-06

1.0E-05

1.0E-04

1.0E-03

1.0E-02

1.0E-01

1 2 3 4 5 6 7 8 9 10

Number of Trigger Periods Matched

Probability of Vetoing a Trigger

TIM Random2 61kHz BunchPeriod=82 Pmin=80

TIM Random2 61kHz BunchPeriod=82 Pmin=85


Figure 5 FFTV performance at bunch-period=82 only. We expected that a bunch period of 82 would show a significant increase in veto probability as this period is within the algorithms detection window. This is not apparent. A test that scans the Pmin value may show something here, but is this possibly correct?
